## Index
Wholesale wastewater (WW) audit index
Worksheet Structure
| Tab | Name | Type | Description | Assumptions
|  | Issues Log | Log | Overview of issues found during audit of workbooks
|  | Company overview | Data input | Overview of the companies' shallow dive haircuts, deep dives , and extra challenges resulting from deep dives - per enhancement technology | All values in this overview are copied directly from their original workbooks (column G)

## Issues log
Issues Log:
| # | Issue | Folder | File name | Tab | Cells | Date logged | Comments
| 1 | Inconsistent formula | WWW | FM_E_WWW_flow-to-full-schemes_IAP | Analysis | H9 | 2019-03-12 | Shortfall in FFT / Schemes in Business Plan for all companies except SVE, which is Shortfall in FFT / No.lines in WINEP with U_IMP5 driver
| 2 | Unclear assumptions for Shortfall in FFT | WWW | FM_E_WWW_flow-to-full-schemes_IAP | Analysis | G5:G14 | 2019-03-13 | Not clear why YKY's Shortfall in FFT is calculated as 140.462+31; Other company values are hard-coded rather than sourced from WINEP or BP data sheet
| 3 | Hard coded data on schemes in BP | WWW | FM_E_WWW_flow-to-full-schemes_IAP | Analysis | F5:F14 | 2019-03-13 | Hard-coded numbers - cannot check source
| 4 | Double counting of capex reallocations | WWW | FM_E_WWW_flow-to-full-schemes_IAP | Analysis | C5 - E14 | 2019-03-13 | Capex reallocations are double counted for ANH, NES, NWT, SRN and SVE - column C already includes reallocations from 'Allowance' sheet, but these are added again in column D
| 5 | SWB capex reallocation attributed to SVE | WWW | FM_E_WWW_flow-to-full-schemes_IAP | Analysis | C9 - E10 | 2019-03-12 | SWB has £2.013m in reallocated capex - this is wrongly attributed to SVE in C9, and also added to SWB in D10 (double counting as in above issue)
| 6 | Inconsistent assumptions around standardising results from log models | WWW | FM_E_WWW_flow-to-full-schemes_IAP | Analysis | U5:W14 | 2019-03-12 | Log model results have been standardised based on total allowances from the equivalent linear model (= total industry capex) - this approach is not applied in other model areas where log models are used
| 7 | Use of graphically modelled coefficients in formulas - potential rounding errors / issues | WWW | FM_E_WWW_sanitary-parameters_IAP | Analysis | I5:I14 and N5:N14 | 2019-03-12 | For both power and exponential model, the coefficients are just copied and pasted from a scatter chart with the exponential and power fit. This could potentiallly lead to errors when figures are rounded
| 8 | Efficiency scores calculated incorrectly as fitted allowance / capex, instead of capex / fitted allowances as elsewhere | WWW | FM_E_WWW_sanitary-parameters_IAP | Analysis | K5:K14, M5:M14, P5:P14, R5:R14, U5:U14 | 2019-03-12 | Does not affect allowances as no efficiency challenge is applied
| 9 | Hard coded data on lines in WINEP, no. STWs, pe (WISE), DWF, River length improved | WWW | FM_E_WWW_chemicals-removal_IAP | Analysis | D5:I12 | 2019-03-12 | Sources cannot be easily checked
| 10 | Capex allowed - bioresources based on modelled allowance instead of capex allowed (after min of) | WWW | FM_E_WWW_chemicals-removal_IAP | Allowance | L13:L23 | 2019-03-12 | Does not affect allowances as proportion of bioresources is 0 for all companies
| 11 | Inconsistent Formula | WWW | FM_E_WWW_first-time-sewerage_IAP | Allowance | J13 | 2019-03-12 | For ANH, but no effect on allowance as selected value is the correct allowance in this instance
| 12 | Inconsistent Formula | WWW | FM_E_WWW_first-time-sewerage_IAP | Data | J24 | 2019-03-12 | No iferror applied - does not affect results, but inconsistent
| 13 | No justification for use of pooled OLS | WWW | FM_E_WWW_first-time-sewerage_IAP | Coeffs | B7:E12 | 2019-03-12 | Different approach to that used in other models with smoothed panel data (growth, lead standards), but not justified
| 14 | Modelled costs values calculated using 'triangulated modelled costs' instead of 'allowance for first time sewerage' column | WWW | FM_E_WWW_first-time-sewerage_IAP | Modelled costs | L8:L17 | 2019-03-12 | No effect on allowances as efficiency challenge in the 'Controls' sheet is 1 (no challenge)
| 15 | The WINEP analysis tab is a mix of hard coded data and cross referencing of cells | WWW | FM_E_WWW_uv-disinfection_IAP | WINEP analysis |  | 2019-03-14 | Some assumptions are stated in the comments, but cell references and calculations are not very easy to follow and assumptions are incomplete
| 16 | Volume of storage schemes values hard-coded and do not sum to values in any line in the 'Data' or 'Data tables' sheets | WWW | FM_E_WWW_spill-frequency_IAP | Analysis | D6:D16 | 2019-03-14 | Potentially material effect on allowances here Presumably there are differences because the drivers correspond directly with storm tanks model rather than spill frequency
| 17 | Mismatch between driver name (volume of new or additional storage provided in the sewer network) and driver code (WWS4003) | WWW | FM_E_WWW_spill-frequency_IAP | Analysis | D5 | 2019-03-14 | Data' sheet states that WWS4003 is 'number of sewage treatment works at which new or additional storage is provided'
| 18 | Number of sites in network at which new or additional storage is provided hard-coded, and does not match values in any line in the 'Data' or 'Data tables' sheets | WWW | FM_E_WWW_spill-frequency_IAP | Analysis | E6:E16 | 2019-03-14 | Potential implications for model selection if this is an error
| 19 | For WSH a hard coded value - reallocation? - is added to storage schemes capex | WWW | FM_E_WWW_spill-frequency_IAP | Analysis | C29 | 2019-03-14 | Seems to correspond to value of Menai Strait scheme in WSH deep dive sheet
| 20 | Hard coded 'our view from WINEP' for EDM | WWW | FM_E_WWW_event-duration-monitoring_IAP | Aanlysis | D6:D16 | 2019-03-14 | Ofwat view of schemes from WINEP is hard coded and sources cannot easily be checked Does not affect allowances as this variable is not ultimately used
| 21 | Data' sheet has two expenditure columns which are stated to be 'real' and original, but have the same values | WWW | FM_E_WWW_event-duration-monitoring_IAP | Data | D5:E65 | 2019-03-14 | Two columns 'realS3005CAS' and 'S3005CAS' have exactly the same values - 'S3005CAS' is carried forward into modelling
| 22 | Column D 'Capex in business plan - wholesale wastewater' already has reallocations included in the summation formula Column H 'Capex after reallocations' therefore double counts capex reallocations | WWW | FM_E_WWW_event-duration-monitoring_IAP | Allowance | D13:D23 | 2019-03-19 | This has no effect on allowances as values in the 'Analysis' sheet are correct (reallocated capex included once)
| 23 | Unclear how NWT total volume and number of STWs with new storage capacity has been calculated | WWW | FM_E_WWW_storm-tank-capacity_IAP | Data tables | H25 | 2019-03-14 | Cell contains the sum of volumes from (presumably) 16 different schemes - no commentary provided
| 24 | SWB number of schemes hard coded in Analysis sheet | WWW | FM_E_WWW_storm-tank-capacity_IAP | Analysis | E8 | 2019-03-14 | Hard-coded numbers - cannot check source
| 25 | "Implied opex" calculation is statistically incorrect | WWW | FM_E_WWW_p-removal_IAP | Analysis | I57-68 | 2019-03-12 | “Implied opex” = model 1 linear capex+model 3 linear totex Calculating opex in this way conflates noise between the two models (capex and totex) for 'opex' allowance Calculating industry opex share based on BP data would be more correct
| 26 | Unclear assumptions for SVE sites and PE | WWW | FM_E_WWW_p-removal_IAP | Analysis | F39:G39 | 2019-03-12 | Value (92) does not correspond to SVE's original number of sites in column Q (95)
| 27 | Log model efficiency scores calculated incorrectly - should be capex / exp(fitted allowance) rather than log(capex)/log(fitted allowance) | WWW | FM_E_WWW_p-removal_IAP | Analysis | T29:T38 V29:V38 | 2019-03-12 | Potential impact on model selection process

## Company overview
Company overview
Gives an overview of the companies' shallow dive haircuts, if a deep dive was applied, and if an extra challenge was applied as a result of this deep dive - per enhancement technology
|  | Companies | [16 empty] | Comments
|  | ANH | HDD | NES | NWT | SRN | SVE | SWB | TMS | WSH | WSX | AFW | YKY | BRL | PRT | SES | SEW | SSC
Shallow dive haircut
FM_E_WWW_chemicals-investigations_IAP
FM_E_WWW_chemicals-removal_IAP
| FM_E_WWW_conservation-drivers_IAP | Companies SRN: 0.15; Companies TMS: 0.15; Companies WSH: 0.053; Companies WSX: 0.034
FM_E_WWW_discharge-relocation_IAP
FM_E_WWW_eels-regulations_IAP
FM_E_WWW_event-duration-monitoring_IAP
FM_E_WWW_first-time-sewerage_IAP
FM_E_WWW_flow-monitoring_IAP
FM_E_WWW_flow-to-full-schemes_IAP
FM_E_WWW_freeform_IAP
FM_E_WWW_groundwater-schemes_IAP
FM_E_WWW_growth_IAP
| FM_E_WWW_investigations_IAP | Companies ANH: 0.1; Companies TMS: 0.15; Companies WSH: 0.05; Companies WSX: 0.03
FM_E_WWW_monitoring-flows-at-CSOs_IAP
FM_E_WWW_n-removal_IAP
| FM_E_WWW_odour_IAP | Companies ANH: 0.1; Companies TMS: 0.15; Companies WSH: 0.05
FM_E_WWW_p-removal_IAP
FM_E_WWW_P-removal-technology-investigations_IAP
| FM_E_WWW_resilience_IAP | Companies NES: 0.071; Companies SWB: 0; Companies TMS: 0.15; Companies WSX: 0.034
FM_E_WWW_sanitary-parameters_IAP
FM_E_WWW_security_IAP
FM_E_WWW_sludge_IAP
FM_E_WWW_spill-frequency_IAP
FM_E_WWW_storm-tank-capacity_IAP
FM_E_WWW_transfered-private-sewers_IAP
| FM_E_WWW_uv-disinfection_IAP | Companies ANH: 0.1; Companies NWT: 0; Companies SRN: 0.15; Companies SWB: 0; Companies WSX: 0.034
Deep dive applied? (>0.5% materiality)
FM_E_WWW_chemicals-investigations_IAP
| FM_E_WWW_chemicals-removal_IAP | Companies SRN: deep dive; Companies SVE: deep dive; Companies WSX: deep dive
| FM_E_WWW_conservation-drivers_IAP | Companies SRN: deep dive; Companies TMS: deep dive; Companies WSX: deep dive
| FM_E_WWW_discharge-relocation_IAP | Companies SVE: deep dive
FM_E_WWW_eels-regulations_IAP
FM_E_WWW_event-duration-monitoring_IAP
FM_E_WWW_first-time-sewerage_IAP
FM_E_WWW_flow-monitoring_IAP
| FM_E_WWW_flow-to-full-schemes_IAP | Companies HDD: deep dive
FM_E_WWW_freeform_IAP
FM_E_WWW_groundwater-schemes_IAP
FM_E_WWW_growth_IAP
| FM_E_WWW_investigations_IAP | Companies YKY: deep dive
FM_E_WWW_monitoring-flows-at-CSOs_IAP
FM_E_WWW_n-removal_IAP
FM_E_WWW_odour_IAP
FM_E_WWW_p-removal_IAP
FM_E_WWW_P-removal-technology-investigations_IAP
| FM_E_WWW_resilience_IAP | Companies HDD: deep dive; Companies NES: deep dive; Companies NWT: deep dive; Companies SRN: deep dive; Companies SVE: deep dive; Companies SWB: deep dive; Companies TMS: deep dive; Companies WSH: deep dive; Companies WSX: deep dive; Companies YKY: deep dive
FM_E_WWW_sanitary-parameters_IAP
FM_E_WWW_security_IAP
| FM_E_WWW_sludge_IAP | Companies ANH: deep dive; Companies SRN: deep dive; Companies SVE: deep dive; Companies SWB: deep dive; Companies YKY: deep dive
| FM_E_WWW_spill-frequency_IAP | Companies SRN: deep dive; Companies WSH: deep dive
| FM_E_WWW_storm-tank-capacity_IAP | Companies ANH: deep dive; Companies NWT: deep dive; Companies SRN: deep dive; Companies SWB: deep dive; Companies TMS: deep dive; Companies WSX: deep dive; Companies YKY: deep dive
FM_E_WWW_transfered-private-sewers_IAP
| FM_E_WWW_uv-disinfection_IAP | Companies SWB: deep dive; Companies WSX: deep dive | Two different deep dives for WSX1 (Corfe Castle STW) and WSX2 (West Huntspill STW)
Deep-dive extra challenge
FM_E_WWW_chemicals-investigations_IAP
FM_E_WWW_chemicals-removal_IAP
| FM_E_WWW_conservation-drivers_IAP | Companies SRN: 0.2; Companies TMS: 0.2; Companies WSX: 0.2
FM_E_WWW_discharge-relocation_IAP
FM_E_WWW_eels-regulations_IAP
FM_E_WWW_event-duration-monitoring_IAP
FM_E_WWW_first-time-sewerage_IAP
FM_E_WWW_flow-monitoring_IAP
FM_E_WWW_flow-to-full-schemes_IAP
FM_E_WWW_freeform_IAP
FM_E_WWW_groundwater-schemes_IAP
FM_E_WWW_growth_IAP
| FM_E_WWW_investigations_IAP | Companies YKY: 0.2
FM_E_WWW_monitoring-flows-at-CSOs_IAP
FM_E_WWW_n-removal_IAP
FM_E_WWW_odour_IAP
FM_E_WWW_p-removal_IAP
FM_E_WWW_P-removal-technology-investigations_IAP
| FM_E_WWW_resilience_IAP | Companies SWB: 0.2; Companies TMS: 0.2
FM_E_WWW_sanitary-parameters_IAP
FM_E_WWW_security_IAP
FM_E_WWW_sludge_IAP
FM_E_WWW_spill-frequency_IAP
FM_E_WWW_storm-tank-capacity_IAP
FM_E_WWW_transfered-private-sewers_IAP
FM_E_WWW_uv-disinfection_IAP