## SOAF x40
Soaf Assessments
Year assessment started | Site permit name of high spilling overflow | Permit Number | Receiving watercourse | National Grid Reference of Storm Overflow | Was it exceptionally wet year? | Was it an asset maintenance, EDM device or data issue? | Taken forwards to stage 2? | Is it possible to carry out an invertebrate sampling assessment at this location? | What is the status of Waterbody? | 2a Aesthetics score Autumn 2020 | 2a Aesthetics score Spring 2021 | 2a Amenity Autumn 2020 | 2a Amenity Spring 2021 | 2a Public Complaints Autumn 2020 | 2a Public Complaints Spring 2021 | 2a Pollution Autumn 2020 | 2a Pollution Spring 2021 | Total Aesthetic score | 2b Invertebrate impact Autumn/ Spring 2020 /21 Short Term | 2b Invertebrate impact Autumn/ Spring 2020/21 Long Term | 2c Water Quality Impact score Autumn 2020 | Overall WQ or Invert score taken forwards | Step 3a - What is the maximum length of improved watercourse? | Step 3b - What is the maximum value of direct benefits per year? Table 4 Values from NWEBS to inform maximum value of benefits per year | Step 3b - What is the maximum value of direct benefits per year? Table 5 Linking Stage 2 SOAF to NWEBS | Step 3c - What is the maximum value of direct benefits over the assessment period? 𝑃𝑉 (𝐵𝑒𝑛𝑒𝑓𝑖𝑡𝑠) = 𝐿 × 𝐴 × 𝑁𝑊𝐸𝐵𝑆 𝐹𝑟𝑎𝑐𝑡𝑖𝑜𝑛 × 𝐷𝑖𝑠𝑐𝑜𝑢𝑛𝑡 𝑓𝑎𝑐𝑡𝑜r | EA and other benefits to include - Internal and external Flooding caused by overload from the last 5 years | EA and other benefits to include - Total flood benefit derived from BIMs societal values. | EA and other benefits to include - Pollution incidents, all CATs | EA and other benefits to include - Total pollution benefit derived from BIMs societal values. | Total PV Benefits | Step 3d - Are the benefits significant? Significance is defined as PV benefits greater than £100,000 for any given option. | Is it cost beneficial to deliver improvement (1st Screening step) | Will another Winep scheme provide the reqd storage? | Summary for EA discussion and suggested approach | EA meeting outcome decision
2020 | Silverstone WRC | AWCNF1191/V002 | Silverstone Brook | SP 6708 4549 | No take forwards | No take forwards | take forwards | Complete | Poor | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 6 | n/a | High | 2km | Poor to Moderate 21.5 | Aesthetic 0 Model 3/6 th Amenity 0 | £476.655k | Internal 0 External 0 | 0 | 0 | 0 | £476.655k | Yes | Yes | Yes | Another Winep storm tank scheme has already been planned this AMP and will deliver more than the required storage improvement identified in the SOAF cost benefit assessment Do not take forwards | DO NOT TAKE FORWARDS - no further action
2020 | Towcester WRC | AW1NF63/V003 | The River Tove | SP 7155 4869 | No take forwards | No take forwards | take forwards | Complete | Medium | 0 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 8 | 2 | n/a | High | 2km | Moderate to good 24.9 | Aesthetic 0 Model 3/6 th Amenity 0 | £552.033k | Internal 0 External 1 | £7.19k | 0 | 0 | £552.033k | Yes | Yes | Yes | Another Winep storm tank scheme has already been planned this AMP and will deliver more than the required storage improvement identified in the SOAF cost benefit assessment Do not take forwards | DO NOT TAKE FORWARDS - no further action
2020 | Harpole Weedon Rd | AW5NF/1878/V001 | Trib of River Nene | SP 6951 6015 | No take forwards | No take forwards | take forwards | Poor WQ - Model | Poor | 5 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | n/a | n/a | 8 | Low | 2km | Poor to Moderate 21.5 | Aesthetic 0 Model 0 Amenity 0 | 0 | 0 | 0 | 0 | 0 | 0 | No | No | No | Environmental impact score 0 as outlined below: Aesthetic - very low - 0 WQ Model - low - 0 Amenity - moderate - 0 PV calc has a 0 multiplier in it leading to a 0 PV | DO NOT TAKE FORWARDS - no further action
2020 | NORWICH SANDY LANE MM MH1902 | EPR/EB3296WM | River Yare | TG 23190 05966 | No take forwards | No take forwards | take forwards | Multiple discharges - model | Good | 0 | 0 | 10 | 10 | 0 | 0 | 0 | 0 | 10 | n/a | n/a | 15 | Low | 2km | Good to High 0 | Aesthetic 0 Model 0 Amenity 0 | 0 | 0 | 0 | 0 | 0 | 0 | No | No | No | Water body status good - Average benefit by status change - increasing from good to high is 0 PV calc has a 0 multiplier in it leading to a 0 PV | DO NOT TAKE FORWARDS - no further action
2020 | LOUTH SPAW LANE SSO | ANNNF3589V002 | River Lud | TF 3273 8758 | No take forwards | No take forwards | take forwards | Poor WQ - Model | Poor | 0 | 0 | 10 | 10 | 0 | 0 | 0 | 0 | 10 | n/a | n/a | 11 | Low | 2km | Poor to Moderate 21.5 | Aesthetic 0 Model 0 Amenity 0 | 0 | 0 | 0 | 0 | 0 | 0 | No | No | No | Environmental impact score 0 as outlined below: Aesthetic - very low - 0 WQ Model - low - 0 Amenity - moderate - 0 PV calc has a 0 multiplier in it leading to a 0 PV | DO NOT TAKE FORWARDS - no further action
2020 | NORTHAMPTON-DUSTON SYCAMORE SSO | AW5NF384/V002 | The River Nene | SP 7306 5976 | No take forwards | No take forwards | take forwards | Poor WQ - Model | Poor | 0 | 30 | 5 | 5 | 0 | 0 | 0 | 0 | 35 | n/a | n/a | 15 | Low | 2km | Poor to Moderate 21.5 | Aesthetic 1/6th Model 0 Amenity 0 | £159.203k | Internal 0 External 0 | 0 | 0 | 0 | £159.203k | Yes | Yes | No | Take forwards as cost beneficial Prioritise with second batch of SOAF outcomes | DO NOT TAKE FORWARDS YET. HOLD OFF UNTIL YEAR 2 SCHEMES COMPLETE and then prioritise those that most beneficial to invest in. Rest can be included into AMP8 plan
2020 | NORWICH RIVERSIDE ROAD MM MH0902 | EPR/EB3296RQ | River Wensum | TG 23985 08927 | No take forwards | No take forwards | take forwards | Multiple discharges - model | Poor | 0 | 5 | 5 | 5 | 0 | 0 | 0 | 0 | 10 | n/a | n/a | 0 | No impact | 2km | Poor to Moderate 21.5 | Aesthetic 0 Model 0 Amenity 1/6th | £159.203k | Internal 0 External 0 | 0 | 0 | 0 | £159.203k | Yes | Yes | No | The score shows that it is Cost beneficial but we would like to investigate a relocation of EDM to improve confidence in the spill monitoring first - On hold | HOLD OFF UNTIL YEAR 2 SCHEMES COMPLETE and then prioritise those that are costs beneficial - EA Agree Water Recycling networks have confirmed that traffic management is arranged with NCC Highways to allow access to the chamber and the overflow will be sealed off. The network will be monitored for 6 months to confirm no detriment is caused. Then after 6 months the permit will be revoked and the overflow sealed permanently and it will no longer be used as an overflow
2020 | Brightlingsea W Dyke TPS | ASENF3284/12161 | West Dyke | TM 0812 1663 | No take forwards | No take forwards | take forwards | Complete | Good | 0 | 5 | 5 | 5 | 0 | 0 | 0 | 0 | 10 | 18 | 18 | n/a | Very Severe | 2km | Good to High 0 | Aesthetic 0 Model 3/6 th Amenity 0 | 0 | Internal 0 External 0 | 0 | 0 | 0 | 0 | No | No | No | Water body status good - Average benefit by status change - increasing from good to high is 0 PV calc has a 0 multiplier in it leading to a 0 PV | DO NOT TAKE FORWARDS under SOAF project Survey shows v low impact but invertebrate survey shows v severe impact. Sewer jetting and CCTV work in the network is in progress ​
2020 | NEWNHAM STW (NORTHANTS) | AW5NF/400/V002 | The River Nene | SP 5827 5915 | No take forwards | No take forwards | take forwards | Poor WQ - Model | Poor | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | n/a | n/a | 31 | High | 2km | Poor to Moderate 21.5 | Aesthetic 0 Model 3/6 th Amenity 0 | £476.655k | Internal 0 External 1 | £7.19k | 2 x CAT 4 | 0 | £476.655k | Yes | Yes | Yes | Another Winep storm tank scheme has already been planned this AMP and will deliver more than the required storage improvement identified in the SOAF cost benefit assessment Do not take forwards | DO NOT TAKE FORWARDS - no further action
2020 | Oakham WRC | AW5NF/5211/V003c | Tributary of Barleythorpe Brook | SK 8723 0865 | No take forwards | No take forwards | take forwards | Complete | Medium | 10 | 20 | 10 | 10 | 0 | 0 | 0 | 0 | 30 | 18 | 16 | n/a | Very Severe | 2km | Moderate to good 24.9 | Aesthetic 1/6th Model 3/6 th Amenity 1/6 th | £919.687k | Internal 0 External 3 | £21.57k | 1 x CAT 3 | £56.6K | £919.687k | Yes | Yes | No | Opportunity for improvement under SOAF. Amenity value of this location is significant and could deliver social and biodiversity benefits | Take forwards - EA Agree
2020 | HORNCASTLE-SPORTS GROUND SSO | ANNF/1360/V001 | The Old River Bain | TF 2559 6922 | No take forwards | No take forwards | take forwards | Complete | Medium | 5 | 15 | 10 | 10 | 0 | 0 | 0 | 0 | 25 | 18 | 14 | n/a | Very Severe | 2km | Moderate to good 24.9 | Aesthetic 0 Model 3/6 th Amenity 1/6 th | £739.724k | Internal 1 External 0 | £66.0k | 2 x CAT 4 | 0 | £739.724k | Yes | Yes | No | Opportunity to take forwards to improve at this location with amenity value (due to sports ground use) | Take forwards - EA Agree
2020 | LATCHINGDON STW | AW2NF/E17367/V001 | Tributary of Latchingdon Brook | TL 8799 0159 | No take forwards | No take forwards | take forwards | Complete | Poor | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 18 | 18 | n/a | Very Severe | 2km | Poor to Moderate 21.5 | Aesthetic 0 Model 3/6 th Amenity 0 | £476.655k | Internal 0 External 0 | 0 | 0 | 0 | £476.655k | Yes | Yes | No | Opportunity to take forwards - There is already a Winep storm storage scheme which will deliver 50% of the volume identified to reduce spills and a maintenance scheme to remove some of the flow in the upstream catchment - Wait for outcome to see impact on spills? | HOLD OFF UNTIL YEAR 2 SCHEMES COMPLETE and then prioritise those that are costs beneficial
2020 | Caistor WRC | AW3NF/F232/V003 | Caistor Canal | TA 1071 0110 | No take forwards | No take forwards | take forwards | Complete | Medium | 5 | 30 | 5 | 5 | 0 | 0 | 0 | 0 | 35 | 20 | 0 | n/a | Extremely sever | 2km | Moderate to good 24.9 | Aesthetic 1/6 th Model 3/6 th Amenity 0 | £736.412k | Internal 0 External 0 | 0 | 0 | 0 | £736.412k | Yes | Yes | No | A combination of UIMP6 and the dwf application for 1100m3/d will deliver 114m3 which is 89% of the 246m3 volume identified in the cost benefit assessment. The SOAF scheme could deliver the extra 91m3​ | Take forwards - EA Agree
2020 | Coningsby WRC | ANNNF/1049/V001 | River Bain | TF 2144 5672 | No take forwards | No take forwards | take forwards | N H&S Risk - Model | Poor | 0 | 0 | 5 | 5 | 0 | 0 | 0 | 0 | 5 | n/a | n/a | 108 | Severe | 2km | Poor to Moderate 21.5 | Aesthetic 0 Model 3/6 th Amenity 0 | £476.655k | Internal 0 External 0 | 0 | 0 | 0 | £476.655k | Yes | Yes | No | Good candidate and will deliver environmental and amenity benefits at this location. There are swimmers, a holiday camp and customer interest in this area | Take forwards - EA Agree
2020 | King Lynn Millfleet no. 2 | AW1NF1041/V001 | Culverted Gaywood River | TF 6185 1967 | No take forwards | No take forwards | take forwards | Multiple discharges - model | Poor | 0 | 0 | 5 | 5 | 0 | 0 | 0 | 0 | 5 | n/a | n/a | 878 | Severe | 2km | Poor to Moderate 21.5 | Aesthetic 0 Model 3/6 th Amenity 0 | £476.655k | Internal 0 External 7 | £50.33k | 0 | 0 | £476.655k | Yes | Yes | No | There are uncertainties in the EDM data and the unit was replaced. Data following this time shows a reduction in spills compared to previous performance | HOLD OFF UNTIL YEAR 2 SCHEME SURVEYS COMPLETE and then prioritise those that are costs beneficial - EA Agree
2020 | Winteringham Station Farm SSO | ANNNF3147/13332 | The Haven Drain | SE 9314 2255 | No take forwards | No take forwards | take forwards | N H&S Risk - Model | Poor | 0 | 0 | 10 | 10 | 0 | 0 | 0 | 0 | 10 | n/a | n/a | 46 | severe | 2km | Poor to Moderate 21.5 | Aesthetic 0 Model 3/6 th Amenity 1/6 th | 635.858 | Internal 0 External 0 | 0 | 0 | 0 | 635.858 | Yes | Yes | No | There are uncertainties in this data and we are investigating the EDM monitor accuracy further. | Review EDM data in early 2022 and if no improvement in spills seen we will prioritise those that are costs beneficial - EA Agree
2020 | HARLAXTON STW | ANNNF1093/V002 | Tributary of the Grantham Canal | SK 8915 3313 | No take forwards | No take forwards | take forwards | Complete | Poor | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 24 | 22 | n/a | Extremely sever | 2km | Poor to Moderate 21.5 | Aesthetic 0 Model 3/6 th Amenity 0 | £476.655K | Internal 0 External 0 | 0 | 0 | 0 | £476.655K | Yes | Yes | No | Take forwards | Take forwards - EA Agree
2020 | Swanbourne WRC | AWCNF11010 | Claydon Brook | SP 7969 2782 | No take forwards | No take forwards | take forwards | Complete | Medium | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 20 | 14 | n/a | Extremely severe | 2km | Moderate to good 24.9 | Aesthetic 0 Model 3/6 th Amenity 0 | £552.033K | 0 | 0 | 1 x CAT 3 | £56.6K | £552.033K | Yes | Yes | Yes | The storm tank scheme planned in 2021 will reduce spills and deliver the benefits. Do not take forwards | DO NOT TAKE FORWARDS - further invertebrate surveys will be carried out when the storm tank scheme completed
2020 | Whaddon WRC | AWCNF11058/V002 | Calverton Brook | SP 8114 3443 | No take forwards | No take forwards | take forwards | Complete | Good | 15 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | n/a | n/a | n/a | Head of water course | 2km | Good to High 0 | Aesthetic 0 Model 3/6 th Amenity 0 | 0 | 0 | 0 | 0 | 0 | 0 | No | No | No | Water body status good - Average benefit by status change - increasing from good to high is 0 PV calc has a 0 multiplier in it leading to a 0 PV Do not take forwards | Do not take forwards under SOAF - no further action
2020 | FELTWELL STW | AW1NF213/V002 | River Wissey & Cut-off Channel | TL 7003 9076 | No take forwards | No take forwards | take forwards | Complete | Medium | 0 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 40 | n/a | n/a | n/a | Head of water course | 2km | Moderate to good 24.9 | Aesthetic 1/6 th Model 3/6 th Amenity 0 | £739.724k | 0 | 0 | 1 x CAT 3 1 x CAT 4 | £56.6K | £739.724k | Yes | Yes | No | Take forwards as cost beneficial Prioritise with second batch of SOAF outcomes | HOLD OFF UNTIL YEAR 2 SCHEMES COMPLETE and then prioritise those that are costs beneficial - EA Agree
2021 | HITCHIN STW | AW1NF/2464_CSO | The River Hiz | TL 1897 3061 | No take forwards | No take forwards | take forwards | Yes | Moderate | 15 | 2 | 5 | 5 | 10 | 10 | 0 | 0 | 30 | n/a | n/a | Low | Low | 2km | Moderate to good 24.9 | Aesthetic 1/6th Model 0 Amenity 0 | £184.379k | Internal 0 External 0 | £0k | 2 x CAT 3 17 x CAT 4 | 2 x £56.6k = £113.2k 17 x £0k = £0k Total £113.2k | £184.379k | Yes | Yes | n/a | In progress - TBC | To be discussed at next progress meeting
2021 | GREAT BILLING STW | AWNNF13052V001 | A tributary of the Ecton Brook | SP 8318 6187 | No take forwards | No take forwards | take forwards | No | Moderate | 0 | 15 | 5 | 5 | 10 | 10 | 0 | 0 | 30 | n/a | n/a | Severe | Severe | 2km | Moderate to good 24.9 | Aesthetic 1/6th Model 3/6 th Amenity 0 | £736.412k | Internal 3 External 1 | 3 x £66.0k = £198k 1 x £7.19k = £7.19k Total £205.19k | 1 x CAT 4 | 1 x £0k = £0k Total £0k | £736.412k | Yes | Yes No | Yes No | In progress - TBC | To be discussed at next progress meeting
2021 | Whitlingham STW - settled storm | AW4TF1789/V001 | The Tidal River Yare | TG 2829 0804 | No take forwards | No take forwards | take forwards | No | Moderate | 0 | 0 | 5 | 5 | 0 | 0 | 0 | 0 | 5 | n/a | n/a | Severe | Severe | 2km | Moderate to good 24.9 | Aesthetic 0 Model 3/6 th Amenity 0 | £552.033k | Internal 6 External 8 | 6 x £66.0k = £396k 8 x £7.19k = £57.52k Total £453.52k | 4 x CAT 4 | 4 x £0k = £0k Total £0k | £552.033K | Yes | n/a Yes | n/a | In progress - TBC | To be discussed at next progress meeting
2021 | Norwich - King Street | AW4NF519XI | The River Wensum | TG 2364 0823 | No take forwards | No take forwards | take forwards | No | Moderate | 0 | 0 | 5 | 5 | 5 | 0 | 0 | 0 | 5 | n/a | n/a | No impact | No Impact | 2km | Moderate to good 24.9 | Aesthetic 0 Model 0 Amenity 0 | 0 | Internal 0 External 0 | £0k | No pollutions | £0k | 0 | No | No | n/a | Environmental impact score 0 from info below. Aesthetic - low - 0 WQ Model - No impact - 0 Amenity - low - 0 PV calc has a 0 multiplier in it leading to a 0 PV | To be discussed at next progress meeting
2021 | Maldon STW | ASENF1136 | Tributary of Pennys Brook | TL 8915 0744 | No take forwards | No take forwards | take forwards | No | Moderate | 0 | 0 | 10 | 10 | 10 | 10 | 0 | 0 | 20 | n/a | n/a | Severe | Severe | 2km | Moderate to good 24.9 | Aesthetic 0 Model 3/6 th Amenity 0 | £552.033k | Internal 3 External 0 | 3 x £66.0k = £198k Total £198.0k | 1 x CAT 3 1 x CAT 4 | 1 x £56.6k = £56.6k 1 x £0k = £0k Total £56.6k | £552.033k | Yes | Yes | Yes | In progress - TBC | To be discussed at next progress meeting
2021 | LACEBY-CAISTOR ROAD #1 SSO | ANNNF2284A | The Laceby Beck | TA 2171 0648 | No take forwards | No take forwards | take forwards | No | Poor | 0 | 0 | 5 | 5 | 0 | 0 | 0 | 0 | 5 | tbc | tbc | tbc | tbc | 2km | tbc | tbc | tbc | Internal 0 External 0 | £0k | No pollutions | £0k | £k | tbc | tbc | tbc | In progress - TBC | To be discussed at next progress meeting
2021 | Frinton - Upper Second Avenue - The Close | ASENF3684/12381/V001 | Kirby Brook | TM 2303 1986 | No take forwards | No take forwards | take forwards | Yes | Moderate | 25 | 20 | 5 | 5 | 0 | 10 | 0 | 0 | 40 | Severe | Very high | n/a | Severe | 2km | Moderate to good 24.9 | Aesthetic 1/6th Model 3/6 th Amenity 0 | £736.412k | Internal 0 External 0 | £0k | No pollutions | £0k | £736.412k | Yes | Yes Yes | n/a | In progress - TBC | To be discussed at next progress meeting
2021 | HOLBEACH STW | AW5NF378E/1 | Holbeach River | TF 3575 2603 | No take forwards | No take forwards | take forwards | No | Moderate | 0 | 0 | 0 | 0 | 10 | 10 | 0 | 0 | 10 | n/a | n/a | Severe | Severe | 2km | Moderate to good 24.9 | Aesthetic 0 Model 3/6 th Amenity 0 | £552.033k | Internal 0 External 0 | £0k | 1 x CAT 3 2 x CAT 4 | 1 x £56.6k = £56.6k 2 x £0k = £0k Total £56.6k | £552.033k | Yes | Yes Yes | Yes No | In progress - TBC | To be discussed at next progress meeting
2021 | SANDY-HIGH STREET SSO | AWCNF1684A | R.IVEL | TL 1752 4901 | No take forwards | No take forwards | take forwards | No | Moderate | 10 | 0 | 5 | 5 | 0 | 0 | 0 | 0 | 15 | n/a | n/a | No impact | No impact | 2km | Moderate to good 24.9 | Aesthetic 0 Model 0 Amenity 0 | 0 | Internal 0 External 0 | £0k | No pollutions | £0k | 0 | No | No | n/a | Environmental impact score 0 from info below. Aesthetic - low - 0 WQ Model - No impact - 0 Amenity - low - 0 PV calc has a 0 multiplier in it leading to a 0 PV | To be discussed at next progress meeting
2021 | LEISTON-VALLEY ROAD/CROWN STREET(2) | ASENF4032/11 | Leiston Beck | TM 4523 6330 | No take forwards | No take forwards | take forwards | Yes | Moderate | 30 | 35 | 5 | 5 | 0 | 10 | 0 | 0 | 50 | n/a | n/a | Severe | Severe | 2km | Moderate to good 24.9 | Aesthetic 1/6th Model 3/6th Amenity 0 | £736.412k | Internal 0 External 0 | £0k | No pollutions | £0k | £736.412k | Yes | Yes Yes | n/a | In progress - TBC | To be discussed at next progress meeting
2021 | RAYLEIGH-WEST STW | ASENF3257 AW2TSE12870G | RIVER CROUCH | TQ 8321 9039 | No take forwards | No take forwards | take forwards | No | Moderate | 0 | 0 | 5 | 5 | 0 | 0 | 0 | 0 | 5 | n/a | n/a | High | High | 2km | Moderate to good 24.9 | Aesthetic 0 Model 3/6 th Amenity 0 | £552.033k | Internal 0 External 1 | 1 x £7.19k = £7.19k Total £7.19k | 1 x CAT 3 1 x CAT 4 | 1 x £56.6k = £56.6k 1 x £0k = £0k Total £56.6k | £552.033k | Yes | Reevaluating the model data | n/a | In progress - TBC | To be discussed at next progress meeting
2021 | (Huntingdon) Hartford Rd CSO | AWCNF11842 | The River Great Ouse | TL 2450 7179 | No take forwards | No take forwards | take forwards | No | Moderate | 20 | 0 | 10 | 10 | 10 | 10 | 20 | 0 | 60 | n/a | n/a | No impact | No Impact | 2km | Moderate to good 24.9 | Aesthetic 1/6th Model 0 Amenity 1/6th | £367.654k | Internal 0 External 0 | £0k | No pollutions | £0k | £367.654k | Yes | Yes | n/a | In progress - TBC | To be discussed at next progress meeting
2021 | ODELL STW | AW1NF1081E | The River Great Ouse | SP 9835 5793 | No take forwards | No take forwards | take forwards |  | Moderate | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | n/a | High | High | 2km | Moderate to good 24.9 | Aesthetic 0 Model 3/6th Amenity 0 | £552.033k | Internal 0 External 0 | £0k | No pollutions | £0k | £552.033k | Yes | Yes | Yes | In progress - TBC | To be discussed at next progress meeting
2021 | LAVENDON STW | AW1NF1012C | Lavendon Brook | SP 9123 5269 | No take forwards | No take forwards | take forwards | Yes | Moderate | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Severe | Low | n/a | Severe | 2km | Moderate to good 24.9 | Aesthetic 0 Model 3/6 th Amenity 0 | £552.033k | Internal 0 External 0 | £0k | No pollutions | £0k | £552.033k | Yes | Yes Yes | n/a | In progress - TBC | To be discussed at next progress meeting
2021 | PERTENHALL STW | AW1NF2724B | Keysoe Brook | TL 0873 6464 | No take forwards | No take forwards | take forwards | Yes | Moderate | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 10 | Very severe | Very severe | n/a | Very Severe | 2km | Moderate to good 24.9 | Aesthetic 0 Model 3/6 th Amenity 0 | £552.033k | Internal 0 External 0 | £0k | 1 x CAT 3 | 1 x £56.6k = £56.6k Total £56.6k | £552.033k | Yes | Reevaluating the model data | n/a | In progress - TBC | To be discussed at next progress meeting
2021 | ISLIP STW | AW5NF557E/1 | The River Nene | SP 9938 7958 | No take forwards | No take forwards | take forwards | Yes | Moderate | 20 | 25 | 5 | 5 | 10 | 0 | 0 | 0 | 40 | Very high | moderate | n/a | Very High | 2km | Moderate to good 24.9 | Aesthetic 1/6th Model 3/6th Amenity 0 | £736.412k | Internal 0 External 0 | £0k | No pollutions | £0k | £736.412k | Yes | Yes | Yes | In progress - TBC | To be discussed at next progress meeting
2021 | KINGS LYNN-MILLFLEET SO1 OV | AW1NF1040 | Culverted Gaywood River | TF 6208 1971 | No take forwards | No take forwards | take forwards | No | Moderate | 0 | 0 | 10 | 10 | 0 | 0 | 0 | 0 | 10 | n/a | n/a | Low | Low | 2km | Moderate to good 24.9 | Aesthetic 0 Model 0 Amenity 0 | 0 | Internal 0 External 0 | £0k | No pollutions | £0k | 0 | No | No | n/a | Environmental impact score 0 from info below. Aesthetic - low - 0 WQ Model - No impact - 0 Amenity - low - 0 PV calc has a 0 multiplier in it leading to a 0 PV | To be discussed at next progress meeting
2021 | HASLINGFIELD-STW | ASCNF1094F | River Rhee | TL 4247 5322 | No take forwards | No take forwards | take forwards | Yes | Moderate | tbc | tbc | tbc | tbc | tbc | tbc | tbc | tbc | tbc | tbc | tbc | tbc | tbc | 2km | tbc | tbc | tbc | tbc | tbc | tbc | tbc | tbc | tbc | tbc | tbc | In progress - TBC | To be discussed at next progress meeting
2021 | DISS-MOUNT ST OV | AW4NF929X/1 | River Waveney | TM 1190 7940 | No take forwards | No take forwards | take forwards | Yes | Moderate | 5 | 5 | 5 | 5 | 0 | 10 | 0 | 0 | 20 | Very severe | Severe | n/a | Very Severe | 2km | Moderate to good 24.9 | Aesthetic 0 Model 3/6th Amenity 0 | £552.033k | Internal 0 External 0 | £0k | No pollutions | £0k | £552.033k | Yes | Reevaluating the model data | n/a | In progress - TBC | To be discussed at next progress meeting
2021 | DISS STW | AW4NF625/V003 | River Waveney | TF 1205 7934 | No take forwards | No take forwards | take forwards | Yes | Moderate | 20 | 15 | 5 | 5 | 0 | 10 | 0 | 0 | 35 | n/a | n/a | No impact | No Impact | 2km | Moderate to good 24.9 | Aesthetic 1/6th Model 0 Amenity 0 | £184.379k | Internal 0 External 0 | £0k | 2 x CAT 3 | 2 x £56.6k = £113.2k Total £113.2k | £184.379k | Yes | Yes | n/a | In progress - TBC | To be discussed at next progress meeting