## Export
Site | Date | Flow (m3) | Verification Flag | Notes
(WHITST) WHITLINGHAM TROWSE STW | 2021-01-01 | 91698 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-01-02 | 90501 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-01-03 | 101184 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-01-04 | 94593 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-01-05 | 96752 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-01-06 | 120647 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-01-07 | 92161 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-01-08 | 89220 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-01-09 | 87005 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-01-10 | 84012 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-01-11 | 85520 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-01-12 | 94996 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-01-13 | 86853 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-01-14 | 157158 | A | Rate of Change HighHigh Exceeded - Limit: 31500, Value: 157146, Yesterday's Value: 86853, Difference: 70293Comment:Calculated from 15 min telemetry
(WHITST) WHITLINGHAM TROWSE STW | 2021-01-15 | 96068 | A | Rate of Change HighHigh Exceeded - Limit: 31500, Value: 95727, Yesterday's Value: 157146, Difference: 61419Comment:Calculated from 15 min telemetry
(WHITST) WHITLINGHAM TROWSE STW | 2021-01-16 | 112233 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-01-17 | 109576 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-01-18 | 102242 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-01-19 | 137256 | S | Rate of Change HighHigh Exceeded - Limit: 31500, Value: 137256, Yesterday's Value: 102242, Difference: 35014Comment:Accepted by SDSM
(WHITST) WHITLINGHAM TROWSE STW | 2021-01-20 | 114627 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-01-21 | 108069 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-01-22 | 104537 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-01-23 | 103088 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-01-24 | 93994 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-01-25 | 91339 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-01-26 | 94918 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-01-27 | 91952 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-01-28 | 130235 | A | Rate of Change HighHigh Exceeded - Limit: 31500, Value: 130101, Yesterday's Value: 91952, Difference: 38149Comment:Calculated from 15 min telemetry
(WHITST) WHITLINGHAM TROWSE STW | 2021-01-29 | 129031 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-01-30 | 116231 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-01-31 | 110870 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-02-01 | 106294 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-02-02 | 119815 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-02-03 | 110015 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-02-04 | 101811 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-02-05 | 108877 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-02-06 | 111312 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-02-07 | 103341 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-02-08 | 102011 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-02-09 | 108997 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-02-10 | 101508 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-02-11 | 95705 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-02-12 | 87752 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-02-13 | 87932 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-02-14 | 91816 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-02-15 | 121546 | A | Rate of Change High Exceeded - Limit: 28500, Value: 121491, Yesterday's Value: 91816, Difference: 29675Comment:Calculated from 15 min telemetry
(WHITST) WHITLINGHAM TROWSE STW | 2021-02-16 | 109082 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-02-17 | 99567 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-02-18 | 101568 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-02-19 | 95083 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-02-20 | 92353 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-02-21 | 90734 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-02-22 | 92391 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-02-23 | 88753 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-02-24 | 87791 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-02-25 | 83574 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-02-26 | 83134 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-02-27 | 81963 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-02-28 | 81000 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-03-01 | 79389 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-03-02 | 78645 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-03-03 | 81270 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-03-04 | 95660 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-03-05 | 82269 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-03-06 | 78712 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-03-07 | 79467 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-03-08 | 78066 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-03-09 | 77399 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-03-10 | 124974 | S | Rate of Change HighHigh Exceeded - Limit: 31500, Value: 124974, Yesterday's Value: 77399, Difference: 47575Comment:Accepted by SDSM
(WHITST) WHITLINGHAM TROWSE STW | 2021-03-11 | 144659 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-03-12 | 86452 | S | Rate of Change HighHigh Exceeded - Limit: 31500, Value: 86452, Yesterday's Value: 144659, Difference: 58207Comment:Accepted by SDSM
(WHITST) WHITLINGHAM TROWSE STW | 2021-03-13 | 89733 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-03-14 | 85607 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-03-15 | 90771 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-03-16 | 93200 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-03-17 | 82608 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-03-18 | 89378 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-03-19 | 91295 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-03-20 | 78650 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-03-21 | 78938 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-03-22 | 75726 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-03-23 | 75066 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-03-24 | 75723 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-03-25 | 76269 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-03-26 | 80081 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-03-27 | 73140 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-03-28 | 73699 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-03-29 | 73907 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-03-30 | 74752 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-03-31 | 74421 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-04-01 | 72062 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-04-02 | 71317 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-04-03 | 70460 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-04-04 | 71617 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-04-05 | 75751 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-04-06 | 78121 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-04-07 | 77276 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-04-08 | 72747 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-04-09 | 75873 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-04-10 | 71469 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-04-11 | 75651 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-04-12 | 71732 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-04-13 | 71078 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-04-14 | 73556 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-04-15 | 70475 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-04-16 | 70419 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-04-17 | 70051 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-04-18 | 70827 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-04-19 | 70989 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-04-20 | 71643 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-04-21 | 70560 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-04-22 | 70341 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-04-23 | 69675 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-04-24 | 68826 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-04-25 | 70006 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-04-26 | 70133 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-04-27 | 69954 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-04-28 | 71613 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-04-29 | 71155 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-04-30 | 76222 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-05-01 | 74722 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-05-02 | 70355 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-05-03 | 84950 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-05-04 | 107113 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-05-05 | 80302 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-05-06 | 95729 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-05-07 | 77963 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-05-08 | 104679 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-05-09 | 87983 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-05-10 | 105282 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-05-11 | 80937 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-05-12 | 75517 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-05-13 | 74090 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-05-14 | 71442 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-05-15 | 73694 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-05-16 | 82975 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-05-17 | 77625 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-05-18 | 81457 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-05-19 | 83139 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-05-20 | 75946 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-05-21 | 91784 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-05-22 | 93998 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-05-23 | 78168 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-05-24 | 95939 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-05-25 | 84575 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-05-26 | 77931 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-05-27 | 74266 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-05-28 | 74381 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-05-29 | 72614 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-05-30 | 70657 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-05-31 | 71375 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-06-01 | 71803 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-06-02 | 72148 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-06-03 | 72203 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-06-04 | 88225 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-06-05 | 93832 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-06-06 | 72527 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-06-07 | 71726 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-06-08 | 71551 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-06-09 | 73366 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-06-10 | 72969 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-06-11 | 73795 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-06-12 | 71865 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-06-13 | 72927 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-06-14 | 74888 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-06-15 | 71670 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-06-16 | 72209 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-06-17 | 85238 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-06-18 | 107752 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-06-19 | 90506 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-06-20 | 107260 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-06-21 | 77818 | A | Rate of Change High Exceeded - Limit: 28500, Value: 77283, Yesterday's Value: 107260, Difference: 29977Comment:Calculated from 15 min telemetry
(WHITST) WHITLINGHAM TROWSE STW | 2021-06-22 | 73736 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-06-23 | 72941 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-06-24 | 73934 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-06-25 | 95116 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-06-26 | 73356 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-06-27 | 84829 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-06-28 | 75544 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-06-29 | 73886 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-06-30 | 70283 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-07-01 | 69362 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-07-02 | 69745 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-07-03 | 98553 | S | Rate of Change High Exceeded - Limit: 28500, Value: 98553, Yesterday's Value: 69745, Difference: 28808Comment:Accepted by SDSM
(WHITST) WHITLINGHAM TROWSE STW | 2021-07-04 | 81881 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-07-05 | 72997 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-07-06 | 108477 | A | Rate of Change HighHigh Exceeded - Limit: 31500, Value: 108296, Yesterday's Value: 72997, Difference: 35299Comment:Calculated from 15 min telemetry
(WHITST) WHITLINGHAM TROWSE STW | 2021-07-07 | 81977 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-07-08 | 83891 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-07-09 | 94812 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-07-10 | 85355 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-07-11 | 76494 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-07-12 | 72097 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-07-13 | 72978 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-07-14 | 73013 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-07-15 | 72533 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-07-16 | 73868 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-07-17 | 72365 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-07-18 | 73013 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-07-19 | 71407 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-07-20 | 69599 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-07-21 | 68806 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-07-22 | 67369 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-07-23 | 66777 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-07-24 | 68951 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-07-25 | 68931 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-07-26 | 69097 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-07-27 | 71080 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-07-28 | 90725 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-07-29 | 89920 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-07-30 | 90046 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-07-31 | 86204 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-08-01 | 68549 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-08-02 | 68267 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-08-03 | 66181 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-08-04 | 67309 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-08-05 | 74062 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-08-06 | 93497 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-08-07 | 86829 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-08-08 | 85074 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-08-09 | 71955 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-08-10 | 77380 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-08-11 | 73119 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-08-12 | 69214 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-08-13 | 68729 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-08-14 | 68061 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-08-15 | 67711 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-08-16 | 66645 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-08-17 | 68790 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-08-18 | 66364 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-08-19 | 70828 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-08-20 | 67477 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-08-21 | 65881 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-08-22 | 86416 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-08-23 | 71095 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-08-24 | 67095 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-08-25 | 64429 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-08-26 | 64710 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-08-27 | 67673 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-08-28 | 68120 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-08-29 | 62593 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-08-30 | 64110 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-08-31 | 65526 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-09-01 | 64945 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-09-02 | 63517 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-09-03 | 63402 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-09-04 | 62668 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-09-05 | 66058 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-09-06 | 65939 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-09-07 | 67991 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-09-08 | 67024 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-09-09 | 68249 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-09-10 | 81135 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-09-11 | 75332 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-09-12 | 68861 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-09-13 | 66005 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-09-14 | 78820 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-09-15 | 74020 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-09-16 | 68747 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-09-17 | 65639 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-09-18 | 65966 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-09-19 | 67141 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-09-20 | 78821 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-09-21 | 69298 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-09-22 | 67815 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-09-23 | 67883 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-09-24 | 68518 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-09-25 | 68352 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-09-26 | 67709 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-09-27 | 71990 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-09-28 | 65668 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-09-29 | 89458 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-09-30 | 67185 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-10-01 | 69967 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-10-02 | 81914 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-10-03 | 85348 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-10-04 | 69522 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-10-05 | 112382 | A | Rate of Change HighHigh Exceeded - Limit: 31500, Value: 113396, Yesterday's Value: 69522, Difference: 43874Comment:Calculated from 15 min ftelemetyr
(WHITST) WHITLINGHAM TROWSE STW | 2021-10-06 | 96256 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-10-07 | 69708 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-10-08 | 68419 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-10-09 | 66908 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-10-10 | 65199 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-10-11 | 66370 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-10-12 | 70697 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-10-13 | 66341 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-10-14 | 64812 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-10-15 | 64846 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-10-16 | 65652 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-10-17 | 65297 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-10-18 | 71476 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-10-19 | 60562 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-10-20 | 111866 | A | Rate of Change HighHigh Exceeded - Limit: 31500, Value: 113153, Yesterday's Value: 60562, Difference: 52591Comment:Calculated from 15 min ftelemetyr
(WHITST) WHITLINGHAM TROWSE STW | 2021-10-21 | 114795 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-10-22 | 87979 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-10-23 | 70292 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-10-24 | 67424 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-10-25 | 75417 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-10-26 | 68311 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-10-27 | 65119 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-10-28 | 65312 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-10-29 | 68448 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-10-30 | 68903 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-10-31 | 77443 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-11-01 | 68675 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-11-02 | 66211 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-11-03 | 83329 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-11-04 | 91431 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-11-05 | 72410 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-11-06 | 67650 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-11-07 | 69170 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-11-08 | 69423 | A | Absolute Upper Bound Exceeded - Limit: 357750, Value: 2104957819Comment:Telemetry Rollover - Data backcalculated
(WHITST) WHITLINGHAM TROWSE STW | 2021-11-09 | 66202 | A | Rate of Change HighHigh Exceeded - Limit: 31500, Value: 66198, Yesterday's Value: 2104957819, Difference: 2104891621Comment:Calculated from 15 min ftelemetyr
(WHITST) WHITLINGHAM TROWSE STW | 2021-11-10 | 68526 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-11-11 | 66372 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-11-12 | 69704 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-11-13 | 80374 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-11-14 | 73421 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-11-15 | 64640 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-11-16 | 64630 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-11-17 | 65026 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-11-18 | 63647 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-11-19 | 63089 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-11-20 | 63453 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-11-21 | 73912 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-11-22 | 67391 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-11-23 | 63543 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-11-24 | 62704 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-11-25 | 69744 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-11-26 | 83492 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-11-27 | 86510 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-11-28 | 109213 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-11-29 | 92425 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-11-30 | 82398 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-12-01 | 87250 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-12-02 | 102212 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-12-03 | 72961 | A | Rate of Change High Exceeded - Limit: 28500, Value: 73086, Yesterday's Value: 102212, Difference: 29126Comment:Calculated from 15 min ftelemetyr
(WHITST) WHITLINGHAM TROWSE STW | 2021-12-04 | 81322 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-12-05 | 92995 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-12-06 | 90706 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-12-07 | 96211 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-12-08 | 85353 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-12-09 | 84455 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-12-10 | 111690 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-12-11 | 91495 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-12-12 | 94883 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-12-13 | 78731 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-12-14 | 77197 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-12-15 | 74262 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-12-16 | 72099 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-12-17 | 68887 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-12-18 | 68851 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-12-19 | 65004 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-12-20 | 67860 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-12-21 | 64828 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-12-22 | 64459 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-12-23 | 68150 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-12-24 | 71899 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-12-25 | 80207 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-12-26 | 80762 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-12-27 | 78010 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-12-28 | 86024 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-12-29 | 84283 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-12-30 | 74535 | V
(WHITST) WHITLINGHAM TROWSE STW | 2021-12-31 | 85031 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-01-01 | 73188 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-01-02 | 79639 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-01-03 | 81690 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-01-04 | 79362 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-01-05 | 80837 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-01-06 | 79617 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-01-07 | 71367 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-01-08 | 83926 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-01-09 | 80590 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-01-10 | 74750 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-01-11 | 73434 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-01-12 | 71087 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-01-13 | 68544 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-01-14 | 68306 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-01-15 | 66677 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-01-16 | 66880 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-01-17 | 66032 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-01-18 | 65537 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-01-19 | 65778 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-01-20 | 74234 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-01-21 | 69584 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-01-22 | 66722 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-01-23 | 65882 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-01-24 | 64968 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-01-25 | 64860 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-01-26 | 64572 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-01-27 | 65093 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-01-28 | 66574 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-01-29 | 64178 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-01-30 | 79349 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-01-31 | 69376 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-02-01 | 73316 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-02-02 | 71851 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-02-03 | 65718 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-02-04 | 80945 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-02-05 | 71572 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-02-06 | 80505 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-02-07 | 76150 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-02-08 | 66684 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-02-09 | 67479 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-02-10 | 65818 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-02-11 | 66216 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-02-12 | 62508 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-02-13 | 65681 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-02-14 | 92324 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-02-15 | 77532 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-02-16 | 81889 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-02-17 | 69987 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-02-18 | 76364 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-02-19 | 77030 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-02-20 | 94977 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-02-21 | 92073 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-02-22 | 89588 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-02-23 | 73241 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-02-24 | 91378 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-02-25 | 90439 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-02-26 | 79243 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-02-27 | 74523 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-02-28 | 72874 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-03-01 | 83195 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-03-02 | 72921 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-03-03 | 72085 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-03-04 | 69741 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-03-05 | 89970 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-03-06 | 71798 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-03-07 | 71402 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-03-08 | 71751 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-03-09 | 61070 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-03-10 | 67947 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-03-11 | 64838 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-03-12 | 62969 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-03-13 | 61662 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-03-14 | 63086 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-03-15 | 58106 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-03-16 | 70545 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-03-17 | 76969 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-03-18 | 67809 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-03-19 | 63853 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-03-20 | 62168 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-03-21 | 61184 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-03-22 | 62165 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-03-23 | 62184 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-03-24 | 61225 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-03-25 | 60895 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-03-26 | 60181 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-03-27 | 58795 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-03-28 | 58815 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-03-29 | 58654 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-03-30 | 71374 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-03-31 | 67850 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-04-01 | 63838 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-04-02 | 61850 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-04-03 | 58845 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-04-04 | 66532 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-04-05 | 60365 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-04-06 | 64965 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-04-07 | 60671 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-04-08 | 60927 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-04-09 | 59450 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-04-10 | 57990 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-04-11 | 58280 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-04-12 | 58641 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-04-13 | 58345 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-04-14 | 58169 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-04-15 | 58178 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-04-16 | 56624 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-04-17 | 57203 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-04-18 | 57222 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-04-19 | 59670 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-04-20 | 60470 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-04-21 | 60232 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-04-22 | 61671 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-04-23 | 59677 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-04-24 | 61926 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-04-25 | 58628 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-04-26 | 59504 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-04-27 | 59005 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-04-28 | 58872 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-04-29 | 56780 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-04-30 | 59106 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-05-01 | 56899 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-05-02 | 58747 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-05-03 | 58841 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-05-04 | 77659 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-05-05 | 63122 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-05-06 | 61193 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-05-07 | 64099 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-05-08 | 59387 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-05-09 | 62164 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-05-10 | 58731 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-05-11 | 72286 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-05-12 | 61600 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-05-13 | 61286 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-05-14 | 60749 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-05-15 | 59563 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-05-16 | 63947 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-05-17 | 62534 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-05-18 | 62166 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-05-19 | 77471 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-05-20 | 70320 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-05-21 | 61357 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-05-22 | 61916 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-05-23 | 81406 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-05-24 | 88211 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-05-25 | 61445 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-05-26 | 67814 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-05-27 | 63806 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-05-28 | 61058 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-05-29 | 59879 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-05-30 | 62458 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-05-31 | 82543 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-06-01 | 67685 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-06-02 | 63376 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-06-03 | 63301 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-06-04 | 60887 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-06-05 | 80636 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-06-06 | 91635 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-06-07 | 67751 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-06-08 | 92074 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-06-09 | 70797 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-06-10 | 66132 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-06-11 | 65649 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-06-12 | 64121 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-06-13 | 63727 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-06-14 | 62719 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-06-15 | 65117 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-06-16 | 67955 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-06-17 | 69646 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-06-18 | 63686 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-06-19 | 69978 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-06-20 | 64584 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-06-21 | 63028 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-06-22 | 63599 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-06-23 | 63945 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-06-24 | 64400 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-06-25 | 62211 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-06-26 | 61989 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-06-27 | 62753 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-06-28 | 63825 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-06-29 | 62820 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-06-30 | 72789 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-07-01 | 63911 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-07-02 | 61745 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-07-03 | 61251 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-07-04 | 59655 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-07-05 | 62170 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-07-06 | 61867 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-07-07 | 59652 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-07-08 | 61363 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-07-09 | 59008 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-07-10 | 59553 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-07-11 | 61338 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-07-12 | 62060 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-07-13 | 62095 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-07-14 | 63370 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-07-15 | 63072 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-07-16 | 62372 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-07-17 | 61895 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-07-18 | 65005 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-07-19 | 64139 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-07-20 | 65700 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-07-21 | 61479 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-07-22 | 60707 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-07-23 | 61436 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-07-24 | 61418 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-07-25 | 63153 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-07-26 | 59120 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-07-27 | 61047 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-07-28 | 62585 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-07-29 | 60717 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-07-30 | 59634 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-07-31 | 79863 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-08-01 | 62250 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-08-02 | 61636 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-08-03 | 62099 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-08-04 | 60644 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-08-05 | 59194 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-08-06 | 57762 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-08-07 | 56434 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-08-08 | 58198 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-08-09 | 58864 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-08-10 | 60776 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-08-11 | 59241 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-08-12 | 60704 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-08-13 | 59593 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-08-14 | 59398 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-08-15 | 59437 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-08-16 | 62921 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-08-17 | 63632 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-08-18 | 57063 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-08-19 | 58387 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-08-20 | 55587 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-08-21 | 56446 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-08-22 | 57590 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-08-23 | 57788 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-08-24 | 59010 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-08-25 | 75495 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-08-26 | 60813 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-08-27 | 59707 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-08-28 | 57777 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-08-29 | 56666 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-08-30 | 57631 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-08-31 | 57731 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-09-01 | 58547 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-09-02 | 58446 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-09-03 | 57003 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-09-04 | 56743 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-09-05 | 59393 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-09-06 | 66804 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-09-07 | 59178 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-09-08 | 115133 | S | Rate of Change HighHigh Exceeded - Limit: 31500, Value: 115133, Yesterday's Value: 59178, Difference: 55955Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2022-09-09 | 98068 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-09-10 | 64151 | S | Rate of Change HighHigh Exceeded - Limit: 31500, Value: 64151, Yesterday's Value: 98068, Difference: 33917Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2022-09-11 | 62201 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-09-12 | 65074 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-09-13 | 63680 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-09-14 | 62030 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-09-15 | 61378 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-09-16 | 97096 | S | Rate of Change HighHigh Exceeded - Limit: 31500, Value: 97096, Yesterday's Value: 61378, Difference: 35718Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2022-09-17 | 66097 | S | Rate of Change High Exceeded - Limit: 28500, Value: 66097, Yesterday's Value: 97096, Difference: 30999Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2022-09-18 | 60838 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-09-19 | 59324 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-09-20 | 59216 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-09-21 | 57955 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-09-22 | 58899 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-09-23 | 67167 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-09-24 | 69221 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-09-25 | 60415 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-09-26 | 99002 | S | Rate of Change HighHigh Exceeded - Limit: 31500, Value: 99002, Yesterday's Value: 60415, Difference: 38587Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2022-09-27 | 65967 | S | Rate of Change HighHigh Exceeded - Limit: 31500, Value: 65967, Yesterday's Value: 99002, Difference: 33035Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2022-09-28 | 68370 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-09-29 | 60929 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-09-30 | 84454 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-10-01 | 92610 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-10-02 | 63348 | S | Rate of Change High Exceeded - Limit: 28500, Value: 63348, Yesterday's Value: 92610, Difference: 29262Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2022-10-03 | 59257 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-10-04 | 58664 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-10-05 | 65211 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-10-06 | 59467 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-10-07 | 61265 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-10-08 | 60162 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-10-09 | 59927 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-10-10 | 72931 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-10-11 | 60835 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-10-12 | 59573 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-10-13 | 60350 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-10-14 | 60067 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-10-15 | 58622 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-10-16 | 60879 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-10-17 | 72956 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-10-18 | 59287 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-10-19 | 58899 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-10-20 | 93278 | S | Rate of Change HighHigh Exceeded - Limit: 31500, Value: 93278, Yesterday's Value: 58899, Difference: 34379Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2022-10-21 | 60849 | S | Rate of Change HighHigh Exceeded - Limit: 31500, Value: 60849, Yesterday's Value: 93278, Difference: 32429Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2022-10-22 | 62216 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-10-23 | 102425 | S | Rate of Change HighHigh Exceeded - Limit: 31500, Value: 102425, Yesterday's Value: 62216, Difference: 40209Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2022-10-24 | 86197 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-10-25 | 61610 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-10-26 | 67685 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-10-27 | 66471 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-10-28 | 60869 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-10-29 | 81463 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-10-30 | 71656 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-10-31 | 61014 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-11-01 | 89733 | S | Rate of Change High Exceeded - Limit: 28500, Value: 89733, Yesterday's Value: 61014, Difference: 28719Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2022-11-02 | 61160 | S | Rate of Change High Exceeded - Limit: 28500, Value: 61160, Yesterday's Value: 89733, Difference: 28573Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2022-11-03 | 118511 | S | Rate of Change HighHigh Exceeded - Limit: 31500, Value: 118511, Yesterday's Value: 61160, Difference: 57351Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2022-11-04 | 76099 | S | Rate of Change HighHigh Exceeded - Limit: 31500, Value: 76099, Yesterday's Value: 118511, Difference: 42412Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2022-11-05 | 64868 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-11-06 | 124650 | S | Rate of Change HighHigh Exceeded - Limit: 31500, Value: 124650, Yesterday's Value: 64868, Difference: 59782Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2022-11-07 | 83556 | S | Rate of Change HighHigh Exceeded - Limit: 31500, Value: 83556, Yesterday's Value: 124650, Difference: 41094Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2022-11-08 | 76886 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-11-09 | 63580 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-11-10 | 63653 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-11-11 | 61904 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-11-12 | 62667 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-11-13 | 62283 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-11-14 | 63705 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-11-15 | 71297 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-11-16 | 75415 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-11-17 | 138873 | S | Rate of Change HighHigh Exceeded - Limit: 31500, Value: 138873, Yesterday's Value: 75415, Difference: 63458Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2022-11-18 | 71931 | S | Rate of Change HighHigh Exceeded - Limit: 31500, Value: 71931, Yesterday's Value: 138873, Difference: 66942Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2022-11-19 | 69252 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-11-20 | 71304 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-11-21 | 89500 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-11-22 | 82842 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-11-23 | 85286 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-11-24 | 68068 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-11-25 | 64512 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-11-26 | 63909 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-11-27 | 90606 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-11-28 | 73210 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-11-29 | 65303 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-11-30 | 65068 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-12-01 | 62217 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-12-02 | 69340 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-12-03 | 65531 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-12-04 | 60886 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-12-05 | 71746 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-12-06 | 68527 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-12-07 | 73283 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-12-08 | 64219 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-12-09 | 65787 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-12-10 | 63838 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-12-11 | 61124 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-12-12 | 64168 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-12-13 | 54972 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-12-14 | 62423 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-12-15 | 59620 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-12-16 | 52331 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-12-17 | 54323 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-12-18 | 77052 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-12-19 | 90792 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-12-20 | 69593 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-12-21 | 81275 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-12-22 | 73365 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-12-23 | 115959 | S | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 42594Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2022-12-24 | 79645 | S | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 36314Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2022-12-25 | 69818 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-12-26 | 68135 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-12-27 | 82341 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-12-28 | 103406 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-12-29 | 69063 | S | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 34343Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2022-12-30 | 73652 | V
(WHITST) WHITLINGHAM TROWSE STW | 2022-12-31 | 122863 | S | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 49211Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2023-01-01 | 91144 | S | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 31719Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2023-01-02 | 73885 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-01-03 | 90737 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-01-04 | 91248 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-01-05 | 72468 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-01-06 | 81059 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-01-07 | 75043 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-01-08 | 95057 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-01-09 | 79965 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-01-10 | 103559 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-01-11 | 83653 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-01-12 | 99935 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-01-13 | 74600 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-01-14 | 117335 | S | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 42735Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2023-01-15 | 79531 | S | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 37804Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2023-01-16 | 85166 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-01-17 | 72842 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-01-18 | 72094 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-01-19 | 74708 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-01-20 | 67314 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-01-21 | 65065 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-01-22 | 65833 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-01-23 | 63569 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-01-24 | 62431 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-01-25 | 79007 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-01-26 | 69244 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-01-27 | 66864 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-01-28 | 65821 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-01-29 | 65948 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-01-30 | 70578 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-01-31 | 65488 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-02-01 | 65921 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-02-02 | 64070 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-02-03 | 63262 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-02-04 | 63312 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-02-05 | 63238 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-02-06 | 62102 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-02-07 | 63781 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-02-08 | 63160 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-02-09 | 62326 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-02-10 | 63145 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-02-11 | 62413 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-02-12 | 62251 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-02-13 | 61416 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-02-14 | 66585 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-02-15 | 62510 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-02-16 | 62194 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-02-17 | 62112 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-02-18 | 61806 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-02-19 | 62364 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-02-20 | 62467 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-02-21 | 64379 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-02-22 | 63067 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-02-23 | 67558 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-02-24 | 63029 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-02-25 | 66477 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-02-26 | 63407 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-02-27 | 62464 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-02-28 | 61794 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-03-01 | 61685 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-03-02 | 61075 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-03-03 | 61417 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-03-04 | 60766 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-03-05 | 66376 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-03-06 | 64710 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-03-07 | 62755 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-03-08 | 61881 | A | Absolute Upper Bound Exceeded- Limit: 357750.000, Value: 2.11396e+009Comment:Telemetry Rollover - Data backcalculated
(WHITST) WHITLINGHAM TROWSE STW | 2023-03-09 | 105335 | A | Operational Limit Low Low Exceeded- Limit: 33125.000, Value: 0Comment:Calculation from Telemetry
(WHITST) WHITLINGHAM TROWSE STW | 2023-03-10 | 152007 | A | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 51732Comment:Calculation from Telemetry
(WHITST) WHITLINGHAM TROWSE STW | 2023-03-11 | 80385 | A | Rate of Change Limit High Exceeded- Limit: 28500.000, Value: 28775Comment:Calculation from Telemetry
(WHITST) WHITLINGHAM TROWSE STW | 2023-03-12 | 85141 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-03-13 | 88199 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-03-14 | 96360 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-03-15 | 72989 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-03-16 | 74892 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-03-17 | 86238 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-03-18 | 71105 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-03-19 | 75955 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-03-20 | 82270 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-03-21 | 79155 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-03-22 | 79924 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-03-23 | 91360 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-03-24 | 88874 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-03-25 | 69513 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-03-26 | 73154 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-03-27 | 68045 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-03-28 | 78826 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-03-29 | 74620 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-03-30 | 72815 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-03-31 | 86377 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-04-01 | 106986 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-04-02 | 71617 | S | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 35369Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2023-04-03 | 67022 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-04-04 | 64070 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-04-05 | 64151 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-04-06 | 83486 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-04-07 | 65041 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-04-08 | 63437 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-04-09 | 63792 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-04-10 | 100388 | S | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 36596Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2023-04-11 | 80143 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-04-12 | 84830 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-04-13 | 68812 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-04-14 | 69223 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-04-15 | 76244 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-04-16 | 63841 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-04-17 | 66233 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-04-18 | 65113 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-04-19 | 65215 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-04-20 | 72315 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-04-21 | 108161 | S | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 35846Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2023-04-22 | 68736 | A | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 38127Comment:Calculation from Telemetry
(WHITST) WHITLINGHAM TROWSE STW | 2023-04-23 | 102082 | A | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 36470Comment:Calculation from Telemetry
(WHITST) WHITLINGHAM TROWSE STW | 2023-04-24 | 85515 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-04-25 | 72651 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-04-26 | 68941 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-04-27 | 68564 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-04-28 | 70861 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-04-29 | 66486 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-04-30 | 65484 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-05-01 | 70083 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-05-02 | 65183 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-05-03 | 64812 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-05-04 | 66894 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-05-05 | 78885 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-05-06 | 87884 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-05-07 | 100250 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-05-08 | 72287 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-05-09 | 147293 | A | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 81077Comment:Calculation from Telemetry
(WHITST) WHITLINGHAM TROWSE STW | 2023-05-10 | 129589 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-05-11 | 134043 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-05-12 | 105817 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-05-13 | 92410 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-05-14 | 82768 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-05-15 | 81010 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-05-16 | 74967 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-05-17 | 72061 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-05-18 | 70893 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-05-19 | 70499 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-05-20 | 70783 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-05-21 | 70210 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-05-22 | 69126 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-05-23 | 69589 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-05-24 | 67510 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-05-25 | 69506 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-05-26 | 66334 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-05-27 | 67064 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-05-28 | 67493 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-05-29 | 65583 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-05-30 | 65088 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-05-31 | 64804 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-06-01 | 66773 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-06-02 | 68653 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-06-03 | 69429 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-06-04 | 70422 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-06-05 | 66986 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-06-06 | 67352 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-06-07 | 67888 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-06-08 | 69816 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-06-09 | 70769 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-06-10 | 68970 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-06-11 | 70554 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-06-12 | 68591 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-06-13 | 69714 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-06-14 | 69726 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-06-15 | 69038 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-06-16 | 67886 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-06-17 | 65560 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-06-18 | 79350 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-06-19 | 86141 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-06-20 | 77707 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-06-21 | 73868 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-06-22 | 71147 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-06-23 | 70752 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-06-24 | 70114 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-06-25 | 69040 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-06-26 | 68482 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-06-27 | 62524 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-06-28 | 69988 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-06-29 | 98245 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-06-30 | 66699 | A | Rate of Change Limit High Exceeded- Limit: 28500.000, Value: 29545Comment:Calculation from Telemetry
(WHITST) WHITLINGHAM TROWSE STW | 2023-07-01 | 66896 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-07-02 | 38931 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-07-03 | 75172 | S | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 36241Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2023-07-04 | 80143 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-07-05 | 151537 | A | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 67219Comment:Calculation from Telemetry
(WHITST) WHITLINGHAM TROWSE STW | 2023-07-06 | 71460 | S | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 75902Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2023-07-07 | 71121 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-07-08 | 68301 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-07-09 | 67168 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-07-10 | 69288 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-07-11 | 74915 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-07-12 | 76530 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-07-13 | 71186 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-07-14 | 101235 | A | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 34805Comment:Calculation from Telemetry
(WHITST) WHITLINGHAM TROWSE STW | 2023-07-15 | 87699 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-07-16 | 67036 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-07-17 | 90447 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-07-18 | 62968 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-07-19 | 78066 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-07-20 | 68402 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-07-21 | 81734 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-07-22 | 70284 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-07-23 | 86275 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-07-24 | 69580 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-07-25 | 72178 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-07-26 | 71302 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-07-27 | 116224 | A | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 42551Comment:Calculation from Telemetry
(WHITST) WHITLINGHAM TROWSE STW | 2023-07-28 | 69713 | S | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 44140Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2023-07-29 | 65729 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-07-30 | 78629 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-07-31 | 83992 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-08-01 | 67697 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-08-02 | 93744 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-08-03 | 71521 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-08-04 | 72278 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-08-05 | 122443 | A | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 54001Comment:Calculation from Telemetry
(WHITST) WHITLINGHAM TROWSE STW | 2023-08-06 | 101072 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-08-07 | 72238 | S | Rate of Change Limit High Exceeded- Limit: 28500.000, Value: 28834Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2023-08-08 | 69482 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-08-09 | 69982 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-08-10 | 65448 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-08-11 | 68127 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-08-12 | 68018 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-08-13 | 67276 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-08-14 | 91072 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-08-15 | 67052 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-08-16 | 67579 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-08-17 | 66754 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-08-18 | 66699 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-08-19 | 123293 | S | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 56594Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2023-08-20 | 64969 | S | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 58324Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2023-08-21 | 66298 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-08-22 | 64124 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-08-23 | 65034 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-08-24 | 69110 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-08-25 | 64930 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-08-26 | 74541 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-08-27 | 68033 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-08-28 | 63529 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-08-29 | 66148 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-08-30 | 102367 | A | Rate of Change Limit High Exceeded- Limit: 28500.000, Value: 31392Comment:Calculation from Telemetry
(WHITST) WHITLINGHAM TROWSE STW | 2023-08-31 | 67752 | S | Rate of Change Limit High Exceeded- Limit: 28500.000, Value: 29788Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2023-09-01 | 71238 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-09-02 | 65514 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-09-03 | 66221 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-09-04 | 68485 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-09-05 | 68557 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-09-06 | 68469 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-09-07 | 67294 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-09-08 | 66742 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-09-09 | 66792 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-09-10 | 68195 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-09-11 | 66191 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-09-12 | 103445 | A | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 44795Comment:Calculation from Telemetry
(WHITST) WHITLINGHAM TROWSE STW | 2023-09-13 | 110278 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-09-14 | 68622 | S | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 41656Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2023-09-15 | 67043 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-09-16 | 67453 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-09-17 | 67902 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-09-18 | 81194 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-09-19 | 66275 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-09-20 | 81575 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-09-21 | 123959 | A | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 37942Comment:Calculation from Telemetry
(WHITST) WHITLINGHAM TROWSE STW | 2023-09-22 | 72306 | S | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 47211Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2023-09-23 | 66295 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-09-24 | 65905 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-09-25 | 65201 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-09-26 | 66935 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-09-27 | 66947 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-09-28 | 65524 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-09-29 | 72288 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-09-30 | 72387 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-10-01 | 72921 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-10-02 | 94315 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-10-03 | 83581 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-10-04 | 67998 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-10-05 | 66316 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-10-06 | 66384 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-10-07 | 69601 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-10-08 | 69128 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-10-09 | 66743 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-10-10 | 67607 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-10-11 | 82638 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-10-12 | 71839 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-10-13 | 147094 | A | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 79906Comment:Calculation from Telemetry
(WHITST) WHITLINGHAM TROWSE STW | 2023-10-14 | 123963 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-10-15 | 88112 | S | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 35851Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2023-10-16 | 75602 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-10-17 | 73691 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-10-18 | 89579 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-10-19 | 116346 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-10-20 | 144115 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-10-21 | 129366 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-10-22 | 115615 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-10-23 | 117316 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-10-24 | 117187 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-10-25 | 95939 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-10-26 | 116759 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-10-27 | 86884 | S | Rate of Change Limit High Exceeded- Limit: 28500.000, Value: 29875Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2023-10-28 | 91397 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-10-29 | 167843 | A | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 67627Comment:Calculation from Telemetry
(WHITST) WHITLINGHAM TROWSE STW | 2023-10-30 | 90134 | S | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 68890Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2023-10-31 | 89678 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-11-01 | 109840 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-11-02 | 149752 | S | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 39912Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2023-11-03 | 136071 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-11-04 | 119356 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-11-05 | 102787 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-11-06 | 96697 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-11-07 | 88369 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-11-08 | 97295 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-11-09 | 86184 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-11-10 | 82872 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-11-11 | 82032 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-11-12 | 81119 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-11-13 | 103901 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-11-14 | 79913 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-11-15 | 81812 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-11-16 | 93204 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-11-17 | 80500 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-11-18 | 136237 | S | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 55737Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2023-11-19 | 95130 | A | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 39440Comment:Calculation from Telemetry
(WHITST) WHITLINGHAM TROWSE STW | 2023-11-20 | 89381 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-11-21 | 89690 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-11-22 | 80319 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-11-23 | 82213 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-11-24 | 97859 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-11-25 | 96172 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-11-26 | 81316 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-11-27 | 143098 | S | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 61782Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2023-11-28 | 105295 | S | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 37803Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2023-11-29 | 86050 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-11-30 | 82500 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-12-01 | 82239 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-12-02 | 75989 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-12-03 | 95659 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-12-04 | 96591 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-12-05 | 89241 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-12-06 | 84858 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-12-07 | 97182 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-12-08 | 114304 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-12-09 | 116788 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-12-10 | 114013 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-12-11 | 102050 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-12-12 | 121322 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-12-13 | 114889 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-12-14 | 95957 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-12-15 | 92472 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-12-16 | 87628 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-12-17 | 86220 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-12-18 | 82482 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-12-19 | 143248 | S | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 60766Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2023-12-20 | 102303 | S | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 40945Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2023-12-21 | 83263 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-12-22 | 109726 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-12-23 | 86521 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-12-24 | 86772 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-12-25 | 91062 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-12-26 | 81637 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-12-27 | 113459 | S | Rate of Change Limit High High Exceeded- Limit: 31500.000, Value: 31822Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2023-12-28 | 83094 | S | Rate of Change Limit High Exceeded- Limit: 28500.000, Value: 30365Comment:Accepted by FCM
(WHITST) WHITLINGHAM TROWSE STW | 2023-12-29 | 83087 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-12-30 | 83898 | V
(WHITST) WHITLINGHAM TROWSE STW | 2023-12-31 | 94503 | V
Applied filters: Date is on or after 01/01/2021 and is before 01/01/2024 SITE_DISPLAY_NAME is (WHITST) WHITLINGHAM TROWSE STW