## Sheet1
Order | Created on | Description | Functional Loc. | Street
30137961 | 2005-04-02 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
30185250 | 2005-04-24 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
30329306 | 2005-07-04 | BRFCST\AIR1HP AIR PRESSURE | BRFCST | BRADFIELD ST CLARE STW
30345760 | 2005-07-13 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
30454430 | 2005-09-05 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
31070358 | 2006-06-10 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
31184532 | 2006-07-25 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
31214488 | 2006-08-04 | JC-DO MONITOR CHECK ALARM LIGHT & LOW DO | BRFCST | BRADFIELD ST CLARE STW
31214498 | 2006-08-04 | CF-INVEST SMALL LEAK FROM DIFUSER | BRFCST | BRADFIELD ST CLARE STW
31689328 | 2007-01-18 | BRFCST\AIR1HP AIR PRESSURE | BRFCST | BRADFIELD ST CLARE STW
31994721 | 2007-04-13 | Site Risk Assess & Safety Inspect (1Y) | BRFCST | BRADFIELD ST CLARE STW
32448998 | 2007-08-25 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
32451398 | 2007-08-28 | DO SENSOR NOT WORKING | BRFCST | BRADFIELD ST CLARE STW
32454718 | 2007-08-29 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
32455433 | 2007-08-30 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
32495203 | 2007-09-12 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
32540702 | 2007-09-28 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
32542781 | 2007-10-01 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
32816894 | 2008-01-07 | no2 pump noisy | BRFCST | BRADFIELD ST CLARE STW
32939713 | 2008-02-19 | blower 1 wont run trips | BRFCST | BRADFIELD ST CLARE STW
32939880 | 2008-02-19 | air leak from pipe work in building | BRFCST | BRADFIELD ST CLARE STW
32940318 | 2008-02-19 | BRFCST\CMP1CN COMPRESSOR 1 | BRFCST | BRADFIELD ST CLARE STW
32949926 | 2008-02-22 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
32959319 | 2008-02-27 | Replace Blower pipework | BRFCST | BRADFIELD ST CLARE STW
33069151 | 2008-04-07 | Site Safety Electrical Inspections | BRFCST | BRADFIELD ST CLARE STW
33069284 | 2008-04-07 | Site Safety Electrical Inspections | BRFCST | BRADFIELD ST CLARE STW
33069309 | 2008-04-07 | Asst With Site Safety Electrical Insp | BRFCST | BRADFIELD ST CLARE STW
33124014 | 2008-04-20 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33138707 | 2008-04-25 | Site Risk Assess & Safety Inspect (1Y) | BRFCST | BRADFIELD ST CLARE STW
33161270 | 2008-05-02 | Replace blower pipework/new pipe and fittings | BRFCST | BRADFIELD ST CLARE STW
33267333 | 2008-06-09 | Replace Blower pipework | BRFCST | BRADFIELD ST CLARE STW
33387874 | 2008-07-21 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33387917 | 2008-07-21 | D.O fault no read out even in air | BRFCST | BRADFIELD ST CLARE STW
33389719 | 2008-07-22 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33390584 | 2008-07-22 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33408312 | 2008-07-29 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33412960 | 2008-07-31 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33418938 | 2008-08-01 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33420331 | 2008-08-02 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33425474 | 2008-08-06 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33429280 | 2008-08-07 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33436909 | 2008-08-08 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33439919 | 2008-08-11 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33440703 | 2008-08-11 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33470986 | 2008-08-21 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33471959 | 2008-08-21 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33472345 | 2008-08-21 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33483445 | 2008-08-27 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33519354 | 2008-09-09 | O/S ELCTRICITY FAILED | BRFCST | BRADFIELD ST CLARE STW
33559300 | 2008-09-25 | fit and replace blower | BRFCST | BRADFIELD ST CLARE STW
33618576 | 2008-10-14 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33665460 | 2008-11-03 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33666129 | 2008-11-03 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33667373 | 2008-11-04 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33675971 | 2008-11-07 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33686798 | 2008-11-09 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33687514 | 2008-11-10 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33695821 | 2008-11-13 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33701125 | 2008-11-14 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33705211 | 2008-11-17 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33706188 | 2008-11-17 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33707175 | 2008-11-18 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33713160 | 2008-11-20 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33722699 | 2008-11-24 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33724069 | 2008-11-25 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33725839 | 2008-11-26 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33730204 | 2008-11-27 | RFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33739616 | 2008-12-01 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33742524 | 2008-12-02 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33743404 | 2008-12-03 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33746686 | 2008-12-04 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33754508 | 2008-12-05 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33756183 | 2008-12-08 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33759756 | 2008-12-10 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33764191 | 2008-12-11 | BRFCST\AET1SD DISS OX SUST LOW$ | BRFCST | BRADFIELD ST CLARE STW
33788947 | 2008-12-13 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33803212 | 2008-12-18 | socks on air diffusers need replacing | BRFCST | BRADFIELD ST CLARE STW
33827047 | 2008-12-31 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33837986 | 2009-01-05 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33838466 | 2009-01-05 | Check site for genny Socket | BRFCST | BRADFIELD ST CLARE STW
33847382 | 2009-01-09 | BRFCST\AIR1HP AIR PRESSURE | BRFCST | BRADFIELD ST CLARE STW
33904609 | 2009-01-26 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33904610 | 2009-01-26 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33907164 | 2009-01-28 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33911226 | 2009-01-29 | ATTENDED BRFCST DIS OX SUST LOW - AB15 | BRFCST | BRADFIELD ST CLARE STW
33932677 | 2009-02-01 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33933144 | 2009-02-02 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33935084 | 2009-02-03 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33936997 | 2009-02-04 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33938370 | 2009-02-05 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33942840 | 2009-02-06 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
33951360 | 2009-02-07 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
34105948 | 2009-04-04 | Site Risk Assess & Safety Inspect (1Y) | BRFCST | BRADFIELD ST CLARE STW
34431490 | 2009-08-05 | BRFCST\AIR1HP AIR PRESSURE | BRFCST | BRADFIELD ST CLARE STW
34523505 | 2009-09-11 | BRFCST\AIR1HP AIR PRESSURE | BRFCST | BRADFIELD ST CLARE STW
34967207 | 2010-03-16 | MEET TANKER ON SITE | BRFCST | BRADFIELD ST CLARE STW
35019791 | 2010-04-03 | Site Risk Assess & Safety Inspect (1Y) | BRFCST | BRADFIELD ST CLARE STW
35025352 | 2010-04-07 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
35080336 | 2010-04-29 | 5/5 MEET TANKER | BRFCST | BRADFIELD ST CLARE STW
35091355 | 2010-05-05 | BRFCST\AIR1HP AIR PRESSURE | BRFCST | BRADFIELD ST CLARE STW
35110171 | 2010-05-11 | AMR Project - escort external to replace electic meter with AMR | BRFCST | BRADFIELD ST CLARE STW
35131661 | 2010-05-20 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
35141154 | 2010-05-24 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
35226878 | 2010-06-22 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
35239533 | 2010-06-24 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
35241858 | 2010-06-25 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
35248950 | 2010-06-28 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
35253527 | 2010-06-30 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
35253774 | 2010-06-30 | meet tanker | BRFCST | BRADFIELD ST CLARE STW
35257119 | 2010-07-01 | BRFCST\AIR1HP AIR PRESSURE | BRFCST | BRADFIELD ST CLARE STW
35266038 | 2010-07-05 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
35266323 | 2010-07-05 | BRFCST\AIR1HP AIR PRESSURE + comp 1 fail | BRFCST | BRADFIELD ST CLARE STW
35310771 | 2010-07-20 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
35346819 | 2010-08-02 | meet tanker | BRFCST | BRADFIELD ST CLARE STW
35410608 | 2010-08-20 | replace blower #1 bearing | BRFCST | BRADFIELD ST CLARE STW
35443453 | 2010-09-01 | 2/9 meet tanker on site 10:00 | BRFCST | BRADFIELD ST CLARE STW
35520523 | 2010-09-25 | 26/09 10:00 Meet Tanker | BRFCST | BRADFIELD ST CLARE STW
35520802 | 2010-09-25 | Meet IBS & help install | BRFCST | BRADFIELD ST CLARE STW
35523092 | 2010-09-27 | compliance check | BRFCST | BRADFIELD ST CLARE STW
35558145 | 2010-10-08 | meet tanker on site | BRFCST | BRADFIELD ST CLARE STW
35911623 | 2011-01-31 | t -compliance check | BRFCST | BRADFIELD ST CLARE STW
36006708 | 2011-02-28 | Investigate Treatment Site Information R | BRFCST | BRADFIELD ST CLARE STW
36060023 | 2011-03-14 | (E) 17/3 meet tanker 1st job | BRFCST | BRADFIELD ST CLARE STW
36084931 | 2011-03-19 | (E) Meet and assist tanker - slt | BRFCST | BRADFIELD ST CLARE STW
36090676 | 2011-03-23 | BRFCST\CMP2CN COMPRESSOR 2 | BRFCST | BRADFIELD ST CLARE STW
36160434 | 2011-04-09 | Site Risk Assess & Safety Inspect (1Y) | BRFCST | BRADFIELD ST CLARE STW
36207535 | 2011-04-24 | Install temporary cooling blower | BRFCST | BRADFIELD ST CLARE STW
36411931 | 2011-06-27 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
36421727 | 2011-06-30 | (E) Meet tanker 01/07 7.30am | BRFCST | BRADFIELD ST CLARE STW
36548128 | 2011-08-05 | change over failed aeration blower | BRFCST | BRADFIELD ST CLARE STW
37043869 | 2012-01-04 | Call about site appearance | BRFCST | BRADFIELD ST CLARE STW
37403910 | 2012-04-06 | Site Risk Assess & Safety Inspect (1Y) | BRFCST | BRADFIELD ST CLARE STW
37701447 | 2012-06-27 | BRFCST\AIR1HP AIR PRESSURE | BRFCST | BRADFIELD ST CLARE STW
37701620 | 2012-06-27 | repair pype work on blower. Replaced ABS pipework on blower 1 | BRFCST | BRADFIELD ST CLARE STW
37709821 | 2012-06-28 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
37805635 | 2012-07-25 | BRFCST\OSELEC O/S ELECTRICITY | BRFCST | BRADFIELD ST CLARE STW
38655067 | 2013-04-06 | Site Risk Assess & Safety Inspect (1Y) | BRFCST | BRADFIELD ST CLARE STW
38863867 | 2013-06-07 | *BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
38915162 | 2013-06-23 | 1430 BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
38916752 | 2013-06-24 | *BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
38918965 | 2013-06-25 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
38922144 | 2013-06-26 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
38933269 | 2013-06-29 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
38937541 | 2013-07-02 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
38942945 | 2013-07-04 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
38958849 | 2013-07-08 | *BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
39012303 | 2013-07-26 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
39033635 | 2013-08-02 | BRFCST\AIR1HP AIR PRESSURE | BRFCST | BRADFIELD ST CLARE STW
39085783 | 2013-08-17 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
39086734 | 2013-08-18 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
39087648 | 2013-08-19 | 1400 BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
39089804 | 2013-08-20 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
39106111 | 2013-08-27 | 25672***BRFCST DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
39107960 | 2013-08-27 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
39141740 | 2013-09-05 | 1449BRFCST\AIR1HP AIR PRESSURE | BRFCST | BRADFIELD ST CLARE STW
39244765 | 2013-10-09 | Bureau Veritas assesment survey | BRFCST | BRADFIELD ST CLARE STW
39287241 | 2013-10-21 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
39288710 | 2013-10-21 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
39581630 | 2014-01-24 | BRFCST\AET1SD DISS OX SUST LOW | BRFCST | BRADFIELD ST CLARE STW
50139907 | 2014-04-05 | Site Risk Assess & Safety Inspect (2Y) | BRFCST | BRADFIELD ST CLARE STW
50766180 | 2014-10-21 | BRFCST\AIR1HP AIR PRESSURE | BRFCST | BRADFIELD ST CLARE STW
51351402 | 2015-04-14 | *BRFCST AERATION TANK COMPRESSOR 1 | BRFCST | BRADFIELD ST CLARE STW
52301500 | 2016-02-27 | Site Risk Assessment & Safety Insp (2Y) | BRFCST | BRADFIELD ST CLARE STW
53232371 | 2016-12-16 | FST CLEAN-04/01 | BRFCST | BRADFIELD ST CLARE STW
53373334 | 2017-01-24 | [2DSS] Site Instrument Validation | BRFCST | BRADFIELD ST CLARE STW
53457105 | 2017-02-22 | [4BCO] Replacement of 3x DO Probes | BRFCST | BRADFIELD ST CLARE STW
53572081 | 2017-03-31 | Reseed aeration ditch | BRFCST | BRADFIELD ST CLARE STW
53864957 | 2017-07-07 | Site Risk Assessment & Safety Insp (2Y) | BRFCST | BRADFIELD ST CLARE STW
53920978 | 2017-07-27 | [4BHS] INSTALL FLOOD LIGHT | BRFCST | BRADFIELD ST CLARE STW
53921090 | 2017-07-27 | [2DHS] FE SAMPLE POINT HAND RAILING | BRFCST | BRADFIELD ST CLARE STW
54330498 | 2017-11-29 | FST CLEAN-04/12 | BRFCST | BRADFIELD ST CLARE STW
54578846 | 2018-02-07 | (4W) FST CLEAN 15/2 | BRFCST | BRADFIELD ST CLARE STW
54781704 | 2018-04-02 | FST CLEAN-12/04 | BRFCST | BRADFIELD ST CLARE STW
55386787 | 2018-09-06 | Site tankering-13/09 | BRFCST | BRADFIELD ST CLARE STW
55582103 | 2018-11-08 | FST Empty-14/11 | BRFCST | BRADFIELD ST CLARE STW
56971736 | 2019-12-06 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
57055958 | 2020-01-03 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
57147638 | 2020-01-31 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
57182771 | 2020-02-11 | SITE CHECK 11/02 - gate broken in high winds | BRFCST | BRADFIELD ST CLARE STW
57235809 | 2020-02-28 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
57323774 | 2020-03-27 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
57404391 | 2020-04-24 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
57496960 | 2020-05-22 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
57597758 | 2020-06-20 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
57714857 | 2020-07-18 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
57810221 | 2020-08-15 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
57910468 | 2020-09-12 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
58029632 | 2020-10-10 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
58150519 | 2020-11-07 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
58264908 | 2020-12-05 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
58368425 | 2021-01-02 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
58505377 | 2021-01-30 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
58662054 | 2021-02-27 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
58818174 | 2021-03-27 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
58927916 | 2021-04-24 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
59018973 | 2021-05-19 | Meet Tanker 21/05 0730 | BRFCST | BRADFIELD ST CLARE STW
59020925 | 2021-05-20 | Replace DO CAP | BRFCST | BRADFIELD ST CLARE STW
59028874 | 2021-05-22 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
59151701 | 2021-06-19 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
59280871 | 2021-07-17 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
59385965 | 2021-08-13 | [2ACO]DO probe | BRFCST | BRADFIELD ST CLARE STW
59391686 | 2021-08-14 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
59394871 | 2021-08-16 | [3ASS] BRAMBLES OVERHANGING SLT | BRFCST | BRADFIELD ST CLARE STW
59496534 | 2021-09-12 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
59610582 | 2021-10-09 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
59721637 | 2021-11-06 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
59835007 | 2021-12-04 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
59941169 | 2022-01-01 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
60079662 | 2022-01-29 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
60224970 | 2022-02-26 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
60357341 | 2022-03-26 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
60609060 | 2022-04-23 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
60717227 | 2022-05-21 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
60844539 | 2022-06-18 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
60978207 | 2022-07-16 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
61096577 | 2022-08-13 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
61161475 | 2022-08-26 | [2BCO]compliance check 27.08.2022 | BRFCST | BRADFIELD ST CLARE STW
61266540 | 2022-09-10 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
61382698 | 2022-10-08 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
61511831 | 2022-11-05 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
61623587 | 2022-12-03 | (4W) FST Empty | BRFCST | BRADFIELD ST CLARE STW
61857680 | 2023-01-17 | Book Tanker | BRFCST | BRADFIELD ST CLARE STW
61945019 | 2023-02-06 | Book Tanker | BRFCST | BRADFIELD ST CLARE STW
62037188 | 2023-03-01 | Book Tanker | BRFCST | BRADFIELD ST CLARE STW
62220070 | 2023-04-10 | Book Tanker | BRFCST | BRADFIELD ST CLARE STW
62434144 | 2023-06-02 | SITE TIDY | BRFCST | BRADFIELD ST CLARE STW
62693865 | 2023-07-26 | Site Check 26/7 Found no blowers running reset now okay smell was strong on site on arrival | BRFCST | BRADFIELD ST CLARE STW
62695384 | 2023-07-26 | [1ACO] Compliance check & IA 1st job | BRFCST | BRADFIELD ST CLARE STW
62697138 | 2023-07-27 | BRFCST Logic - reset of dissolved oxygen monitor | BRFCST | BRADFIELD ST CLARE STW
62908585 | 2023-09-13 | Site check 13/09 | BRFCST | BRADFIELD ST CLARE STW
64050661 | 2024-03-27 | Power cut. Check site | BRFCST | BRADFIELD ST CLARE STW
64962869 | 2024-09-25 | FINAL SETTLEMENT SLUDGE BLANKET. $ | BRFCST | BRADFIELD ST CLARE STW
64971070 | 2024-09-26 | SLUDGE BLANKET SUSPENDED SOLIDS MEASURE | BRFCST | BRADFIELD ST CLARE STW
65095556 | 2024-10-20 | Comms lost. Attend site to re-establish | BRFCST | BRADFIELD ST CLARE STW
65223819 | 2024-11-20 | Aeration Ditch Covers | BRFCST | BRADFIELD ST CLARE STW
65469075 | 2025-01-10 | SLUDGE BLANKET SUSPENDED SOLIDS MEASURE - Cleaned sensor as was dirty, suspended solids floating but blanket is ok. Due to wet weather flows and low temps affecting settlement. Sample good | BRFCST | BRADFIELD ST CLARE STW
65475256 | 2025-01-10 | SLUDGE BLANKET SUSPENDED SOLIDS MEASURE - Site still suffering from higher flows, disturbance in the final section causing to come in and out of alarm. Lifted, cleaned and replaced sludge blanket detector. Sample good on site and no blanket loss | BRFCST | BRADFIELD ST CLARE STW