## EDM 2022 EO Ann Ret - AWS
EDM EMERGENCY OVERFLOW REGULATORY ANNUAL RETURN 2022 | [16 empty] | Complete columns R & S when data in column Q is <90.0%
Water Company Name | Site Name (EA Consents Database) | Site Name (WaSC operational) [optional] | EA Permit Reference (EA Consents Database) | WaSC Supplementary Permit Ref. [optional] | Activity Reference on Permit | Storm Discharge Asset Type | Outlet Discharge NGR (EA Consents Database) | WFD Waterbody ID (Cycle 2) (discharge outlet) | WFD Waterbody Catchment Name (Cycle 2) (discharge outlet) | Receiving Water / Environment (common name) (EA Consents Database) | Shellfish Water (only populate for storm overflow with a Shellfish Water EDM requirement) | Bathing Water (only populate for storm overflow with a Bathing Water EDM requirement) | Initial EDM Commission Date | Total Duration (hrs) all spills prior to processing through 12-24h count method | Counted spills using 12-24h count method | EDM Operation - % of reporting period EDM operational | EDM Operation - Reporting % - Primary Reason <90% | EDM Operation - Action taken / planned - Status & timeframe
Anglian Water | BOSTON CHURCH ROAD PS | BOSTON-CHURCH RD SP | AW3NFF988 | AW3NFF988/V001 | A2 | Emergency Overflow | TF3344043530 | GB205030056465 | Maud Foster and Fen Catchwater Drains | MAUD FOSTER DRAIN | West Wash | N/a | Commissioned in 2018 - full year data expected | 0 | 0 | 84.56 | Comms failure / issue | Resolved - Nov
Anglian Water | FENSIDE ROAD PUMPING STATION | BOSTON-FENSIDE ROAD SP | ANNNF13728 | ANNNF4086/13728/V001 | A2 | Emergency Overflow | TF3145044510 | GB205030051515 | Black Sluice IDB draining to the South Forty Foot Drain | NORTH FORTY FOOT DRAIN | West Wash | N/a | Commissioned in 2018 - full year data expected | 0 | 0 | 99.98
Anglian Water | BOSTON LONDON ROAD PUMPING STATION | BOSTON-LONDON RD PS | ANNTS13726 | ANNNTS4084/13726/V001 | A2 | Emergency Overflow | TF3272043340 | GB530503000100 | WITHAM | THE HAVEN (ESTUARY) | West Wash | N/a | Commissioned in 2018 - full year data expected | 0 | 0 | 100
Anglian Water | BOSTON LONDON ROAD PUMPING STATION | BOSTON-LONDON RD SP (SOUTH FORTY FOOT DRAIN) | AW3NFF987 | AW3NF/F987/V001 | A2 | Emergency Overflow | TF3254042920 | GB205030051515 | Black Sluice IDB draining to the South Forty Foot Drain | SOUTH FORTY FOOT DRAIN | West Wash | N/a | Commissioned in 2018 - full year data expected | 0 | 0 | 100
Anglian Water | BOSTON SLEAFORD ROAD PS | BOSTON-SLEAFORD RD SP | ANNNF13727 | ANNNF/4085/13727/V001 | A2 | Emergency Overflow | TF3141043900 | GB205030051515 | Black Sluice IDB draining to the South Forty Foot Drain | NORTH FORTY FOOT DRAIN | West Wash | N/a | Commissioned in 2018 - full year data expected | 0 | 0 | 100
Anglian Water | BRIGHTLINGSEA WEST DYKE TERMINAL PS | BRIGHTLINGSEA-LWR PARK RD TPS | ASENF12161 | ASENF3284/12161/V001 | A2 | Emergency Overflow | TM0812016630 | 46 | N/a | WEST DYKE (TO COLNE ESTUARY) | Colne_E | Colne | Commissioned in 2018 - full year data expected | 0 | 0 | 78.55 | Comms failure / issue | N/A - Ongoing investigation
Anglian Water | COLCHESTER WATER RECYCLING CENTRE | COLCHESTER STW | ASETS1046 | ASETS/10406/V001 | A5 | Emergency Overflow | TM0225023610 | GB520503713800 | COLNE | COLNE ESTUARY | Colne_E | N/a | Commissioned in 2018 - full year data expected | 0 | 0 | 100
Anglian Water | COLCHESTER ROYAL LONDON MIDDLEBOR PS | COLCHESTER-ROYAL LDN MBORO SP | ASENF19245 | ASENF19245/4125/V001 | A1 | Emergency Overflow | TL9929025660 | GB105037041330 | Colne (d/s doe's corner) | The River Colne | Colne_E | N/a | Commissioned in 2018 - full year data expected | 0.17 | 1 | 99.73
Anglian Water | GOLDHANGER FISH STREET TPS | GOLDHANGER-FISH ST TPS | AW2NFE10884 | AW2NF/E108/84/V001 | A1 | Emergency Overflow | TL9040808447 | 47 | N/a | Bounds Farm Ditch | Osea Island (including extension) | N/a | Commissioned in 2018 - full year data expected | 0 | 0 | 99.99
Anglian Water | SEAVIEW ESTATE PS | GT WAKERING-SEAVIEW EST SP | AW2NFE07169 | AW2NF/E07169/V001 | A2 | Emergency Overflow | TQ9550086970 | 120 | N/a | THE RIVER THAMES | Foulness | N/a | Commissioned in 2018 - full year data expected | 0 | 0 | 99.99
Anglian Water | HOLME NEXT THE SEA - BEECH ROAD PS | HOLME - BEECH ROAD PS | AW4NF193X | AW4NF193X/V001 | A1 | Emergency Overflow | TF6989043500 | 299 | N/a | River Hun | North East Wash | N/a | Commissioned in 2018 - full year data expected | 5.5 | 2 | 100
Anglian Water | HUNSTANTON SMUGGLERS LANE PS | HUNSTANTON-SMUGGLERS LANE SP | ASENF12024 | ASENF12024/V001 | A2 | Emergency Overflow | TF6873042740 | 299 | N/a | A TRIBUTARY OF THE RIVER HUN | North East Wash | Hunstanton (Old Hunstanton) | Commissioned in 2018 - full year data expected | 0 | 0 | 95.99
Anglian Water | KING'S LYNN PURFLEET QUAY PS | KINGS LYNN-PURFLEET QUAY SP | AECTS10467 | AECTS677/10467/V002 | A2 | Emergency Overflow | TF6154020030 | GB530503300300 | GREAT OUSE | GREAT OUSE (TIDAL RIVER) | South East Wash | N/a | Commissioned in 2018 - full year data expected | 0 | 0 | 83.98 | Comms failure / issue | N/A - Ongoing investigation
Anglian Water | KIRBY MAIN MALTINGS PUMPING STATION | KIRBY-KIRBY MAIN MALTINGS SP | ASENF12395 | ASENF3692/12395/V001 | A2 | Emergency Overflow | TM2196022340 | 426 | N/a | THE MARSH HOUSE DITCH | Walton Backwaters | N/a | Commissioned in 2018 - full year data expected | 0 | 0 | 99.98
Anglian Water | MARTLESHAM BRIDGE PUMPING STATION | MARTLESHAM M BRIDGE SP | ASENF2160 | ASENF2160/V002 | A2 | Emergency Overflow | TM2530047300 | GB105035040300 | Lark - Fynn (d/s confluence) | THE RIVER FYNN | Deben | N/a | Commissioned in 2018 - full year data expected | 0 | 0 | 100
Anglian Water | PAGLESHAM EAST | PAGLESHAM EAST TPS | ASENF2520 | ASENF2520A | A2 | Emergency Overflow | TQ9490092400 | GB520503704100 | CROUCH | Trib River Roach | N/a | N/a | Commissioned in 2018 - full year data expected | 0 | 0 | 100
Anglian Water | PELDON MERSEA ROAD PS | PELDON-ROSE COTTAGE SP | AW2NFE05472 | AW2NFE05472/V001 | A1 | Emergency Overflow | TL9948116350 | 47 | N/a | A tributary of Sampsons Creek | Strood Channel | N/a | Commissioned in 2018 - full year data expected | 5.1 | 11 | 96.07
Anglian Water | ROCHFORD DEPOT PUMPING STATION | ROCHFORD-ROCHFORD DEPOT SP | AW2NFE15272 | AW2NFE15272/V002 | A2 | Emergency Overflow | TQ8773090230 | GB105037028743 | Noblesgreen Ditch | THE RIVER ROACH | Upper Roach | n/a | Commissioned in 2018 - full year data expected | 6.23 | 3 | 100
Anglian Water | ROWHEDGE - HIGH STREET PUMPING ST. | ROWHEDGE-HIGH STREET SP | AW2NFE06884 | AW2NFE06884/V001 | A2 | Emergency Overflow | TM0296021910 | 46 | N/a | Birch Brook | Colne_E | N/a | Commissioned in 2018 - full year data expected | 0 | 0 | 99.99
Anglian Water | SOUTHEND TOWERFIELD PS | SOUTHEND-TOWERFIELD INT SP | AW2NFE12684 | AW2NFE12684/V001 | A1 | Emergency Overflow | TQ9320785059 | 120 | N/a | A tributary of River Thames | Foulness | N/a | Commissioned in 2018 - full year data expected | 4.13 | 4 | 100
Anglian Water | SOUTHWOLD WRC | SOUTHWOLD-COMMON THE STW | ASETS10380 | ASETS/10380/V002/1 | A3 | Emergency Overflow | TM4949075740 | GB510503503700 | BLYTH (S) | THE TIDAL RIVER BLYTH | N/a | N/a | Commissioned in 2018 - full year data expected | 0 | 0 | 100
Anglian Water | ST OSYTH MILL DAM | ST OSYTH-MILL DAM SP | AW2TSE06363 | AW2TSE06363/V001 | A1 | Emergency Overflow | TM1154015410 | GB520503713800 | COLNE | St Osyth Creek | Colne_E | N/a | Commissioned in 2018 - full year data expected | 0.1 | 1 | 100
Anglian Water | RAMSEY ISLAND ST LAWRENCE DRIVE PS | STONE S LAWRENCE-S LWRNC DR SP | ASENF16188 | ASENF/3982/16188/V001 | A2 | Emergency Overflow | TL9499006030 | 47 | N/a | MOTTS FARM DRAIN | Osea Island (including extension); Blackwater | N/a | Commissioned in 2018 - full year data expected | 0 | 0 | 37.26 | Comms failure / issue | N/A - Ongoing investigation
Anglian Water | WEST MERSEA WHITTAKER WAY PS | W MERSEA-WHITTAKER WAY SP | AW2NFE08984 | AW/2/NF/E089/84/V001 | A1 | Emergency Overflow | TM0082813265 | 47 | N/a | A tributary of the Strood Channel | Strood Channel; Blackwater | N/a | Commissioned in 2018 - full year data expected | 0 | 0 | 100