## Cover
IN 22/05 Further guidance on price control deliverables for PR24 - Appendix 3
Introduction
This appendix sets out the enhancement line groupings to which the materiality threshold for price control deliverables should be applied. It also sets out the additional data request on storm overflow expenditure feeding into enhancement line grouping PCDWW5.
Description of tables
1. Enhancement line groupings for materiality test The annex sets out the enhancement line groupings for water and wastewater separately. Each table maps the price control deliverable groupings to each enhancement line in business plan tables CW3 and CWW3. PCD groupings are set out in column D. Business plan line references are set out in column C. 2. Additional data request for enhancement line grouping PCDWW5 (storm overflows) Please provide the information requested in the 'Spill reduction - Network' and 'Spill reduction - STW' worksheets for each scheme captured in the enhancement line grouping PCDWW5. For the purposes of the data requested in the 'Spill reduction - Network' worksheet, the following terms should be understood as follows: Current spills (annual spills - EDM base year) - This is the actual number of spills recorded via EDM for 2023 Target spills (annual spills) - The target annual number of spills (e.g. 10 for most assets) Total Equivalent Storage (m3) - This is the spill volume of the nth +1 spill, when n = the target spill frequency and model predicted annual spills are ranked by volume. Equivalent Storage delivered through Grey solutions (CWW20.36 / 7E.13) (m3) - This is the proportion of the equivalent storage delivered through grey solutions. (cost lines CWW3.22-CWW3.24) Equivalent Storage delivered through green solutions (CWW20.37 / 7E.14) (m3) - This is the proportion of the equivalent storage delivered through green solutions. (cost lines CWW3.25-CWW3.27) Equivalent Storage delivered through other solutions (m3) - This is the proportion of the equivalent storage delivered through other solutions. (cost lines CWW3.25-CWW3.27) BP Spill reduction (annual spills) - This is the number of spills reduced e.g. the current annual spill number minus the target spill number. (CWW3.28 to CWW3.45) Company specific - this column can be used to add any additional company specific measures. These terms have the same meaning in the data requested in the 'Spill reduction - STW' worksheet except for the following: Equivalent Storage delivered through Grey infrastructure (CWW20.14) (m3) - This is the proportion of the equivalent storage delivered through grey solutions. (cost lines CWW3.16-CWW3.18) Equivalent Storage delivered through green solutions (CWW20.15) (m3) - This is the proportion of the equivalent storage delivered through green solutions. (cost lines CWW3.19-CWW3.21)

## Commentary
Commentary
We have completed the table as requested using the guidance provided in Information Notice IN23/05 ‘Further guidance on price control deliverables for PR24’. However, to ensure alignment between the economic regulatory framework and the environmental framework, we have proposed a PCD within our business plan submission [see ANH37] to provide customer protection for this programme of works based only on the number of obligations delivered within WINEP. We therefore do not believe that the data provided within this data request should be used to set PCDs. We set out more detail about why we believe that PCDs based on obligations are appropriate in chapter [8 Our Commitment to Customers] of our business plan main narrative. Please note that in order to populate the data request, only schemes with specified spill reductions have been included. For example, this means that we have not included WINEP schemes for drivers such as storm tank, FFT, or bathing water schemes which did not have specific spill targets associated with them but will deliver storm spill reduction benefit by the nature of the investment. We have also not included investment for EnvAct IMP2 (no adverse environmental impact) because until investigations are completed (by 2027) we do not know which sites will require further spill reduction schemes.

## Water
PCD groupings for water enhancement expenditure
Enhancement expenditure - water resources and water network+
Line description | PR24 BP reference
PCD group
EA/NRW environmental programme (WINEP/NEP)
Biodiversity and conservation; (WINEP/NEP) water capex | CW3.1 | PCDW1
Biodiversity and conservation; (WINEP/NEP) water opex | CW3.2 | PCDW1
Biodiversity and conservation; (WINEP/NEP) water totex | CW3.3 | PCDW1
Wetland creation; (WINEP/NEP) water capex | CW3.19 | PCDW1
Wetland creation; (WINEP/NEP) water opex | CW3.20 | PCDW1
Wetland creation; (WINEP/NEP) water totex | CW3.21 | PCDW1
Eels/fish entrainment screens; (WINEP/NEP) water capex | CW3.4 | PCDW2
Eels/fish entrainment screens; (WINEP/NEP) water opex | CW3.5 | PCDW2
Eels/fish entrainment screens; (WINEP/NEP) water totex | CW3.6 | PCDW2
Eels/fish passes; (WINEP/NEP) water capex | CW3.7 | PCDW2
Eels/fish passes; (WINEP/NEP) water opex | CW3.8 | PCDW2
Eels/fish passes; (WINEP/NEP) water totex | CW3.9 | PCDW2
Invasive Non Native Species; (WINEP/NEP) water capex | CW3.10 | PCDW3
Invasive Non Native Species; (WINEP/NEP) water opex | CW3.11 | PCDW3
Invasive Non Native Species; (WINEP/NEP) water totex | CW3.12 | PCDW3
Drinking Water Protected Areas; (WINEP/NEP) water capex | CW3.13 | PCDW4
Drinking Water Protected Areas; (WINEP/NEP) water opex | CW3.14 | PCDW4
Drinking Water Protected Areas; (WINEP/NEP) water totex | CW3.15 | PCDW4
Water Framework Directive; (WINEP/NEP) water capex | CW3.16 | PCDW5
Water Framework Directive; (WINEP/NEP) water opex | CW3.17 | PCDW5
Water Framework Directive; (WINEP/NEP) water totex | CW3.18 | PCDW5
Trade effluent discharge flow monitoring; (WINEP/NEP) water capex | CW3.22 | PCDW6
Trade effluent discharge flow monitoring; (WINEP/NEP) water opex | CW3.23 | PCDW6
Trade effluent discharge flow monitoring; (WINEP/NEP) water totex | CW3.24 | PCDW6
25 year environment plan; (WINEP/NEP) water capex | CW3.25 | PCDW7
25 year environment plan; (WINEP/NEP) water opex | CW3.26 | PCDW7
25 year environment plan; (WINEP/NEP) water totex | CW3.27 | PCDW7
Investigations; (WINEP/NEP) - desk based study only water capex | CW3.28 | PCDW8
Investigations; (WINEP/NEP) - desk based study only water opex | CW3.29 | PCDW8
Investigations; (WINEP/NEP) - desk based study only water totex | CW3.30 | PCDW8
Investigations; (WINEP/NEP) - survey, monitoring or simple modelling water capex | CW3.31 | PCDW8
Investigations; (WINEP/NEP) - survey, monitoring or simple modelling water opex | CW3.32 | PCDW8
Investigations; (WINEP/NEP) - survey, monitoring or simple modelling water totex | CW3.33 | PCDW8
Investigations; (WINEP/NEP) - multiple surveys, and/or monitoring locations, and/or complex modelling water capex | CW3.34 | PCDW8
Investigations; (WINEP/NEP) - multiple surveys, and/or monitoring locations, and/or complex modelling water opex | CW3.35 | PCDW8
Investigations; (WINEP/NEP) - multiple surveys, and/or monitoring locations, and/or complex modelling water totex | CW3.36 | PCDW8
Investigations total; (WINEP/NEP) water capex | CW3.37 | PCDW8
Investigations total; (WINEP/NEP) water opex | CW3.38 | PCDW8
Investigations total; (WINEP/NEP) water totex | CW3.39 | PCDW8
Total environmental programme expenditure; (WINEP/NEP) water totex | CW3.40
Supply-demand balance
Demand-side improvements delivering benefits in 2025-2030 (excl leakage and metering); SDB capex | CW3.44 | PCDW9
Demand-side improvements delivering benefits in 2025-2030 (excl leakage and metering); SDB opex | CW3.45 | PCDW9
Demand-side improvements delivering benefits in 2025-2030 (excl leakage and metering); SDB totex | CW3.46 | PCDW9
Leakage improvements delivering benefits in 2025-2030; SDB capex | CW3.47 | PCDW10
Leakage improvements delivering benefits in 2025-2030; SDB opex | CW3.48 | PCDW10
Leakage improvements delivering benefits in 2025-2030; SDB totex | CW3.49 | PCDW10
Supply-side improvements delivering benefits in 2025-2030; SDB capex | CW3.41 | PCDW11
Supply-side improvements delivering benefits in 2025-2030; SDB opex | CW3.42 | PCDW11
Supply-side improvements delivering benefits in 2025-2030; SDB totex | CW3.43 | PCDW11
Interconnectors delivering benefits in 2025-2030; SDB capex | CW3.50 | PCDW11
Interconnectors delivering benefits in 2025-2030; SDB opex | CW3.51 | PCDW11
Interconnectors delivering benefits in 2025-2030; SDB totex | CW3.52 | PCDW11
Supply demand balance improvements delivering benefits starting from 2031; SDB capex | CW3.53 | PCDW11
Supply demand balance improvements delivering benefits starting from 2031; SDB opex | CW3.54 | PCDW11
Supply demand balance improvements delivering benefits starting from 2031; SDB totex | CW3.55 | PCDW11
Strategic regional resource solutions; SDB capex | CW3.56 | PCDW11
Strategic regional resource solutions; SDB opex | CW3.57 | PCDW11
Strategic regional resource solutions; SDB totex | CW3.58 | PCDW11
Total supply demand expenditure; SDB totex | CW3.59
Metering
New meters requested by existing customers (optants); metering capex | CW3.60 | PCDW12
New meters requested by existing customers (optants); metering opex | CW3.61 | PCDW12
New meters requested by existing customers (optants); metering totex | CW3.62 | PCDW12
New meters introduced by companies for existing customers; metering capex | CW3.63 | PCDW12
New meters introduced by companies for existing customers; metering opex | CW3.64 | PCDW12
New meters introduced by companies for existing customers; metering totex | CW3.65 | PCDW12
New meters for existing customers - business; metering capex | CW3.66 | PCDW12
New meters for existing customers - business; metering opex | CW3.67 | PCDW12
New meters for existing customers - business; metering totex | CW3.68 | PCDW12
Replacement of existing basic meters with AMR meters for residential customers; metering capex | CW3.69 | PCDW12
Replacement of existing basic meters with AMR meters for residential customers; metering opex | CW3.70 | PCDW12
Replacement of existing basic meters with AMR meters for residential customers; metering totex | CW3.71 | PCDW12
Replacement of existing basic meters with AMI meters for residential customers; metering capex | CW3.72 | PCDW12
Replacement of existing basic meters with AMI meters for residential customers; metering opex | CW3.73 | PCDW12
Replacement of existing basic meters with AMI meters for residential customers; metering totex | CW3.74 | PCDW12
Replacement of existing AMR meters with AMI meters for residential customers; metering capex | CW3.75 | PCDW12
Replacement of existing AMR meters with AMI meters for residential customers; metering opex | CW3.76 | PCDW12
Replacement of existing AMR meters with AMI meters for residential customers; metering totex | CW3.77 | PCDW12
Replacement of existing basic meters with AMR meters for business customers; metering capex | CW3.78 | PCDW12
Replacement of existing basic meters with AMR meters for business customers; metering opex | CW3.79 | PCDW12
Replacement of existing basic meters with AMR meters for business customers; metering totex | CW3.80 | PCDW12
Replacement of existing basic meters with AMI meters for business customers; metering capex | CW3.81 | PCDW12
Replacement of existing basic meters with AMI meters for business customers; metering opex | CW3.82 | PCDW12
Replacement of existing basic meters with AMI meters for business customers; metering totex | CW3.83 | PCDW12
Replacement of existing AMR meters with AMI meters for business customers; metering capex | CW3.84 | PCDW12
Replacement of existing AMR meters with AMI meters for business customers; metering opex | CW3.85 | PCDW12
Replacement of existing AMR meters with AMI meters for business customers; metering totex | CW3.86 | PCDW12
Smart meter infrastructure; metering capex | CW3.87 | PCDW12
Smart meter infrastructure; metering opex | CW3.88 | PCDW12
Smart meter infrastructure; metering totex | CW3.89 | PCDW12
Total metering expenditure; metering totex | CW3.90
Water quality improvements
Improvements to taste, odour and colour (grey solutions); enhancement capex | CW3.91 | PCDW13
Improvements to taste, odour and colour (grey solutions); enhancement opex | CW3.92 | PCDW13
Improvements to taste, odour and colour (grey solutions); enhancement totex | CW3.93 | PCDW13
Improvements to taste, odour and colour (green solutions); enhancement capex | CW3.94 | PCDW13
Improvements to taste, odour and colour (green solutions); enhancement opex | CW3.95 | PCDW13
Improvements to taste, odour and colour (green solutions); enhancement totex | CW3.96 | PCDW13
Addressing raw water quality deterioration (grey solutions); enhancement capex | CW3.97 | PCDW14
Addressing raw water quality deterioration (grey solutions); enhancement opex | CW3.98 | PCDW14
Addressing raw water quality deterioration (grey solutions); ; enhancement totex | CW3.99 | PCDW14
Addressing raw water quality deterioration (green solutions); enhancement capex | CW3.100 | PCDW14
Addressing raw water quality deterioration (green solutions); enhancement opex | CW3.101 | PCDW14
Addressing raw water quality deterioration (green solutions); enhancement totex | CW3.102 | PCDW14
Conditioning water to reduce plumbosolvency for water quality; enhancement capex | CW3.103 | PCDW15
Conditioning water to reduce plumbosolvency for water quality; enhancement opex | CW3.104 | PCDW15
Conditioning water to reduce plumbosolvency for water quality; enhancement totex | CW3.105 | PCDW15
Lead communication pipes replaced or relined; enhancement capex | CW3.106 | PCDW15
Lead communication pipes replaced or relined; enhancement opex | CW3.107 | PCDW15
Lead communication pipes replaced or relined; enhancement totex | CW3.108 | PCDW15
External lead supply pipes replaced or relined; enhancement capex | CW3.109 | PCDW15
External lead supply pipes replaced or relined; enhancement opex | CW3.110 | PCDW15
External lead supply pipes replaced or relined; enhancement totex | CW3.111 | PCDW15
Internal lead supply pipes replaced or relined; enhancement capex | CW3.112 | PCDW15
Internal lead supply pipes replaced or relined; enhancement opex | CW3.113 | PCDW15
Internal lead supply pipes replaced or relined; enhancement totex | CW3.114 | PCDW15
Other lead reduction related activity; enhancement capex | CW3.115 | PCDW15
Other lead reduction related activity; enhancement opex | CW3.116 | PCDW15
Other lead reduction related activity; enhancement totex | CW3.117 | PCDW15
Water resilience and security
Resilience; enhancement water capex | CW3.118 | PCDW16
Resilience; enhancement water opex | CW3.119 | PCDW16
Resilience; enhancement water totex | CW3.120 | PCDW16
Security - SEMD; enhancement water capex | CW3.121 | PCDW17
Security - SEMD; enhancement water opex | CW3.122 | PCDW17
Security - SEMD; enhancement water totex | CW3.123 | PCDW17
Security - Cyber; enhancement water capex | CW3.124 | PCDW17
Security - Cyber; enhancement water opex | CW3.125 | PCDW17
Security - Cyber; enhancement water totex | CW3.126 | PCDW17
Net zero
Greenhouse gas reduction (net zero); enhancement water capex | CW3.127 | PCDW18
Greenhouse gas reduction (net zero); enhancement water opex | CW3.128 | PCDW18
Greenhouse gas reduction (net zero); enhancement water totex | CW3.129 | PCDW18
Other enhancement (Freeform lines - by exception)
Additional line 1; enhancement water capex | CW3.130 | PCDW19
Additional line 1; enhancement water opex | CW3.131 | PCDW19
Additional line 2; enhancement water capex | CW3.132 | PCDW20
Additional line 2; enhancement water opex | CW3.133 | PCDW20
Additional line 3; enhancement water capex | CW3.134 | PCDW21
Additional line 3; enhancement water opex | CW3.135 | PCDW21
Additional line 4; enhancement water capex | CW3.136 | PCDW22
Additional line 4; enhancement water opex | CW3.137 | PCDW22
Additional line 5; enhancement water capex | CW3.138 | PCDW23
Additional line 5; enhancement water opex | CW3.139 | PCDW23
Total other enhancement water expenditure | CW3.140
Total enhancement
Total enhancement expenditure; water capex | CW3.141
Total enhancement expenditure; water opex | CW3.142
Total enhancement expenditure; water totex | CW3.143

## Wastewater
PCD groupings for wastewater enhancement expenditure
Enhancement expenditure - wastewater network+ and bioresources
Line description | PR24 BP reference | PCD group
EA/NRW environmental programme wastewater (WINEP/NEP)
Event duration monitoring at intermittent discharges (WINEP/NEP) wastewater capex | CWW3.1 | PCDWW1
Event duration monitoring at intermittent discharges (WINEP/NEP) wastewater opex | CWW3.2 | PCDWW1
Event duration monitoring at intermittent discharges (WINEP/NEP) wastewater totex | CWW3.3 | PCDWW1
Flow monitoring at sewage treatment works; (WINEP/NEP) wastewater capex | CWW3.4 | PCDWW2
Flow monitoring at sewage treatment works; (WINEP/NEP) wastewater opex | CWW3.5 | PCDWW2
Flow monitoring at sewage treatment works; (WINEP/NEP) wastewater totex | CWW3.6 | PCDWW2
Continuous river water quality monitoring (WINEP/NEP) wastewater capex | CWW3.7 | PCDWW2
Continuous river water quality monitoring (WINEP/NEP) wastewater opex | CWW3.8 | PCDWW2
Continuous river water quality monitoring (WINEP/NEP) wastewater totex | CWW3.9 | PCDWW2
MCERTs monitoring at emergency sewage pumping station overflows (WINEP/NEP) wastewater capex | CWW3.10 | PCDWW3
MCERTs monitoring at emergency sewage pumping station overflows (WINEP/NEP) wastewater opex | CWW3.11 | PCDWW3
MCERTs monitoring at emergency sewage pumping station overflows (WINEP/NEP) wastewater totex | CWW3.12 | PCDWW3
Increase flow to full treatment; (WINEP/NEP) wastewater capex | CWW3.13 | PCDWW4
Increase flow to full treatment; (WINEP/NEP) wastewater opex | CWW3.14 | PCDWW4
Increase flow to full treatment; (WINEP/NEP) wastewater totex | CWW3.15 | PCDWW4
Increase storm tank capacity at STWs - grey solution; (WINEP/NEP) wastewater capex | CWW3.16 | PCDWW5
Increase storm tank capacity at STWs - grey solution; (WINEP/NEP) wastewater opex | CWW3.17 | PCDWW5
Increase storm tank capacity at STWs - grey solution; (WINEP/NEP) wastewater totex | CWW3.18 | PCDWW5
Increase storm system attenuation / treatment on a STW - green solution; (WINEP/NEP) wastewater capex | CWW3.19 | PCDWW5
Increase storm system attenuation / treatment on a STW - green solution; (WINEP/NEP) wastewater opex | CWW3.20 | PCDWW5
Increase storm system attenuation / treatment on a STW - green solution; (WINEP/NEP) wastewater totex | CWW3.21 | PCDWW5
Storage schemes to reduce spill frequency at CSOs etc - grey solution; (WINEP/NEP) wastewater capex | CWW3.22 | PCDWW5
Storage schemes to reduce spill frequency at CSOs etc - grey solution; (WINEP/NEP) wastewater opex | CWW3.23 | PCDWW5
Storage schemes to reduce spill frequency at CSOs etc - grey solution; (WINEP/NEP) wastewater totex | CWW3.24 | PCDWW5
Storage to reduce spill frequency at CSOs etc - green solution; (WINEP/NEP) wastewater capex | CWW3.25 | PCDWW5
Storage to reduce spill frequency at CSOs etc - green solution; (WINEP/NEP) wastewater opex | CWW3.26 | PCDWW5
Storage to reduce spill frequency at CSOs etc - green solution; (WINEP/NEP) wastewater totex | CWW3.27 | PCDWW5
Storm overflow - discharge relocation (WINEP/NEP) wastewater capex | CWW3.28 | PCDWW5
Storm overflow - discharge relocation (WINEP/NEP) wastewater opex | CWW3.29 | PCDWW5
Storm overflow - discharge relocation (WINEP/NEP) wastewater totex | CWW3.30 | PCDWW5
Storm overflow - increase in combined sewer / trunk sewer capacity; (WINEP/NEP) wastewater capex | CWW3.31 | PCDWW5
Storm overflow - increase in combined sewer / trunk sewer capacity; (WINEP/NEP) wastewater opex | CWW3.32 | PCDWW5
Storm overflow - increase in combined sewer / trunk sewer capacity; (WINEP/NEP) wastewater totex | CWW3.33 | PCDWW5
Storm overflow - sustainable drainage / attenuation in the network; (WINEP/NEP) wastewater capex | CWW3.34 | PCDWW5
Storm overflow - sustainable drainage / attenuation in the network; (WINEP/NEP) wastewater opex | CWW3.35 | PCDWW5
Storm overflow - sustainable drainage / attenuation in the network; (WINEP/NEP) wastewater totex | CWW3.36 | PCDWW5
Storm overflow - source surface water separation; (WINEP/NEP) wastewater capex | CWW3.37 | PCDWW5
Storm overflow - source surface water separation; (WINEP/NEP) wastewater opex | CWW3.38 | PCDWW5
Storm overflow - source surface water separation; (WINEP/NEP) wastewater totex | CWW3.39 | PCDWW5
Storm overflow - infiltration management: wastewater capex | CWW3.40 | PCDWW5
Storm overflow - infiltration management: wastewater opex | CWW3.41 | PCDWW5
Storm overflow - infiltration management: wastewater totex | CWW3.42 | PCDWW5
Storm overflow - sewer flow management and control; (WINEP/NEP) wastewater capex | CWW3.43 | PCDWW5
Storm overflow - sewer flow management and control; (WINEP/NEP) wastewater opex | CWW3.44 | PCDWW5
Storm overflow - sewer flow management and control; (WINEP/NEP) wastewater totex | CWW3.45 | PCDWW5
Storm overflow - new / upgraded screens (WINEP/NEP) wastewater capex | CWW3.46 | PCDWW6
Storm overflow - new / upgraded screens (WINEP/NEP) wastewater opex | CWW3.47 | PCDWW6
Storm overflow - new / upgraded screens (WINEP/NEP) wastewater totex | CWW3.48 | PCDWW6
Treatment for chemical removal (WINEP/NEP) wastewater capex | CWW3.49 | PCDWW7
Treatment for chemical removal (WINEP/NEP) wastewater opex | CWW3.50 | PCDWW7
Treatment for chemical removal (WINEP/NEP) wastewater totex | CWW3.51 | PCDWW7
Chemicals and emerging contaminants monitoring, investigations, options appraisals; (WINEP/NEP) wastewater capex | CWW3.52 | PCDWW8
Chemicals and emerging contaminants monitoring, investigations, options appraisals; (WINEP/NEP) wastewater opex | CWW3.53 | PCDWW8
Chemicals and emerging contaminants monitoring, investigations, options appraisals; (WINEP/NEP) wastewater totex | CWW3.54 | PCDWW8
Treatment for total nitrogen removal (chemical) (WINEP/NEP) wastewater capex | CWW3.55 | PCDWW9
Treatment for total nitrogen removal (chemical) (WINEP/NEP) wastewater opex | CWW3.56 | PCDWW9
Treatment for total nitrogen removal (chemical) (WINEP/NEP) wastewater totex | CWW3.57 | PCDWW9
Treatment for total nitrogen removal (biological) (WINEP/NEP) wastewater capex | CWW3.58 | PCDWW9
Treatment for total nitrogen removal (biological) (WINEP/NEP) wastewater opex | CWW3.59 | PCDWW9
Treatment for total nitrogen removal (biological) (WINEP/NEP) wastewater totex | CWW3.60 | PCDWW9
Nitrogen technically achievable limit monitoring, investigation or options appraisal; (WINEP/NEP) wastewater capex | CWW3.61 | PCDWW8
Nitrogen technically achievable limit monitoring, investigation or options appraisal; (WINEP/NEP) wastewater opex | CWW3.62 | PCDWW8
Nitrogen technically achievable limit monitoring, investigation or options appraisal; (WINEP/NEP) wastewater totex | CWW3.63 | PCDWW8
Treatment for phosphorus removal (chemical) (WINEP/NEP) wastewater capex | CWW3.64 | PCDWW10
Treatment for phosphorus removal (chemical) (WINEP/NEP) wastewater opex | CWW3.65 | PCDWW10
Treatment for phosphorus removal (chemical) (WINEP/NEP) wastewater totex | CWW3.66 | PCDWW10
Treatment for phosphorus removal (biological) (WINEP/NEP) wastewater capex | CWW3.67 | PCDWW10
Treatment for phosphorus removal (biological) (WINEP/NEP) wastewater opex | CWW3.68 | PCDWW10
Treatment for phosphorus removal (biological) (WINEP/NEP) wastewater totex | CWW3.69 | PCDWW10
Treatment for nutrients (N or P) and / or sanitary determinands, nature based solution (WINEP/NEP) wastewater capex | CWW3.70 | PCDWW11
Treatment for nutrients (N or P) and / or sanitary determinands, nature based solution (WINEP/NEP) wastewater opex | CWW3.71 | PCDWW11
Treatment for nutrients (N or P) and / or sanitary determinands, nature based solution (WINEP/NEP) wastewater totex | CWW3.72 | PCDWW11
Treatment for tightening of sanitary parameters (WINEP/NEP) wastewater capex | CWW3.73 | PCDWW12
Treatment for tightening of sanitary parameters (WINEP/NEP) wastewater opex | CWW3.74 | PCDWW12
Treatment for tightening of sanitary parameters (WINEP/NEP) wastewater totex | CWW3.75 | PCDWW12
Catchment management - chemicals source control; (WINEP/NEP) wastewater capex | CWW3.76 | PCDWW13
Catchment management - chemicals source control; (WINEP/NEP) wastewater opex | CWW3.77 | PCDWW13
Catchment management - chemicals source control; (WINEP/NEP) wastewater totex | CWW3.78 | PCDWW13
Catchment management - nutrient balancing; (WINEP/NEP) wastewater capex | CWW3.79 | PCDWW13
Catchment management - nutrient balancing; (WINEP/NEP) wastewater opex | CWW3.80 | PCDWW13
Catchment management - nutrient balancing; (WINEP/NEP) wastewater totex | CWW3.81 | PCDWW13
Catchment management - catchment permitting; (WINEP/NEP) wastewater capex | CWW3.82 | PCDWW13
Catchment management - catchment permitting; (WINEP/NEP) wastewater opex | CWW3.83 | PCDWW13
Catchment management - catchment permitting; (WINEP/NEP) wastewater totex | CWW3.84 | PCDWW13
Catchment management - habitat restoration; (WINEP/NEP) wastewater capex | CWW3.85 | PCDWW13
Catchment management - habitat restoration; (WINEP/NEP) wastewater opex | CWW3.86 | PCDWW13
Catchment management - habitat restoration; (WINEP/NEP) wastewater totex | CWW3.87 | PCDWW13
Microbiological treatment - bathing waters, coastal and inland (WINEP/NEP) wastewater capex | CWW3.88 | PCDWW14
Microbiological treatment - bathing waters, coastal and inland (WINEP/NEP) wastewater opex | CWW3.89 | PCDWW14
Microbiological treatment - bathing waters, coastal and inland (WINEP/NEP) wastewater totex | CWW3.90 | PCDWW14
Septic tank replacements - treatment solution; (WINEP/NEP) wastewater capex | CWW3.91 | PCDWW15
Septic tank replacements - treatment solution; (WINEP/NEP) wastewater opex | CWW3.92 | PCDWW15
Septic tank replacements - treatment solution; (WINEP/NEP) wastewater totex | CWW3.93 | PCDWW15
Septic tank replacements - flow diversion; (WINEP/NEP) wastewater capex | CWW3.94 | PCDWW15
Septic tank replacements - flow diversion; (WINEP/NEP) wastewater opex | CWW3.95 | PCDWW15
Septic tank replacements - flow diversion; (WINEP/NEP) wastewater totex | CWW3.96 | PCDWW15
Fish outfall screens; (WINEP/NEP) wastewater capex | CWW3.97 | PCDWW16
Fish outfall screens; (WINEP/NEP) wastewater opex | CWW3.98 | PCDWW16
Fish outfall screens; (WINEP/NEP) wastewater totex | CWW3.99 | PCDWW16
25 year environment plan; (WINEP/NEP) wastewater capex | CWW3.100 | PCDWW17
25 year environment plan; (WINEP/NEP) wastewater opex | CWW3.101 | PCDWW17
25 year environment plan; (WINEP/NEP) wastewater totex | CWW3.102 | PCDWW17
Investigations, other (WINEP/NEP) - desk-based studies only wastewater capex | CWW3.103 | PCDWW18
Investigations, other (WINEP/NEP) - desk-based studies only wastewater opex | CWW3.104 | PCDWW18
Investigations, other (WINEP/NEP) - desk-based studies only wastewater totex | CWW3.105 | PCDWW18
Investigations, other (WINEP/NEP) - survey, monitoring or simple modelling wastewater capex | CWW3.106 | PCDWW18
Investigations, other (WINEP/NEP) - survey, monitoring or simple modelling wastewater opex | CWW3.107 | PCDWW18
Investigations, other (WINEP/NEP) - survey, monitoring or simple modelling wastewater totex | CWW3.108 | PCDWW18
Investigations, other (WINEP/NEP) - multiple surveys, and/or monitoring locations, and/or complex modelling wastewater capex | CWW3.109 | PCDWW18
Investigations, other (WINEP/NEP) - multiple surveys, and/or monitoring locations, and/or complex modelling wastewater opex | CWW3.110 | PCDWW18
Investigations, other (WINEP/NEP) - multiple surveys, and/or monitoring locations, and/or complex modelling wastewater totex | CWW3.111 | PCDWW18
Investigations, total; (WINEP/NEP) wastewater capex | CWW3.112 | PCDWW18
Investigations, total; (WINEP/NEP) wastewater opex | CWW3.113 | PCDWW18
Investigations, total; (WINEP/NEP) wastewater totex | CWW3.114 | PCDWW18
Contribution to third party schemes under WINEP/NEP only (not covered elsewhere) wastewater capex | CWW3.115 | PCDWW19
Contribution to third party schemes under WINEP/NEP only (not covered elsewhere) wastewater opex | CWW3.116 | PCDWW19
Contribution to third party schemes under WINEP/NEP only (not covered elsewhere) wastewater totex | CWW3.117 | PCDWW19
River connectivity (e.g. for fish passage); (WINEP/NEP) wastewater capex | CWW3.118 | PCDWW20
River connectivity (e.g. for fish passage); (WINEP/NEP) wastewater opex | CWW3.119 | PCDWW20
River connectivity (e.g. for fish passage); (WINEP/NEP) wastewater totex | CWW3.120 | PCDWW20
Restoration management (marine conservation zones etc) (WINEP/NEP) wastewater capex | CWW3.121 | PCDWW21
Restoration management (marine conservation zones etc) (WINEP/NEP) wastewater opex | CWW3.122 | PCDWW21
Restoration management (marine conservation zones etc) (WINEP/NEP) wastewater totex | CWW3.123 | PCDWW21
Access and amenity for WINEP/NEP only (not covered elsewhere) wastewater capex | CWW3.124 | PCDWW22
Access and amenity for WINEP/NEP only (not covered elsewhere) wastewater opex | CWW3.125 | PCDWW22
Access and amenity for WINEP/NEP only (not covered elsewhere) wastewater totex | CWW3.126 | PCDWW22
Advanced WINEP (not covered elsewhere) wastewater capex | CWW3.127 | PCDWW23
Advanced WINEP (not covered elsewhere) wastewater opex | CWW3.128 | PCDWW23
Advanced WINEP (not covered elsewhere) wastewater totex | CWW3.129 | PCDWW23
Total environmental programme expenditure; (WINEP/NEP) wastewater totex | CWW3.130
EA/NRW environmental programme bioresources (WINEP/NEP)
Sludge storage -Tanks (pre-thickening, pre-dewatering or untreated) (WINEP/NEP) capex | CWW3.131 | PCDWW24
Sludge storage -Tanks (pre-thickening, pre-dewatering or untreated); (WINEP/NEP) opex | CWW3.132 | PCDWW24
Sludge storage -Tanks (pre-thickening, pre-dewatering or untreated); (WINEP/NEP) totex | CWW3.133 | PCDWW24
Sludge storage -Tanks (thickened/dewatered or treated); (WINEP/NEP) capex | CWW3.134 | PCDWW24
Sludge storage - Tanks (thickened/dewatered or treated); (WINEP/NEP) opex | CWW3.135 | PCDWW24
Sludge storage - Tanks (thickened/dewatered or treated); (WINEP/NEP) totex | CWW3.136 | PCDWW24
Sludge storage - Cake pads / bays / other; (WINEP/NEP) bioresources capex | CWW3.137 | PCDWW24
Sludge storage - Cake pads / bays / other; (WINEP/NEP) bioresources opex | CWW3.138 | PCDWW24
Sludge storage - Cake pads / bays /other; (WINEP/NEP) bioresources totex | CWW3.139 | PCDWW24
Sludge treatment - Anaerobic digestion and/or advanced anaerobic digestion; (WINEP/NEP) bioresources capex | CWW3.140 | PCDWW25
Sludge treatment - Anaerobic digestion and/or advanced anaerobic digestion; (WINEP/NEP) bioresources opex | CWW3.141 | PCDWW25
Sludge treatment - Anaerobic digestion and/or advanced anaerobic digestion; (WINEP/NEP) bioresources totex | CWW3.142 | PCDWW25
Sludge treatment - Thickening and/or dewatering; (WINEP/NEP) capex | CWW3.143 | PCDWW25
Sludge treatment -Thickening and/or dewatering; (WINEP/NEP) opex | CWW3.144 | PCDWW25
Sludge treatment - Thickening and/or dewatering; (WINEP/NEP) totex | CWW3.145 | PCDWW25
Sludge treatment - Other; (WINEP/NEP) bioresources capex | CWW3.146 | PCDWW25
Sludge treatment - Other; (WINEP/NEP) bioresources opex | CWW3.147 | PCDWW25
Sludge treatment -Other; (WINEP/NEP) bioresources totex | CWW3.148 | PCDWW25
Sludge investigations and monitoring (NEP only) bioresources capex | CWW3.149 | PCDWW26
Sludge investigations and monitoring (NEP only) bioresources opex | CWW3.150 | PCDWW26
Sludge investigations and monitoring (NEP only) bioresources totex | CWW3.151 | PCDWW26
Total environmental programme expenditure; (WINEP/NEP) bioresources totex | CWW3.152
Other enhancement
Growth at sewage treatment works (excluding sludge treatment); enhancement capex | CWW3.153 | PCDWW27
Growth at sewage treatment works (excluding sludge treatment); enhancement opex | CWW3.154 | PCDWW27
Growth at sewage treatment works (excluding sludge treatment); enhancement totex | CWW3.155 | PCDWW27
Reduce flooding risk for properties; enhancement capex | CWW3.156 | PCDWW28
Reduce flooding risk for properties; enhancement opex | CWW3.157 | PCDWW28
Reduce flooding risk for properties; enhancement totex | CWW3.158 | PCDWW28
First time sewerage; enhancement capex | CWW3.159 | PCDWW29
First time sewerage; enhancement opex | CWW3.160 | PCDWW29
First time sewerage; enhancement totex | CWW3.161 | PCDWW29
Sludge enhancement (growth); enhancement capex | CWW3.162 | PCDWW30
Sludge enhancement (growth); enhancement opex | CWW3.163 | PCDWW30
Sludge enhancement (growth); enhancement totex | CWW3.164 | PCDWW30
Odour and other nuisance; enhancement capex | CWW3.165 | PCDWW31
Odour and other nuisance; enhancement opex | CWW3.166 | PCDWW31
Odour and other nuisance; enhancement totex | CWW3.167 | PCDWW31
Resilience; enhancement wastewater capex | CWW3.168 | PCDWW32
Resilience; enhancement wastewater opex | CWW3.169 | PCDWW32
Resilience; enhancement wastewater totex | CWW3.170 | PCDWW32
Security - SEMD; enhancement wastewater capex | CWW3.171 | PCDWW33
Security - SEMD; enhancement wastewater opex | CWW3.172 | PCDWW33
Security - SEMD; enhancement wastewater totex | CWW3.173 | PCDWW33
Security - cyber; enhancement wastewater capex | CWW3.174 | PCDWW33
Security - cyber; enhancement wastewater opex | CWW3.175 | PCDWW33
Security - cyber; enhancement wastewater totex | CWW3.176 | PCDWW33
Greenhouse gas reduction (net zero); enhancement wastewater capex | CWW3.177 | PCDWW34
Greenhouse gas reduction (net zero); enhancement wastewater opex | CWW3.178 | PCDWW34
Greenhouse gas reduction (net zero); enhancement wastewater totex | CWW3.179 | PCDWW34
Total other enhancement wastewater/bioresources expenditure | CWW3.180
Other enhancement (Freeform lines - by exception)
Additional line 1; enhancement wastewater/bioresources capex | CWW3.181 | PCDWW35
Additional line 1; enhancement wastewater/bioresources opex | CWW3.182 | PCDWW35
Additional line 2; enhancement wastewater/bioresources capex | CWW3.183 | PCDWW36
Additional line 2; enhancement wastewater/bioresources opex | CWW3.184 | PCDWW36
Additional line 3; enhancement wastewater/bioresources capex | CWW3.185 | PCDWW37
Additional line 3; enhancement wastewater/bioresources opex | CWW3.186 | PCDWW37
Additional line 4; enhancement wastewater/bioresources capex | CWW3.187 | PCDWW38
Additional line 4; enhancement wastewater/bioresources opex | CWW3.188 | PCDWW38
Additional line 5; enhancement wastewater/bioresources capex | CWW3.189 | PCDWW39
Additional line 5; enhancement wastewater/bioresources opex | CWW3.190 | PCDWW39
Total other enhancement freeform lines wastewater/bioresources expenditure | CWW3.191
Total other enhancement wastewater/bioresources expenditure | CWW3.192
Total enhancement
Total enhancement expenditure; wastewater/bioresources capex | CWW3.193
Total enhancement expenditure; wastewater/bioresources opex | CWW3.194
Total enhancement expenditure; wastewater/bioresources totex | CWW3.195

## Spill reduction - Network
PCDWW5
Company
Wastewater network+ - Storm Overflow spill reduction (network)
| Line Description | Units | DPs | Capital expenditure | [6 empty] | Operating expenditure | [6 empty] | Cost driver 1 | Cost driver 2 | Cost driver 3 | 1 | Cost driver 5 | Cost driver 6 | Cost driver 7 | Cost driver 8 | Cost driver 9 | Cost driver 10 | Cost driver 11 | Cost driver 12 | Cost driver 13
|  |  |  | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | After 2029-30 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | After 2029-30 | Current spills (annual spills - EDM, 2020) | Current spills (annual spills - EDM, 2021) | Current spills (annual spills - EDM, 2022) | Model predicted spills (annual, 2025) | Target spills (annual spills) | Total Equivalent Storage (m3) | Equivalent Storage delivered through Grey solutions (CWW20.36 / 7E.13) (m3) | Equivalent Storage delivered through green solutions (CWW20.37 / 7E.14) (m3) | Equivalent Storage delivered through other solutions (m3) | BP Spill reduction (annual spills) | Priority site (yes/no) | Spills required per bathing water season | Network / treatment
I034110 | ALDWINCLE TPS | £m | 3 | 0 | 0.09415 | 0.096391 | 0.021787 | 0 | 0 | 0 | 0 | 0 | 2.576e-05 | 6.448e-05 | 7.74e-05 | 7.74e-05 | 7.74e-05 |  |  |  | 36 | 10 | 170.7024 | 12 |  | 158.7024 | 26 | Y |  | Storm discharge at pumping station
I034234 | BECCLES-COMMON LANE NORTH TPS | £m | 3 | 0 | 0.082397 | 0.079294 | 0.013725 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21 | 18 | 17 | 365 | 10 | 182.4768 |  |  | 182.4768 | 7.5 |  |  | Storm discharge at pumping station
I034119 | BISBROOKE SP | £m | 3 | 0 | 0.01649 | 0.0012529 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 12 | 10 | 2.64 | 2.64 |  |  | 2 | Y |  | Storm discharge at pumping station
I031886 | BOSTON-EAST SIDE TPS | £m | 3 | 2.6418 | 1.9136 | 1.9136 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.24834 | 0.24834 | 0.24834 | 0.24834 | 21 | 40 | 34 | 32 | 10 | 12060 | 12060 |  |  | 27 |  |  | Storm discharge at pumping station
I034153 | BRANTHAM SSO(B) | £m | 3 | 0 | 0.12709 | 0.13913 | 0.038761 | 0 | 0 | 0 | 0 | 0 | 6.776e-05 | 0.00018392 | 0.00023232 | 0.00023232 | 0.00023232 |  |  |  | 38 | 10 | 114.048 | 36 |  | 78.048 | 28 | Y |  | Storm discharge at pumping station
I040901 | BRIGHLINGSEA-STATION RD #58 OV | £m | 3 | 0 | 0.20575 | 0.29424 | 0.14764 | 0 | 0 | 0 | 0 | 0 | 0.00036726 | 0.0018363 | 0.0029382 | 0.0029382 | 0.0029382 | 12 | 14 | 19 | 0 | 10 | 120 | 120 |  |  | 14.5 | Y | 2 | SO on sewer network
I040903 | BRIGHTLINGSEA-LOWER PARK RD OV | £m | 3 | 0 | 0.20575 | 0.29424 | 0.14764 | 0 | 0 | 0 | 0 | 0 | 0.00036726 | 0.0018363 | 0.0029382 | 0.0029382 | 0.0029382 | 187 | 16 | 12 | 4 | 10 | 120 | 120 |  |  | 12 | Y | 2 | SO on sewer network
I039474 | BRIGHTLINGSEA-LWR PARK RD TPS | £m | 3 | 0 | 0 | 1.3045 | 4.4861 | 8.0391 | 5.8305 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0065324 | 0.013065 |  | 10 | 5 | 4 | 10 | 5323 | 2129.2 |  | 3193.8 | 5.5 | Y | 2 | Storm discharge at pumping station
I040896 | BRIGHTLINGSEA-SPRING ROAD SSO | £m | 3 | 0 | 0.20575 | 0.29424 | 0.14764 | 0 | 0 | 0 | 0 | 0 | 0.00036726 | 0.0018363 | 0.0029382 | 0.0029382 | 0.0029382 | 1 | 3 | 28 | 0 | 10 | 120 | 120 |  |  | 13.5 | Y | 2 | SO on sewer network
I034118 | BUNGAY-DITCHINGHAM DAM SP | £m | 3 | 0 | 0.28901 | 0.021958 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 57 | 10 | 54.09 |  |  | 54.09 | 47 |  |  | Storm discharge at pumping station
I041245 | COLCHESTER-HAVEN RD OV | £m | 3 | 0 | 0.035747 | 0.041399 | 0.011828 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 15 | 13 | 76 | 10 | 79.2 |  |  | 79.2 | 66 |  |  | SO on sewer network
I034179 | CORTON-BAKERS SCORE TPS | £m | 3 | 0 | 0.012375 | 0.014332 | 0.0040949 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 24 | 19 | 12 | 10 | 3.96 |  |  | 3.96 | 11.5 | Y |  | Storm discharge at pumping station
I034422 | CORTON-CHURCH LANE SM | £m | 3 | 0 | 0.0073542 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 4 | 1 | 165 | 10 | 2 | 2 |  |  | 0 | Y |  | Storm discharge at pumping station
I034227 | CULFORD THE STREET SP | £m | 3 | 0 | 0.34734 | 0.02639 | 0 | 0 | 0 | 0 | 0 | 0.00034793 | 0.00072749 | 0.00075912 | 0.00075912 | 0.00075912 | 0.00075912 |  | 7 | 10 | 24 | 10 | 75.57 |  |  | 75.57 | 0 | Y |  | Storm discharge at pumping station
I034113 | DENFORD SP | £m | 3 | 0 | 0.21606 | 0.30898 | 0.15503 | 0 | 0 | 0 | 0 | 0 | 0.00039531 | 0.0019766 | 0.0031625 | 0.0031625 | 0.0031625 | 12 | 22 | 4 | 51 | 10 | 156.02 | 156.02 |  |  | 3 | Y |  | Storm discharge at pumping station
I034441 | DOWNHAM MARKET-RAILWAY SSO | £m | 3 | 0 | 0.20713 | 0.31785 | 0.18067 | 0 | 0 | 0 | 0 | 0 | 0.00024592 | 0.0017214 | 0.002951 | 0.002951 | 0.002951 | 0 | 9 | 13 | 65 | 10 | 170.75 | 170.75 |  |  | 1 | Y |  | SO on sewer network
I034099 | EARLS BARTON TPS | £m | 3 | 0.30032 | 0.34303 | 0.34303 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0030214 | 0.0030215 | 0.0030215 | 0.0030215 | 37 | 42 | 33 | 51 | 10 | 427.76 | 427.76 |  |  | 27.5 | Y |  | Storm discharge at pumping station
I034229 | EARLS BARTON, STATION ROAD | £m | 3 | 0 | 0.03022 | 0.014763 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 15 | 10 | 6.52 | 6.52 |  |  | 5 | Y |  | SO on sewer network
I034100 | FAKENHAM-NORWICH ROAD OV | £m | 3 | 0 | 0.00078716 | 0.00091161 | 0.00026046 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 14 | 1 | 13 | 10 | 0.66 |  |  | 0.66 | 3 | Y |  | SO on sewer network
I034496 | FRAMLINGHAM-FORE ST SO | £m | 3 | 0 | 0.036652 | 0.0027847 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 11 | 10 | 5.07 |  |  | 5.07 | 1 | Y |  | SO on sewer network
I034233 | FRAMLINGHAM-WOODBRIDGE RD OV | £m | 3 | 0 | 0.21256 | 0.32618 | 0.18541 | 0 | 0 | 0 | 0 | 0 | 1.936e-05 | 0.00013552 | 0.00023232 | 0.00023232 | 0.00023232 |  |  |  | 52 | 10 | 324.8784 | 36 |  | 288.8784 | 42 | Y |  | SO on sewer network
I034173 | FRINTON-UPPER SECOND AVE OV | £m | 3 | 0 | 0.41069 | 0.86329 | 0.76883 | 0.11712 | 0 | 0 | 0 | 0 | 0 | 0.0013086 | 0.0030534 | 0.0034895 | 0.0034895 | 54 | 60 | 43 | 100 | 10 | 1408.44 | 1408.44 |  |  | 49.5 |  | 2 | SO on sewer network
I033676 | GIMINGHAM-NR MILL TPS | £m | 3 | 0 | 0 | 0.018 | 0.17836 | 0.3045 | 0.21723 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0013877 | 0.0027754 |  |  |  |  | 10 | 132 | 132 | [5 empty] | Storm discharge at pumping station
I034180 | GORLESTON BRUSH BEND OV | £m | 3 | 0 | 0 | 0.47773 | 1.6428 | 2.944 | 2.1352 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0051556 | 0.010311 |  | 9 | 22 | 16 | 10 | 6697 | 2678.8 |  | 4018.2 | 13.5 | Y | 2 | SO on sewer network
I034184 | GORLESTON-BAKER ST SP | £m | 3 | 0 | 0.80309 | 2.1691 | 3.1669 | 1.5441 | 0 | 0 | 0 | 0 | 0 | 0.0013418 | 0.0067091 | 0.010734 | 0.010734 |  |  |  | 23 | 10 | 8875.0068 | 3093.9 |  | 5781.1068 | 21 | Y | 2 | Storm discharge at pumping station
I034230 | GRIMSBY RIBY ST.PS O.F | £m | 3 | 0.19048 | 0.19799 | 0.19799 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 21 | 8 | 14 | 10 | 2868.624 |  |  | 2868.624 | 4.5 | Y |  | Storm discharge at pumping station
I034169 | GRIMSBY-PYEWIPE SO TPS | £m | 3 | 0.13407 | 1.9557 | 1.9557 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.004476 | 0.004476 | 0.004476 | 0.004476 |  | 24 | 57 | 47 | 10 | 2976.34 | 2976.34 |  |  | 37 | Y |  | Storm discharge at pumping station
I039550 | GT BENTLEY-THORRINGTON RD SP | £m | 3 | 0 | 0.14175 | 0.17621 | 0.067672 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 42 | 58 | 3 | 26 | 10 | 180.576 |  |  | 180.576 | 20.5 |  |  | Storm discharge at pumping station
I034134 | GT WAKERING-SEAVIEW EST SP | £m | 3 | 0 | 0.10071 | 0.10311 | 0.023305 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 6 | 4 | 48 | 10 | 248.5428 |  |  | 248.5428 | 0 |  |  | Storm discharge at pumping station
I039787 | GT WALTHAM-HOWE ST SP | £m | 3 | 0 | 0.093893 | 0.10874 | 0.031069 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 2 | 33 | 10 | 39.6 |  |  | 39.6 | 23 | Y |  | Storm discharge at pumping station
I034961 | GT YARMOUTH SUFFLING RD SP | £m | 3 | 0 | 0.61695 | 1.56 | 1.8947 | 0.67318 | 0 | 0 | 0 | 0 | 0 | 0.0014735 | 0.0050099 | 0.0070729 | 0.0070729 |  |  |  | 3 | 10 | 4101 | 1640.64 |  | 2460.36 | 1 | Y | 2 | Storm discharge at pumping station
I034167 | GT YARMOUTH-BOUNDARY RD SP | £m | 3 | 0 | 3.3788 | 3.9131 | 1.118 | 0 | 0 | 0 | 0 | 0 | 0.003826 | 0.010385 | 0.013118 | 0.013118 | 0.013118 |  | 2 | 4 | 44 | 10 | 10499.4648 | 3456.6 |  | 7042.8648 | 1 | Y | 2 | Storm discharge at pumping station
I034175 | GT YARMOUTH-BRYANTS QUAY SM | £m | 3 | 0 | 0.59966 | 1.458 | 1.6382 | 0.49442 | 0 | 0 | 0 | 0 | 0 | 0.0017376 | 0.0052128 | 0.0069504 | 0.0069504 | 96 | 66 | 82 | 12 | 10 | 4010 | 1604 |  | 2406 | 72 | Y | 2 | Storm discharge at pumping station
I034458 | GT YARMOUTH-GARRISON RD SP | £m | 3 | 0 | 0.41901 | 0.92861 | 0.89247 | 0.17955 | 0 | 0 | 0 | 0 | 0 | 0.0015778 | 0.0034496 | 0.0034959 | 0.0032484 |  |  |  | 87 | 10 | 1868.658 | 806 |  | 1062.658 | 77 | Y |  | Storm discharge at pumping station
I027260 | GT YARMOUTH-TOWN HALL SP | £m | 3 | 0 | 0 | 0.0027434 | 0.37707 | 0.66998 | 0.51606 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00059328 | 0.0011866 |  |  |  | 33 | 10 | 418.8 | 168 |  | 250.8 | 31 | Y |  | Storm discharge at pumping station
I034132 | GT YARMTH-N DENES/JELLICO R SP | £m | 3 | 0 | 0.65519 | 0.7588 | 0.2168 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 44 | 10 | 66.53 |  |  | 66.53 | 34 | Y |  | Storm discharge at pumping station
I034152 | HIGHAM FERRERS-KINGS MEADOW LN | £m | 3 | 0 | 0.2062 | 0.31641 | 0.17985 | 0 | 0 | 0 | 0 | 0 | 0.00024586 | 0.001721 | 0.0029503 | 0.0029503 | 0.0029503 |  |  |  | 60 | 10 | 168 | 168 |  |  | 50 | Y |  | SO on sewer network
I034235 | HOLCOT SP | £m | 3 | 0 | 0.24194 | 0.39788 | 0.25543 | 0 | 0 | 0 | 0 | 0 | 0.00013375 | 0.0017388 | 0.00321 | 0.00321 | 0.00321 |  |  |  | 57 | 10 | 330.44 | 330.44 |  |  | 47 | Y |  | Storm discharge at pumping station
I033732 | HUNSTANTON SOUTH END ROAD TPS | £m | 3 | 0 | 1.1472 | 1.7208 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0048913 | 0.0097825 | 0.0097824 | 0.0097824 | 0.0097824 |  |  |  | 16.3333 | 10 | 700 | 700 |  |  | 14.3333 | Y | 2 | Storm discharge at pumping station
I034181 | HUNSTANTON-SMUGGLERS LANE SP | £m | 3 | 0 | 0.0073542 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40 | 53 | 11 | 30 | 10 | 1.92 | 1.92 |  |  | 30 |  |  | Storm discharge at pumping station
I034137 | HUNTINGDON-HARTFORD ROAD SP | £m | 3 | 0 | 0.29284 | 0.54725 | 0.4217 | 0.022234 | 0 | 0 | 0 | 0 | 0 | 0.00031944 | 0.00066792 | 0.00069685 | 0.00069684 | 61 | 37 | 30 | 15 | 10 | 284 | 108 |  | 176 | 23.5 | Y |  | SO on sewer network
I034376 | IPSWICH-CLIFF QUAY STW (SOUTH EASTERN AREA SEWER CSO) | £m | 3 | 0.17244 | 2.2153 | 2.2153 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0050876 | 0.0050878 | 0.0050878 | 0.0050878 |  |  |  | 76 | 10 | 3422.43 | 3422.43 |  |  | 66 | Y |  | SO on sewer network
I034450 | ISLIP SP | £m | 3 | 0 | 0.2687 | 0.44189 | 0.28368 | 0 | 0 | 0 | 0 | 0 | 0.00013184 | 0.0017139 | 0.0031642 | 0.003164 | 0.003164 |  |  |  | 166 | 10 | 403.2 | 403.2 |  |  | 156 | Y |  | Storm discharge at pumping station
I041166 | KINGS LYNN-GAYWOOD OUTFALL OV | £m | 3 | 0.25633 | 0.18568 | 0.18568 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001469 | 0.0029382 | 0.0029382 | 0.0029382 | 0.0029382 | 13 | 59 | 34 | 0 | 10 | 120 | 120 |  |  | 36.5 |  |  | SO on sewer network
I041134 | KINGS LYNN-GAYWOOD OUTFALL SSO | £m | 3 | 0.25633 | 0.18568 | 0.18568 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001469 | 0.0029382 | 0.0029382 | 0.0029382 | 0.0029382 | 53 | 59 | 34 | 2 | 10 | 120 | 120 |  |  | 36.5 |  |  | SO on sewer network
I031443 | KINGS LYNN-NAR LANE SP | £m | 3 | 0.75567 | 0.54737 | 0.54737 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10438 | 0.10438 | 0.10438 | 0.10438 |  |  |  | 87 | 10 | 1660 | 1660 |  |  | 77 | Y |  | Storm discharge at pumping station
I034238 | KINGS LYNN-PURFLEET QUAY SP | £m | 3 | 0 | 0 | 0.026044 | 0.46346 | 0.78677 | 0.56336 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0017094 | 0.0034188 | 32 | 24 | 18 | 45 | 10 | 1129.71 | 1129.71 |  |  | 11 | Y |  | Storm discharge at pumping station
I040602 | LACEBY-CAISTOR ROAD #1 SSO | £m | 3 | 0 | 0.021318 | 0.0061413 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49 | 59 | 45 | 14 | 10 | 4.752 | 4.752 |  |  | 4 | Y |  | SO on sewer network
I040718 | LEISTON-VALLEY ROAD/CROWN STREET [2] | £m | 3 | 0 | 0.013781 | 0.01596 | 0.0045601 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 59 | 59 | 42 | 56 | 10 | 192 |  |  | 192 | 40.5 | Y |  | SO on sewer network
I034127 | LOUTH SPAW LANE SSO | £m | 3 | 0 | 0.24793 | 0.38045 | 0.21625 | 0 | 0 | 0 | 0 | 0 | 0.00024848 | 0.0017394 | 0.0029818 | 0.0029818 | 0.0029818 | 136 | 114 | 72 | 40 | 10 | 289.03 | 289.03 |  |  | 83 | Y |  | SO on sewer network
I034241 | LOUTH-BRIDGE ST SSO | £m | 3 | 0 | 0.30563 | 0.35396 | 0.10113 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 43 | 51 | 34 | 45 | 10 | 392.4 |  |  | 392.4 | 32.5 | Y |  | SO on sewer network
I034126 | LOUTH-CHURCH LIGHTS CSO | £m | 3 | 0 | 0.04567 | 0.052891 | 0.015112 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49 | 61 | 44 | 26 | 10 | 80.6652 |  |  | 80.6652 | 42.5 | Y |  | SO on sewer network
I034128 | LOUTH-JAMES ST SSO | £m | 3 | 0 | 0 | 0.00039614 | 0.030745 | 0.031707 | 0.0072284 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35 | 16 | 8 | 12 | 10 | 9.84 |  |  | 9.84 | 2 | Y |  | SO on sewer network
I034105 | LOWICK-DRAYTON ROAD TPS | £m | 3 | 0 | 0 | 0 | 0.23986 | 0.44532 | 0.32339 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0016176 | 0.0032351 |  |  |  | 41 | 10 | 204 | 174 |  | 30 | 31 | Y |  | Storm discharge at pumping station
I034109 | MALDON-PARK DRIVE SSO | £m | 3 | 0 | 1.3995 | 1.6208 | 0.46309 | 0 | 0 | 0 | 0 | 0 | 0.0012693 | 0.0034453 | 0.0043518 | 0.0043518 | 0.0043518 | 23 | 26 | 5 | 93 | 10 | 3352.6548 | 1341 |  | 2011.6548 | 5.5 | Y |  | SO on sewer network
I040573 | MARCH-DARTFORD RD/ELIOTS RDSSO | £m | 3 | 0 | 0.33654 | 0.38976 | 0.11136 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18 | 51 | 0 | 76 | 10 | 1346.4 |  |  | 1346.4 | 15.5 | Y |  | SO on sewer network
I034142 | MARCH-WISBECH RD/NORWOOD RD OV | £m | 3 | 0 | 0.078393 | 0.096864 | 0.033065 | 0 | 0 | 0 | 0 | 0 | 9.678e-05 | 0.00029034 | 0.00038712 | 0.00038712 | 0.00038712 |  |  |  | 18 | 10 | 57 | 57 |  |  | 8 | Y |  | SO on sewer network
I034125 | MARKET HARBOROUGH SOUTH CSO MH1203 FDT | £m | 3 | 0 | 0 | 0.025193 | 0.44832 | 0.76109 | 0.54497 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0016688 | 0.0033377 |  | 10 | 24 | 38 | 10 | 1061 | 1061 |  |  | 7 | Y |  | SO on sewer network
I034244 | MILTON FERRY SP | £m | 3 | 0 | 0.054194 | 0.062763 | 0.017932 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 13 | 10 | 19 |  |  | 19 | 3 | Y |  | Storm discharge at pumping station
I033676 | MUNDESLEY-DELL CHALET PK OV | £m | 3 | 0 | 0 | 0.018 | 0.17836 | 0.3045 | 0.21723 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0013877 | 0.0027754 |  |  |  |  | 10 | 132 | 132 | [5 empty] | SO on sewer network
I033676 | MUNDESLEY-NEW PROMENADE TPS | £m | 3 | 0 | 0 | 0.016 | 0.16215 | 0.27682 | 0.19748 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00125 | 0.0025231 |  |  |  |  | 10 | 120 | 120 |  |  |  | Y |  | Storm discharge at pumping station
I034243 | NEWTON LONGVILLE-WHADDON RD SP | £m | 3 | 0 | 0.051396 | 0.059524 | 0.017007 | 0 | 0 | 0 | 0 | 0 | 6.776e-05 | 0.00018392 | 0.00023232 | 0.00023232 | 0.00023232 | 40 | 35 | 39 | 23 | 10 | 104.5704 | 36 |  | 68.5704 | 27 |  |  | Storm discharge at pumping station
I034124 | NORTHAMPTON-DUSTON SYCAMORESSO | £m | 3 | 0 | 0.023443 | 0.02715 | 0.0077572 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 111 | 99 | 56 | 21 | 10 | 46.4376 |  |  | 46.4376 | 67.5 |  |  | SO on sewer network
I038738 | NORTHAMPTON-GRAFTON STREET SSO | £m | 3 | 0 | 0.16473 | 0.19078 | 0.054509 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 16 | 10 | 199.584 |  |  | 199.584 | 6 |  |  | SO on sewer network
I034237 | NORTHAMPTON-LOWER HESTER ST OV | £m | 3 | 0 | 0.36248 | 0.71997 | 0.59578 | 0.061476 | 0 | 0 | 0 | 0 | 0 | 0.001387 | 0.0030514 | 0.0033288 | 0.0033288 | 14 | 19 | 13 | 46 | 10 | 1027 | 1027 |  |  | 6 |  |  | SO on sewer network
I038742 | NORTHAMPTON-SPENCER BRIDGE R | £m | 3 | 0 | 0.043391 | 0.030151 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | 30 | 12 | 11 | 10 | 19.008 | 19.008 |  |  | 11 |  |  | SO on sewer network
I034122 | NORWICH ANGEL ROAD | £m | 3 | 0 | 0.24272 | 0.37246 | 0.21171 | 0 | 0 | 0 | 0 | 0 | 0.00024814 | 0.001737 | 0.0029778 | 0.0029778 | 0.0029778 |  |  |  | 12 | 10 | 267.4 | 267.4 |  |  | 2 | Y |  | SO on sewer network
I034116 | NORWICH, COW TOWER O/F SSO | £m | 3 | 0 | 0.27105 | 0.47586 | 0.34367 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001518 | 0.003036 | 0.0030361 | 0.0030361 | 10 | 5 | 13 | 150 | 10 | 482.21 | 482.21 |  |  | 3 | Y |  | SO on sewer network
I034114 | NORWICH-FYE BRIDGE (N) SSO | £m | 3 | 0 | 0 | 0.17667 | 0.84512 | 1.4636 | 1.0354 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00218 | 0.0043601 |  |  |  | 106 | 10 | 3337.3824 | 1335 |  | 2002.3824 | 96 | Y |  | SO on sewer network
I034103 | NORWICH-GIBRALTER GARDENS CSO | £m | 3 | 0 | 0.40635 | 0.85417 | 0.76071 | 0.11588 | 0 | 0 | 0 | 0 | 0 | 0.0013067 | 0.003049 | 0.0034845 | 0.0034844 |  | 64 | 17 | 56 | 10 | 1368 | 1368 |  |  | 30.5 | Y |  | SO on sewer network
I034104 | NORWICH-KING STREET SSO #2 | £m | 3 | 0 | 1.538 | 4.1541 | 6.0649 | 2.9572 | 0 | 0 | 0 | 0 | 0 | 0.0023908 | 0.011954 | 0.019127 | 0.019127 |  | 10 | 17 | 236 | 10 | 13901 | 5561 |  | 8340 | 3.5 | Y |  | SO on sewer network
I034106 | NORWICH-PRINCE OF WALES ROAD CSO | £m | 3 | 0 | 0.018062 | 0.0013723 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33 | 58 | 22 | 11 | 10 | 0.26 | 0.26 |  |  | 30 | Y |  | SO on sewer network
I040533 | PAGLESHAM-CHURCH END SP | £m | 3 | 0 | 0.10313 | 0.11944 | 0.034125 | 0 | 0 | 0 | 0 | 0 | 0.00023534 | 0.00063878 | 0.00080695 | 0.000807 | 0.000807 | 16 | 21 | 8 | 38 | 10 | 31.68 |  |  | 31.68 | 4.5 |  |  | Storm discharge at pumping station
I034246 | PETBORO-STANGD THISTLE DR SP | £m | 3 | 0 | 0 | 0.0034727 | 0.26951 | 0.27795 | 0.063365 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 20 | 10 | 122.5224 |  |  | 122.5224 | 10 |  |  | Storm discharge at pumping station
I034194 | PETERBOROUGH (FLAG FEN) STW A1 | £m | 3 | 0 | 0 | 0 | 0.12221 | 0.22731 | 0.16543 | 0 | 0 | 0 | 0 | 0 | 0 | 0.015555 | 0.03111 |  |  |  | 80 | 10 | 100.48 | 100.48 |  |  | 70 | Y |  | Storm discharge at pumping station
I034135 | RAMSEY-ST MARYS RD SSO | £m | 3 | 0 | 0 | 0.0029673 | 0.38801 | 0.65402 | 0.46972 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0015649 | 0.0031298 |  |  |  | 22 | 10 | 850.21 | 850.21 |  |  | 12 | Y |  | SO on sewer network
I034026 | RUSHDEN-STATION RD SSO | £m | 3 | 0 | 0.28807 | 0.50574 | 0.36525 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0015256 | 0.0030512 | 0.0030512 | 0.0030512 |  | 71 | 80 | 33 | 10 | 524.68 | 524.68 |  |  | 65.5 |  |  | SO on sewer network
I034966 | SOUTHEND - WESTERN VALLEY SP | £m | 3 | 0 | 1.3309 | 3.5947 | 5.2481 | 2.5589 | 0 | 0 | 0 | 0 | 0 | 0.0010878 | 0.0054391 | 0.0087026 | 0.0087025 |  |  |  | 6 | 10 | 3419 | 1367.6 |  | 2051.4 | 4 | Y | 2 | Storm discharge at pumping station
I034177 | SOUTHEND ON SEA, VICTORIA RD CSO ELIZ.RD O/F | £m | 3 | 0 | 0.50807 | 1.2353 | 1.388 | 0.4189 | 0 | 0 | 0 | 0 | 0 | 0.0010916 | 0.0032749 | 0.0043666 | 0.0043667 |  |  |  | 77 | 10 | 3413 | 1366 |  | 2047 | 75 | Y | 2 | SO on sewer network
I041214 | SOUTHEND PRITTLE BROOK STORAGE TANK | £m | 3 | 0 | 0 | 0 | 0 | 0 | 0.000903 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 10 | 7 | 1 | 10 | 0 | 0 |  |  | 7 | Y | 2 | SO on sewer network
I034522 | SOUTHEND-BRITTANIA ROAD BF CSO | £m | 3 | 0 | 0.082161 | 0.079066 | 0.013685 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 6 | 10 | 17 | 17 |  |  | 4 | Y | 2 | SO on sewer network
I041202 | SOUTHEND-BURDETT ROAD CSO | £m | 3 | 0 | 0 | 0 | 0 | 0 | 0.000903 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 13 | 5 | 3 | 10 | 0 | 0 |  |  | 7 | Y | 2 | SO on sewer network
I034552 | SOUTHEND-HAMS/ROY ART W CSO | £m | 3 | 0 | 0.0073542 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 5 | 10 | 0.44 | 0.44 |  |  | 3 | Y | 2 | SO on sewer network
I034974 | SOUTHEND-MANILLA RD BF | £m | 3 | 0 | 0.32621 | 0.37779 | 0.10794 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 28 | 15 | 5 | 10 | 871.2 |  |  | 871.2 | 19.5 | Y | 2 | SO on sewer network
I034551 | SOUTHEND-NESS ROAD | £m | 3 | 0 | 0.0073542 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 3 | 10 | 0.24 | 0.24 |  |  | 1 | Y | 2 | Storm discharge at pumping station
I034525 | SOUTHEND-ROY ART/ASH AV CSO | £m | 3 | 0 | 0.27563 | 0.45329 | 0.291 | 0 | 0 | 0 | 0 | 0 | 0.00012585 | 0.0016361 | 0.0030204 | 0.0030205 | 0.0030205 |  |  |  | 9 | 10 | 433.25 | 433.25 |  |  | 7 | Y | 2 | SO on sewer network
I034976 | SOUTHEND-ROYAL TERRACE | £m | 3 | 0 | 0.0073542 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 5 | 10 | 1.58 | 1.58 |  |  | 3 |  | 2 | Storm discharge at pumping station
I034221 | SOUTHEND-SOUTHCHURCH ROAD CSO | £m | 3 | 0 | 0.49461 | 1.0962 | 1.0535 | 0.21194 | 0 | 0 | 0 | 0 | 0 | 0.012792 | 0.03198 | 0.038376 | 0.038376 |  |  |  | 51 | 10 | 2602 | 1041 |  | 1561 | 49 | Y | 2 | SO on sewer network
I034176 | SOUTHWOLD-GARDENER RD SP | £m | 3 | 0 | 0.28798 | 0.50559 | 0.36514 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0012386 | 0.0024774 | 0.0024774 | 0.0024774 | 36 | 23 | 13 | 45 | 10 | 647 | 259 |  | 388 | 16 | Y |  | Storm discharge at pumping station
I039784 | ST IVES-MEADOW LANE PS | £m | 3 | 0 | 0.32195 | 0.37286 | 0.10653 | 0 | 0 | 0 | 0 | 0 | 0.00020328 | 0.00055176 | 0.00069689 | 0.00069684 | 0.00069684 | 308 | 55 | 17 | 47 | 10 | 284 | 108 |  | 176 | 26 |  |  | Storm discharge at pumping station
I040726 | ST OSYTH-POINT CLEAR RD SSO | £m | 3 | 0 | 0.025789 | 0.010824 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 13 | 8 | 12 | 10 | 1.58 | 1.58 |  |  | 0.5 |  |  | SO on sewer network
I034111 | STAMFORD-HUDDS MILL TPS | £m | 3 | 0 | 0.072753 | 0.084257 | 0.024073 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 14 | 1 | 14 | 10 | 23.28 |  |  | 23.28 | 4 | Y |  | Storm discharge at pumping station
I034232 | STUNTNEY-LOWER STREET SP | £m | 3 | 0 | 0.061937 | 0.053733 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 15 | 5 | 63 | 10 | 109.824 |  |  | 109.824 | 5 |  |  | Storm discharge at pumping station
I034453 | TINGEWICK - FOUL SP | £m | 3 | 0 | 0.29813 | 0.52341 | 0.37801 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0015301 | 0.0030602 | 0.0030602 | 0.0030602 | 24 | 30 | 23 | 53 | 10 | 572.3 | 572.3 |  |  | 16.5 |  |  | Storm discharge at pumping station
I034144 | ULCEBY SKITTER SP | £m | 3 | 0.0087304 | 0.013943 | 0.013943 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 10 | 14 | 12 | 10 | 2.574 |  |  | 2.574 | 2 | Y |  | Storm discharge at pumping station
I040770 | WICKHAM MARKET-BRIDGE THE SP | £m | 3 | 0 | 0 | 0 | 0.14257 | 0.30459 | 0.22303 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 31 | 10 | 873 |  |  | 873 | 21 |  |  | Storm discharge at pumping station
I034150 | WIVENHOE-PHILLIP RD OV | £m | 3 | 0 | 0.37015 | 0.42868 | 0.12248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 25 | 7 | 365 | 10 | 167.244 |  |  | 167.244 | 6 |  |  | SO on sewer network
I040594 | WIVENHOE-THE FOLLY OV | £m | 3 | 0 | 0.020677 | 0.023947 | 0.006842 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 135 | 30 | 1 | 28 | 10 | 47.84 |  |  | 47.84 | 5.5 |  |  | SO on sewer network
I034108 | WOODBRIDGE-DEBEN RD OV | £m | 3 | 0 | 0.20921 | 0.31758 | 0.16776 | 0 | 0 | 0 | 0 | 0 | 0.00039573 | 0.0019786 | 0.0031657 | 0.0031657 | 0.0031657 | 40 | 29 | 33 | 46 | 10 | 161.73 | 161.73 |  |  | 21 |  |  | SO on sewer network
I034145 | WOODBRIDGE-STATION RD CSO | £m | 3 | 0 | 0 | 0.24758 | 1.0376 | 1.8028 | 1.2716 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0019878 | 0.0039756 | 8 | 12 | 15 | 92 | 10 | 1600 | 960.4 |  | 639.6 | 3.5 | Y |  | SO on sewer network

## Spill reduction - STW
PCDWW5
Company
Wastewater network+ - Storm Overflow spill reduction (sewage treatment works)
Line Description | Units | DPs | Capital expenditure | [6 empty] | Operating expenditure | [6 empty] | Cost driver 1 | Cost driver 2 | Cost driver 3 | Cost driver 4 | Cost driver 5 | Cost driver 6 | Cost driver 7 | Cost driver 8 | Cost driver 9 | Cost driver 10 | Cost driver 11 | Cost driver 12
|  |  | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | After 2029-30 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | After 2029-30 | Current spills (annual spills - EDM, 2020) | Current spills (annual spills - EDM, 2021) | Current spills (annual spills - EDM, 2022) | Model predicted spills (annual, 2025) | Target spills (annual spills) | Total Equivalent Storage (m3) | Equivalent Storage delivered through Grey solutions (CWW20.36 / 7E.13) (m3) | Equivalent Storage delivered through green solutions (CWW20.37 / 7E.14) (m3) | Equivalent Storage delivered through other solutions (m3) | BP Spill reduction (annual spills) | Priority site (yes/no) | Spills required per bathing water season
TOLLESBURY STW | £m | 3 | 0 | 0.23526 | 0.57032 | 0.049903 | 0 | 0 | 0 | 0 | 0 | 0.0049854 | 0.010424 | 0.010877 | 0.010877 | 0.010877 | 68 | 55 | 7 | 39 | 10 | 287 |  | 287 |  | 21 | Y
BARTON ON HUMBER STW | £m | 3 | 0.29882 | 0.40266 | 0.40266 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.017154 | 0.017154 | 0.017154 | 0.017154 |  | 111 | 54 | 136 | 10 | 1235.52 | 1235.52 |  |  | 72.5 | Y
BRACKLEY STW (NEW) | £m | 3 | 0 | 0.12743 | 0.19524 | 0.11081 | 0 | 0 | 0 | 0 | 0 | 0.00071536 | 0.0050075 | 0.0085843 | 0.0085844 | 0.0085844 | 16 | 26 | 23 | 365 | 10 | 2412.35 | 2412.35 |  |  | 14.5 | Y
BRAMPTON STW (CAMBS) | £m | 3 | 0 | 0.13801 | 0.22741 | 0.14629 | 0 | 0 | 0 | 0 | 0 | 0.00037485 | 0.0048731 | 0.0089964 | 0.0089965 | 0.0089965 |  | 21 | 15 | 365 | 10 | 211.2 |  | 211.2 |  | 8 | Y
BRIGSTOCK STW | £m | 3 | 0 | 0.0635 | 0.073541 | 0.021012 | 0 | 0 | 0 | 0 | 0 | 2.254e-05 | 6.125e-05 | 7.74e-05 | 7.74e-05 | 7.74e-05 |  |  |  |  | 10 | 99.1584 |  |  | 99.1584 |  | Y
BRISTON STW | £m | 3 | 0 | 0 | 0.11097 | 0.53082 | 0.91926 | 0.65033 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0329 | 0.0658 |  |  |  | 72 | 10 | 121.6116 | 121.6116 |  |  | 62 | Y
BROADHOLME WATER RECYCLING CENTRE | £m | 3 | 0 | 0 | 1.3606 | 3.8565 | 7.0198 | 5.1227 | 0 | 0 | 0 | 0 | 0 | 0 | 0.17488 | 0.34977 |  | 11 | 24 | 60 | 10 | 24180 | 9672 |  | 14508 | 7.5 | Y
BURNHAM MARKET STW | £m | 3 | 0 | 0.14581 | 0.24026 | 0.15456 | 0 | 0 | 0 | 0 | 0 | 0.00037218 | 0.0048383 | 0.0089323 | 0.0089323 | 0.0089323 | 115 | 105 | 7 | 322 | 10 | 163.61 |  | 163.61 |  | 46 | Y
BURNHAM ON CROUCH STW | £m | 3 | 0 | 0.089044 | 0.08569 | 0.014832 | 0 | 0 | 0 | 0 | 0 | 2.898e-05 | 6.771e-05 | 7.74e-05 | 7.74e-05 | 7.74e-05 | 81 | 67 | 37 | 38 | 10 | 142.4544 |  |  | 142.4544 | 42 | Y
BYLAUGH-NEAR CHURCH STW | £m | 3 | 0 | 0.13635 | 0.22468 | 0.14453 | 0 | 0 | 0 | 0 | 0 | 0.000369 | 0.004797 | 0.008856 | 0.0088561 | 0.0088561 | 10 | 29 | 6 | 61 | 10 | 175.17 |  | 175.17 |  | 7.5 | Y
CAISTER STW | £m | 3 | 0 | 0 | 1.7479 | 6.0106 | 10.771 | 7.8119 | 0 | 0 | 0 | 0 | 0 | 0 | 0.21051 | 0.42102 | 61 | 127 | 71 | 126 | 10 | 22521 | 9882 |  | 12639 | 97 | Y | 2
COLCHESTER STW | £m | 3 | 0 | 0.55358 | 1.5601 | 2.5646 | 1.5818 | 0 | 0 | 0 | 0 | 0 | 0.0052273 | 0.067955 | 0.12546 | 0.12546 | 81 | 28 | 6 | 30 | 10 | 11200 | 11200 |  |  | 20
DULLINGHAM STW | £m | 3 | 0 | 0.13735 | 0.22633 | 0.14559 | 0 | 0 | 0 | 0 | 0 | 0.00037254 | 0.004843 | 0.008941 | 0.0089411 | 0.0089411 | 28 | 25 | 23 | 70 | 10 | 205.17 |  | 205.17 |  | 14 | Y
EIGHT ASH GREEN-STW | £m | 3 | 0 | 0.29984 | 0.34725 | 0.099216 | 0 | 0 | 0 | 0 | 0 | 2.254e-05 | 6.125e-05 | 7.74e-05 | 7.74e-05 | 7.74e-05 |  |  |  | 185 | 10 | 139.458 |  |  | 139.458 | 175 | Y
ELY STW | £m | 3 | 0 | 0 | 0 | 0.12835 | 0.23872 | 0.17373 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0048274 | 0.0096548 | 88 | 12 | 16 | 33 | 10 | 271.96 |  | 271.96 |  | 4 | Y
FAKENHAM STW (NEW) | £m | 3 | 0 | 0.18459 | 0.26398 | 0.13245 | 0 | 0 | 0 | 0 | 0 | 9.66e-06 | 4.833e-05 | 7.74e-05 | 7.74e-05 | 7.74e-05 | 39 | 79 | 1 | 106 | 10 | 89 |  |  | 89 | 30 | Y
FORNHAM ALL SAINTS-STW | £m | 3 | 0 | 0.26474 | 0.61606 | 0.64026 | 0.16053 | 0 | 0 | 0 | 0 | 0 | 0.0073732 | 0.020013 | 0.02528 | 0.02528 | 16 | 0 | 7 | 105 | 10 | 1737.7 | 1737.7 |  |  | 0 | Y
GREAT BILLING STW | £m | 3 | 0 | 0 | 1.5987 | 4.5316 | 8.2487 | 6.0194 | 0 | 0 | 0 | 0 | 0 | 0 | 0.13255 | 0.2651 |  | 94 | 34 | 125 | 10 | 59535 | 59535 |  |  | 54
GREAT OXENDON STW | £m | 3 | 0 | 0.1166 | 0.17864 | 0.10139 | 0 | 0 | 0 | 0 | 0 | 4.526e-05 | 0.00031683 | 0.00054324 | 0.00054324 | 0.00054324 |  | 50 | 65 | 58 | 10 | 60.72 | 60.72 |  |  | 47.5
HALSTEAD STW | £m | 3 | 0 | 0 | 0.14676 | 0.61502 | 1.0693 | 0.75493 | 0 | 0 | 0 | 0 | 0 | 0 | 0.017338 | 0.034676 | 41 | 43 | 31 | 60 | 10 | 4186 | 4186 |  |  | 27 | Y
HOLBROOK STW | £m | 3 | 0 | 0.29755 | 0.55605 | 0.42848 | 0.022592 | 0 | 0 | 0 | 0 | 0 | 3.542e-05 | 7.417e-05 | 7.74e-05 | 7.74e-05 |  | 10 | 8 | 87 | 10 | 234 |  |  | 234 | 0 | Y
HORNING-KNACKERS WOOD STW | £m | 3 | 0 | 0.22161 | 0.49124 | 0.47234 | 0.095058 | 0 | 0 | 0 | 0 | 0 | 0.00076504 | 0.0019126 | 0.002295 | 0.002295 | 306 | 166 | 115 | 161 | 10 | 453.568 |  | 453.568 |  | 130.5 | Y
HUNDON STW | £m | 3 | 0 | 0.035349 | 0.040938 | 0.011697 | 0 | 0 | 0 | 0 | 0 | 2.254e-05 | 6.125e-05 | 7.74e-05 | 7.74e-05 | 7.74e-05 |  | 89 | 49 | 32 | 10 | 20.46 |  |  | 20.46 | 59 | Y
IMMINGHAM STW | £m | 3 | 0 | 0 | 0.013047 | 0.23225 | 0.39506 | 0.2836 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0073664 | 0.014733 | 136 | 97 | 92 | 23 | 10 | 662 | 662 |  |  | 84.5 | Y
INGATESTONE STW | £m | 3 | 0 | 0 | 0 | 0.14749 | 0.25921 | 0.18745 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0050749 | 0.01015 |  |  |  | 25 | 10 | 284 |  | 284 |  | 15 | Y
IPSWICH-CLIFF QUAY WATER RECYCLING CENTRE | £m | 3 | 0.047915 | 0.82566 | 0.82566 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.033457 | 0.033457 | 0.033457 | 0.033457 | 89 | 80 | 53 | 36 | 10 | 2441.43 | 2441.43 |  |  | 56.5 | Y
JAYWICK NEW STW | £m | 3 | 0.12101 | 1.4043 | 1.4043 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.055874 | 0.055874 | 0.055874 | 0.055874 | 88 | 100 | 50 | 124 | 10 | 4409.72 |  | 4409.72 |  | 73 | Y | 2
LACEBY STW | £m | 3 | 0 | 0.14888 | 0.26166 | 0.18922 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0051389 | 0.010278 | 0.010278 | 0.010278 | 45 | 115 | 60 | 16 | 10 | 369.6 |  | 369.6 |  | 77.5 | Y
LEIGHTON LINSLADE STW | £m | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 54 | 50 | 11 | 365 | 10 | 642 | 642 |  |  | 20.5 | Y
LOUTH STW | £m | 3 | 0 | 0 | 0.012924 | 0.23005 | 0.39133 | 0.28092 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0085598 | 0.01712 | 32 | 38 | 51 | 18 | 10 | 1155.54 |  | 1155.54 |  | 34.5 | Y
MALDON STW | £m | 3 | 0 | 0.28224 | 0.65679 | 0.68259 | 0.17115 | 0 | 0 | 0 | 0 | 0 | 0.01031 | 0.027984 | 0.035348 | 0.035348 | 86 | 72 | 10 | 67 | 10 | 14842.16 |  | 14842.16 |  | 31 | Y
MARKET HARBOROUGH STW | £m | 3 | 0 | 0.11181 | 0.1224 | 0.034101 | 0 | 0 | 0 | 0 | 0 | 0.00013552 | 0.00036784 | 0.00046464 | 0.00046464 | 0.00046464 | 51 | 70 | 50 | 11 | 10 | 70.884 | 70.884 |  |  | 50 | Y
MAYLANDSEA STW | £m | 3 | 0 | 0.05033 | 0.051305 | 0.01158 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 73 | 33 | 38 | 10 | 151.3908 | 151.3908 |  |  | 43 | Y
MEPAL STW | £m | 3 | 0 | 0 | 0 | 0.14632 | 0.25715 | 0.18597 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0049806 | 0.0099611 | 18 | 21 | 30 | 35 | 10 | 142.56 | 142.56 |  |  | 15.5 | Y
NEEDHAM MARKET STW | £m | 3 | 0 | 0.13615 | 0.22434 | 0.14432 | 0 | 0 | 0 | 0 | 0 | 0.00036828 | 0.0047877 | 0.0088388 | 0.0088388 | 0.0088388 |  |  |  | 38 | 10 | 170.5 |  | 170.5 |  | 28 | Y
NETTLEHAM STW INLET | £m | 3 | 0 | 0.12709 | 0.2065 | 0.12424 | 0 | 0 | 0 | 0 | 0 | 0.00064748 | 0.0045324 | 0.0077698 | 0.0077698 | 0.0077698 |  |  |  | 28 | 10 | 37 |  | 37 |  | 18 | Y
NEWMARKET STW | £m | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 9 | 7 | 48 | 10 | 2654 | 2654 |  |  | 0 | Y
NORTH FERRY STW | £m | 3 | 0 | 0.20096 | 0.42242 | 0.3762 | 0.057305 | 0 | 0 | 0 | 0 | 0 | 0.0061099 | 0.014257 | 0.016293 | 0.016293 |  |  |  | 80 | 10 | 1019.19 | 1019.19 |  |  | 70 | Y
NORTH THORESBY STW | £m | 3 | 0 | 0 | 0.00080444 | 0.043128 | 0.034941 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 50 | 53 | 18 | 10 | 20 | 20 |  |  | 41.5
ODELL STW | £m | 3 | 0 | 0 | 0 | 0.15521 | 0.27278 | 0.19727 | 0 | 0 | 0 | 0 | 0 | 0 | 0.005774 | 0.011548 | 185 | 128 | 31 | 41 | 10 | 340.56 |  | 340.56 |  | 69.5 | Y
OUNDLE STW | £m | 3 | 0 | 0.077193 | 0.097205 | 0.037621 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 53 | 31 | 19 | 365 | 10 | 321.222 | 321.222 |  |  | 15 | Y
PETERBOROUGH (FLAG FEN) STW | £m | 3 | 0 | 0.13188 | 0.15274 | 0.043639 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 87 | 87 | 36 | 13 | 10 | 129.36 |  |  | 129.36 | 51.5 | Y
SHENFIELD AND HUTTON-STW | £m | 3 | 0 | 0 | 0.85121 | 2.4127 | 4.3918 | 3.2048 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27823 | 0.55645 |  |  |  | 72 | 10 | 16227.684 | 16227.684 |  |  | 62 | Y
SOHAM STW | £m | 3 | 0 | 0.31332 | 0.36287 | 0.10368 | 0 | 0 | 0 | 0 | 0 | 2.254e-05 | 6.125e-05 | 7.74e-05 | 7.74e-05 | 7.74e-05 | 34 | 39 | 8 | 365 | 10 | 977.17 |  |  | 977.17 | 13.5 | Y
SOUTHEND STW (Long sea outfall) | £m | 3 | 0 | 0 | 5.5695 | 15.7867 | 28.7358 | 20.9697 | 0 | 0 | 0 | 0 | 0 | 0 | 0.48919 | 0.97838 | 23 | 77 | 64 | 115 | 10 | 113150.48 | 113150.48 |  |  | 68.5 | Y | 2
SOUTHWOLD-COMMON THE STW | £m | 3 | 0 | 0.23116 | 0.4859 | 0.43273 | 0.065915 | 0 | 0 | 0 | 0 | 0 | 0.0066949 | 0.015621 | 0.017853 | 0.017853 | 14 | 0 | 13 | 77 | 10 | 1370 | 1370 |  |  | 0 | Y
SPILSBY STW | £m | 3 | 0 | 0.16482 | 0.308 | 0.23734 | 0.012515 | 0 | 0 | 0 | 0 | 0 | 0.0056092 | 0.011728 | 0.012238 | 0.012238 |  | 0 | 13 | 86 | 10 | 376.3 | 376.3 |  |  | 3 | Y
STANION STW | £m | 3 | 0 | 0.024474 | 0.028344 | 0.0080984 | 0 | 0 | 0 | 0 | 0 | 2.254e-05 | 6.125e-05 | 7.74e-05 | 7.74e-05 | 7.74e-05 |  |  |  |  | 10 | 17.424 |  |  | 17.424 |  | Y
SUTTON BRIDGE STW | £m | 3 | 0 | 0.12159 | 0.32424 | 0.094571 | 0 | 0 | 0 | 0 | 0 | 0.0035327 | 0.0082428 | 0.0094204 | 0.0094204 | 0.0094204 |  | 30 |  |  | 10 | 120 | 120 |  |  | 20
SWAFFHAM STW | £m | 3 | 0 | 0 | 0.025663 | 0.45669 | 0.77529 | 0.55513 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00023232 | 0.00046464 | 48 | 52 | 34 | 19 | 10 | 413 | 284.394 |  | 128.606 | 33 | Y
TETNEY-NEWTON MARSH STW | £m | 3 | 0.58089 | 0.40316 | 0.40316 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.02905 | 0.02905 | 0.02905 | 0.02905 |  |  |  | 25 | 10 | 2981 |  | 2981 |  | 23.6 | Y | 2
TITCHMARSH STW | £m | 3 | 0 | 0.13965 | 0.24545 | 0.1775 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0047174 | 0.009435 | 0.009435 | 0.009435 |  | 4 | 58 | 127 | 10 | 237.55 |  | 237.55 |  | 21 | Y
ULCEBY STW | £m | 3 | 0.21935 | 0.26826 | 0.26826 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.014057 | 0.014057 | 0.014057 | 0.014057 |  | 60 | 58 | 66 | 10 | 728 |  | 728 |  | 49 | Y
UPPINGHAM STW A2 | £m | 3 | 0 | 0.17088 | 0.22853 | 0.10099 | 0 | 0 | 0 | 0 | 0 | 1.288e-05 | 5.156e-05 | 7.74e-05 | 7.74e-05 | 7.74e-05 |  | 123 | 98 | 54 | 10 | 472.2168 |  |  | 472.2168 | 100.5 | Y
UPPINGHAM STW A3 | £m | 3 | 0 | 0 | 0 | 0.12435 | 0.24235 | 0.18748 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0050624 | 0.010125 |  |  |  | 24 | 10 | 161 | 161 |  |  | 14 | Y
WEST MERSEA STW | £m | 3 | 0 | 0.37699 | 0.4366 | 0.12474 | 0 | 0 | 0 | 0 | 0 | 2.254e-05 | 6.125e-05 | 7.74e-05 | 7.74e-05 | 7.74e-05 | 14 | 37 | 13 | 19 | 10 | 132 |  |  | 132 | 23 | Y | 2
WHITLINGHAM TROWSE STW | £m | 3 | 0 | 0 | 0.026997 | 0.26923 | 0.45963 | 0.32789 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010322 | 0.020644 | 52 | 45 | 16 | 12 | 10 | 1608.41 |  | 1608.41 |  | 20.5 | Y
WINTERINGHAM STW | £m | 3 | 0.13343 | 1.5484 | 1.5484 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.066234 | 0.066235 | 0.066235 | 0.066235 |  |  |  | 90 | 10 | 6045.6 |  | 6045.6 |  | 80 | Y
WYMONDHAM STW | £m | 3 | 0 | 0 | 1.0719 | 3.0383 | 5.5305 | 4.0358 | 0 | 0 | 0 | 0 | 0 | 0 | 0.084711 | 0.16942 | 23 | 52 | 19 | 49 | 10 | 9882 | 9882 |  |  | 25.5 | Y
Not inlcuded as do not have spill targets
Melton WRC
Oakham WRC
all of the storm tank sites
ENVINV2 (dont know what spill targets will be)
south woodham ferrers