## AR front page
All queries on the content of this workbook should be sent to:
water-company-plan@environment-agency.gov.uk
Environment Agency template version:
Updated 1 March 2024
WRMP Annual Review data return submission
Water company: | Anglian Water
Reporting year of data submission | 2023/24
WRMP reporting against: | WRMP19 |  | Signed: |  | Dated: | 2024-06-26
Responsible Officer:
Version of data submission: | 2024-07-02 |  |  | [Digital signature is acceptable]
Confirmation of quality checks and assurance undertaken as part of Annul Review data return
|  |  | Signed: |  | Dated: | 2024-06-26
QA checks have been passed for all resource zone and water company level supply-balance data provided
Data provided has been derived by following the guidance in the Annual Review technical guidance document |  |  |  | [Digital signature is acceptable]
Data provided has been assured and signed off by the appropriate governance group/individual
Data that has been provided is factually accurate and consistent with metrics reported through other performance assessment processes

## AR outturn data template
WRMP ANNUAL REVIEW DATA TEMPLATE - WATER BALANCE COMPONENTS
Water company: | Anglian Water
Number of resource zones: | 28
Year of data submission: | 2023/24
Reporting against WRMP: | WRMP19 (with leakage forecast updated using the Ofwat convergent methodology)
Scenario: | Outturn
(Delete/insert columns appropriate to the number of resource zones)
Row numbering in line with WRMP structure | Component | Derivation and type of data | Units | DP | Data requirement | Bourne | Bury Haverhill | Central Essex | Central Lincolnshire | Chevely | East Lincolnshire | East Suffolk | Ely | Happisburgh | Hartlepool | Ixworth | Newmarket | North Fenland | North Norfolk Coast | North Norfolk Rural | Norwich and the Broads | Nottinghamshire | Ruthamford Central | Ruthamford North | Ruthamford South | Ruthamford West | South Essex | South Fenland | South Lincolnshire | South Norfolk Rural | Sudbury | Thetford | Water company total data | South Humber Bank | Page or section reference in AR narrative or report | Notes on data provided
SUPPLY
Resources
1AR | Raw water abstracted | Input outturn data | Ml/d | 2dp | Required | 37.8207 | 28.7938 | 9.5991 | 138.6828 | 1.5552 | 130.7723 | 72.0201 | 21.9419 | 2.4441 | 36.2075 | 6.289 | 12.0282 | 19.2696 | 21.5226 | 25.7104 | 74.7663 | 20.3849 | 0.0006612 | 297.8055 | 276.5314 | 0 | 66.1451 | 44.3916 | 12.4631 | 12.8623 | 7.3224 | 10.7014 | 1388.0322
2.1AR | Internal raw water imported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.2779 | 0 | 0 | 0 | 16.2779
3.1AR | Internal potable water imported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp | Required | 6.7685 | 2.5753 | 0 | 8.6289 | 0.11411 | 0 | 0 | 0 | 2.2243 | 0 | 0 | 0 | 0 | 0.43685 | 0.68052 | 0 | 0 | 74.215 | 42.3487 | 0 | 61.9141 | 0 | 0 | 0 | 0.13595 | 0.21753 | 0 | 200.2598
5.2AR | Internal raw water exported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.2779 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.2779
6.1AR | Internal potable water exported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp | Required | 0 | 0.21753 | 0 | 0 | 0 | 11.5114 | 0 | 0 | 0.43685 | 0 | 1.3374 | 0.11411 | 0 | 0 | 0.13595 | 2.9014 | 0 | 0 | 65.7181 | 77.3296 | 39.234 | 0 | 0 | 0.081967 | 0.003466 | 0 | 1.2379 | 200.2598
2.2AR | External raw water imported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.2AR | External potable water imported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.16574 | 0.2822 | 0.21619 | 0.070896 | 0.47624 | 0 | 2.1639 | 0 | 0 | 0.25064 | 0 | 0.058762 | 3.6845
5.3AR | External raw water exported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8677 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8677
6.2AR | External potable water exported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp | If applicable | 0.055652 | 0 | 0.0084285 | 0.1033 |  | 0.01908 | 0.15977 | 0.011912 | 0.010858 | 0.32168 | 0.023576 | 0.020353 | 0.055898 | 0 | 0.044595 | 0.37143 | 0.063866 | 1.2932 | 18 | 84.23 | 0.16972 | 1.2328 | 0.010047 | 0.13376 |  | 0.042312 | 0.069345 | 106.4516
5.1AR | Non potable water supplied | Input outturn data | Ml/d | 2dp | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 44.35
7AR | Deployable output (please include and reflect the changes to DO, the sum of 8.1, 8.2 and 8.3, in the WRMP19 tables) | Input dry year figure | Ml/d | 2dp | Required | 57.12 | 28.56 | 10.08 | 128.48 | 1.73 | 137.55 | 80.28 | 24.36 | 4.14 | 36.84 | 6.2 | 16.19 | 38.3 | 27.05 | 27.59 | 85.63 | 23.1 | 0 | 316.51 | 279.72 | 0 | 70.05 | 34.29 | 17.26 | 15.75 | 10.5 | 12.75 | 1490.03 | 57 | Section 2.0
12AR | Water Available For Use (own sources) | (Deployable Output + changes to DO) - (Treatment works losses and operational use + outage experienced). | Ml/d | 2dp | Required | 50.102 | 28.1119 | 9.9704 | 126.68 | 1.73 | 130.5996 | 78.3886 | 24.179 | 4.051 | 36.84 | 6.2 | 16.1175 | 38.3 | 27.05 | 27.5043 | 81.0041 | 22.2493 | -0.0006612 | 289.1343 | 230.8286 | 0 | 62.6959 | 29.8137 | 16.7406 | 15.75 | 10.428 | 12.6503 | 1377.1184 | 57 | Section 2.0
13AR | Total Water Available For Use | WAFU own sources + (total water imported) - (total water exported). Total WAFU is based on external transfers reported as the most challenging scenario for contractual volumes as stated in Appendix 1 of the technical annex and internal transfers reported as outturn volumes. | Ml/d | 2dp | Required | 56.8149 | 30.4697 | 9.9619 | 135.2056 | 1.8441 | 119.0692 | 78.2288 | 24.167 | 5.8276 | 34.6506 | 4.839 | 15.983 | 38.2441 | 27.4868 | 28.0042 | 77.897 | 22.4676 | 73.1373 | 231.558 | 69.7452 | 22.5103 | 63.6271 | 29.8036 | 32.8027 | 16.1331 | 10.6032 | 11.4018 | 1272.4836 | 57 | Section 2.0
Process Losses
9AR | Raw water losses, treatment works losses and operational use | Input outturn data | Ml/d | 2dp | Required | 0.10795 | 0.44808 | 0.10965 | 0 | 0 | 6.3204 | 1.8914 | 0.18104 | 0.088982 | 0 | 0 | 0.0725 | 0 | 0 | 0.08574 | 4.6259 | 0.85073 | 0.0006612 | 27.3757 | 36.0514 | 0 | 7.3541 | 4.4763 | 0.51945 | 0 | 0.072008 | 0.099698 | 90.7316 |  | Section 2.3
10AR | Total outage experienced | Input outturn data | Ml/d | 2dp | Required | 6.91 | 0 | 0 | 1.8 | 0 | 0.63 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22.18 |  | Section 2.2
10.1AR | Unplanned outage | Input outturn data (10.1AR and 10.2AR should add together to make 10AR) | Ml/d | 2dp | Optional | 2.05 | 0 | 0 | 1.26 | 0 | 0.63 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.94 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.88 |  | Section 2.2
10.2AR | Planned outage | Input outturn data (10.1AR and 10.2AR should add together to make 10AR) | Ml/d | 2dp | Optional | 4.86 | 0 | 0 | 0.54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.3 |  | Section 2.2
DEMAND
11AR | Distribution input (in reporting year) | Outturn data for: Total household and non-household consumption + water taken unbilled + distribution system operational losses + total leakage | Ml/d | 2dp | Required | 43.9731 | 30.7237 | 9.5918 | 99.9415 | 1.729 | 109.1824 | 69.3173 | 21.2698 | 3.9675 | 28.1684 | 4.9555 | 11.709 | 25.4466 | 21.2836 | 25.2636 | 64.9449 | 19.3118 | 71.7729 | 210.5918 | 108.3504 | 22.2827 | 58.5672 | 33.1511 | 26.8793 | 12.7013 | 7.4194 | 9.2599 | 1151.7554 |  | Section 3
12.1AR | Non potable water demand/consumption | Input outturn data | Ml/d | 2dp | If applicable | [28 empty] | 44.35
Consumption
23AR | Measured non household - consumption | Input outturn data | Ml/d | 2dp | Required | 15.1428 | 8.0138 | 0.98022 | 35.3659 | 0.50789 | 36.7024 | 13.8012 | 3.5863 | 0.82453 | 9.4578 | 0.80786 | 2.5723 | 8.8197 | 4.8439 | 5.0559 | 13.0477 | 4.5028 | 17.9049 | 53.2458 | 22.3197 | 6.5387 | 11.1628 | 12.3623 | 7.2856 | 4.4282 | 1.1404 | 3.6897 | 304.111 |  | Section 3
24AR | Unmeasured non household - consumption | Input outturn data | Ml/d | 2dp | Required | 0.06782 | 0.033789 | 0.012264 | 0.15982 | 0.004623 | 0.21376 | 0.11496 | 0.04497 | 0.0075588 | 0.1194 | 0.0081601 | 0.020522 | 0.073804 | 0.087823 | 0.035453 | 0.12103 | 0.030471 | 0.057741 | 0.34174 | 0.16432 | 0.024894 | 0.05275 | 0.027881 | 0.043752 | 0.018462 | 0.01959 | 0.016146 | 1.9235 |  | Section 3
25AR | Measured household - consumption | Input outturn data | Ml/d | 2dp | Required | 16.7626 | 13.5852 | 3.3768 | 35.262 | 0.50256 | 36.0664 | 34.8091 | 9.4318 | 1.8023 | 5.3702 | 2.6545 | 5.1652 | 9.135 | 9.3407 | 11.8896 | 33.9082 | 7.5031 | 38.7843 | 105.8619 | 55.5561 | 9.9521 | 28.292 | 10.5109 | 11.3004 | 4.4333 | 3.6286 | 3.2998 | 508.1846 |  | Section 3
26AR | Unmeasured household - consumption | Input outturn data | Ml/d | 2dp | Required | 3.9531 | 2.2839 | 2.1033 | 12.5647 | 0.19677 | 10.8487 | 7.7118 | 1.8337 | 0.59602 | 8.1264 | 0.5853 | 1.0781 | 2.5596 | 3.0217 | 2.6548 | 9.2394 | 3.6088 | 5.8252 | 19.3921 | 11.4016 | 1.9274 | 5.9785 | 4.1847 | 2.6515 | 1.5932 | 0.97349 | 0.89202 | 127.7858 |  | Section 3
29AR | Measured household - pcc | Outturn data: (Measured household consumption * 1,000,000) / (measured household population * 1,000) | l/h/d | 0dp | Required | 119.0428 | 128.1069 | 113.8282 | 118.913 | 122.3133 | 113.8506 | 117.5146 | 119.0592 | 126.5323 | 124.4439 | 124.6484 | 126.7276 | 118.6338 | 122.2937 | 112.9031 | 117.8971 | 134.2115 | 128.4887 | 120.0972 | 124.4965 | 126.127 | 123.8886 | 123.1165 | 114.2338 | 108.4661 | 126.9716 | 105.5669 | 120.6264 |  | Section 3 | 120.6264
30AR | Unmeasured household - pcc | Outturn data: (Unmeasured household consumption * 1,000,000) / (Unmeasured household population * 1,000) | l/h/d | 0dp | Required | 190.7111 | 175.7609 | 241.6623 | 154.8682 | 157.4836 | 141.337 | 181.6848 | 156.4123 | 215.4454 | 164.8576 | 189.0039 | 160.1553 | 186.95 | 222.4423 | 181.5485 | 136.5229 | 177.7501 | 175.3724 | 146.5037 | 188.1446 | 196.494 | 164.6226 | 203.4824 | 186.0607 | 193.8599 | 208.3649 | 174.4529 | 165.3911 |  | Section 3 | 165.3911
31AR | Average household - pcc | Outturn data: (Measured and unmeasured household consumption * 1,000,000) / (measured and unmeasured household population * 1,000) | l/h/d | 0dp | Required | 128.239 | 133.3087 | 142.826 | 126.637 | 130.5145 | 119.2116 | 125.5575 | 123.8743 | 140.9925 | 145.9928 | 132.8187 | 131.4659 | 128.947 | 137.4158 | 121.2731 | 121.4451 | 145.8108 | 133.1364 | 123.5448 | 132.1064 | 133.9072 | 129.4776 | 138.7175 | 123.2781 | 122.7614 | 138.4084 | 115.2512 | 127.5638 |  | Section 3 | 127.5638
32AR | Water taken unbilled | Input outturn data | Ml/d | 2dp | Required | 0.69746 | 0.47227 | 0.10892 | 1.5681 | 0.021838 | 1.7116 | 1.1591 | 0.374 | 0.088116 | 0.20891 | 0.080302 | 0.18447 | 0.4254 | 0.42232 | 0.44434 | 1.3716 | 0.32039 | 1.3158 | 3.6337 | 1.9097 | 0.38696 | 0.98441 | 0.47282 | 0.49144 | 0.21197 | 0.12363 | 0.14833 | 19.3379 |  | Section 3 | Note subtracted Void uspl to balance QA check
33AR | Distribution system operational use | Input outturn data | Ml/d | 2dp | Required | 0.25724 | 0.16083 | 0.039487 | 0.57465 | 0.0074133 | 0.60091 | 0.38036 | 0.13994 | 0.031316 | 1.4461 | 0.025523 | 0.062071 | 0.15162 | 0.12766 | 0.15057 | 0.4752 | 0.11264 | 0.46637 | 1.4249 | 0.68668 | 0.13256 | 0.36336 | 0.18491 | 0.17239 | 0.07265 | 0.039797 | 0.053795 | 8.341 |  | Section 3
Leakage
34AR | Measured non household - uspl | Input outturn data | Ml/d | 2dp | Required | 0.035091 | 0.024429 | 0.0065952 | 0.085877 | 0.0014718 | 0.10648 | 0.062101 | 0.018534 | 0.0054969 | 0.0099753 | 0.0042048 | 0.010282 | 0.024824 | 0.031285 | 0.024332 | 0.074435 | 0.019898 | 0.058297 | 0.17554 | 0.086713 | 0.021644 | 0.044048 | 0.023919 | 0.028466 | 0.013378 | 0.0073526 | 0.0079571 | 1.0126 |  | Section 3
35AR | Unmeasured non-household - uspl | Input outturn data | Ml/d | 2dp | Required | 0.0019712 | 0.0010737 | 0.00046751 | 0.0047611 | 0.00017002 | 0.0066253 | 0.0034812 | 0.0012141 | 0.00018448 | 0.0074038 | 0.00025921 | 0.00063837 | 0.0021135 | 0.0025359 | 0.0010274 | 0.0030648 | 0.00087525 | 0.0015759 | 0.0097325 | 0.0045042 | 0.00071566 | 0.0014909 | 0.00084273 | 0.0011764 | 0.00063489 | 0.00060427 | 0.00047145 | 0.059616 |  | Section 3
36AR | Measured household - uspl | Input outturn data | Ml/d | 2dp | Required | 0.79559 | 0.57921 | 0.14068 | 1.682 | 0.019269 | 1.8192 | 1.5673 | 0.45034 | 0.10001 | 0.15765 | 0.11473 | 0.22242 | 0.48148 | 0.51422 | 0.59396 | 1.7567 | 0.31781 | 1.583 | 4.6368 | 2.4363 | 0.4222 | 1.2145 | 0.45052 | 0.57317 | 0.21907 | 0.16206 | 0.16694 | 23.1771 |  | Section 3
37AR | Unmeasured household - uspl | Input outturn data | Ml/d | 2dp | Required | 0.33345 | 0.20287 | 0.11355 | 1.2297 | 0.015758 | 1.1529 | 0.64107 | 0.19938 | 0.059631 | 0.63068 | 0.04916 | 0.10343 | 0.2371 | 0.24943 | 0.23843 | 1.1928 | 0.34228 | 0.5231 | 1.9648 | 0.95745 | 0.15697 | 0.56326 | 0.31403 | 0.23123 | 0.13141 | 0.07358 | 0.074998 | 11.9824 |  | Section 3
38AR | Void properties - uspl | Input outturn data | Ml/d | 2dp | Required | 0.093779 | 0.060428 | 0.016141 | 0.23337 | 0.0043118 | 0.3035 | 0.16645 | 0.060914 | 0.013691 | 0.014191 | 0.0099231 | 0.030493 | 0.075497 | 0.074395 | 0.069955 | 0.19888 | 0.060715 | 0.19257 | 0.50416 | 0.25536 | 0.045074 | 0.13804 | 0.069357 | 0.074078 | 0.030118 | 0.017033 | 0.019117 | 2.8315 |  | Section 3
39AR | Distribution Losses | Input outturn data | Ml/d | 2dp | Required | 5.8331 | 5.3077 | 2.6964 | 11.2151 | 0.44742 | 19.6632 | 8.8986 | 5.1319 | 0.43846 | 2.6197 | 0.61548 | 2.2602 | 3.4611 | 2.5666 | 4.1055 | 3.5489 | 2.494 | 5.0513 | 19.3861 | 12.5672 | 2.6732 | 9.7753 | 4.552 | 4.0264 | 1.5494 | 1.2336 | 0.89033 | 143.0084 |  | Section 3
40AR | Total leakage | Outturn data: Total USPL + distribution losses | Ml/d | 2dp | Required | 7.0921 | 6.1739 | 2.9708 | 14.4464 | 0.4879 | 23.0386 | 11.3408 | 5.8592 | 0.61765 | 3.4396 | 0.79389 | 2.6263 | 4.2816 | 3.4395 | 5.033 | 6.7817 | 3.2335 | 7.4186 | 26.6917 | 16.3124 | 3.3201 | 11.7334 | 5.4075 | 4.9343 | 1.9435 | 1.4939 | 1.16 | 182.0717 |  | Section 3
CUSTOMERS
Properties
42AR | Measured non-household - properties | Input end of reporting year data | 000's | 3dp | Required | 3.6959 | 2.7136 | 0.8201 | 9.0663 | 0.17974 | 11.3552 | 6.7472 | 1.8383 | 0.4949 | 1.445 | 0.4715 | 1.1369 | 2.5857 | 3.2754 | 2.5372 | 6.9855 | 2.1451 | 5.8343 | 18.8506 | 8.8757 | 2.2605 | 4.5068 | 2.579 | 2.8465 | 1.4605 | 0.8084 | 0.841 | 106.357 |  | Section 3
43AR | Unmeasured non-household - properties | Input end of reporting year data | 000's | 3dp | Required | 0.044167 | 0.025617 | 0.012367 | 0.10865 | 0.0044167 | 0.15547 | 0.080383 | 0.025617 | 0.0035333 | 0.241 | 0.0061833 | 0.015017 | 0.046817 | 0.056533 | 0.022967 | 0.06095 | 0.019433 | 0.033567 | 0.21465 | 0.096283 | 0.0159 | 0.032683 | 0.019433 | 0.024733 | 0.0159 | 0.014133 | 0.0106 | 1.407 |  | Section 3
44AR | Void non households - properties | Input end of reporting year data | 000's | 3dp | Required | 0.80357 | 0.58485 | 0.18025 | 1.9715 | 0.040795 | 2.4838 | 1.4668 | 0.40246 | 0.1058 | 0.437 | 0.10293 | 0.24828 | 0.57423 | 0.7253 | 0.54609 | 1.5018 | 0.46171 | 1.2412 | 4.0905 | 1.9224 | 0.48308 | 0.96387 | 0.55213 | 0.61188 | 0.31637 | 0.17915 | 0.18327 | 23.181 |  | Section 3
45AR | Measured household - properties (excl. voids) | Input end of reporting year data | 000's | 3dp | Required | 62.9482 | 47.5429 | 12.4069 | 132.3731 | 1.6799 | 147.0054 | 126.8498 | 34.209 | 7.1021 | 21.63 | 9.464 | 18.1792 | 37.8278 | 40.3031 | 46.712 | 128.5448 | 25.51 | 120.7445 | 368.2446 | 188.1019 | 33.2162 | 94.4957 | 36.2461 | 43.7884 | 17.9283 | 13.1952 | 13.2397 | 1829.489 |  | Section 3
45.7AR | Measured household void properties | Input end of reporting year data | 000's | 3dp | Required | 1.2046 | 0.86081 | 0.19925 | 2.8859 | 0.067719 | 4.0253 | 2.3793 | 0.86471 | 0.15627 | 0.617 | 0.12762 | 0.43887 | 0.96108 | 0.89336 | 0.97931 | 2.4105 | 0.82304 | 2.8286 | 7.1026 | 3.6125 | 0.5144 | 2.0055 | 0.91811 | 0.94806 | 0.36724 | 0.22399 | 0.25134 | 38.667 |  | Section 3
46AR | Unmeasured household - properties (excl. voids) | Input end of reporting year data | 000's | 3dp | Required | 7.7476 | 4.9947 | 3.1148 | 29.2425 | 0.42451 | 28.3763 | 15.3674 | 4.3626 | 1.1843 | 20.529 | 1.2161 | 2.5231 | 5.4569 | 5.7485 | 5.4801 | 24.6861 | 8.0229 | 11.5553 | 45.5335 | 21.6707 | 3.6165 | 12.738 | 7.45 | 5.1319 | 3.0925 | 1.7847 | 1.7486 | 282.799 |  | Section 3
47AR | Unmeasured household void properties | Input end of reporting year data | 000's | 3dp | Required | 0.2252 | 0.067664 | 0.066607 | 0.70519 | 0.0095153 | 0.9547 | 0.23788 | 0.098325 | 0.016916 | 0.86 | 0.020088 | 0.072951 | 0.2474 | 0.14379 | 0.11947 | 0.32035 | 0.20722 | 0.25797 | 0.9029 | 0.38484 | 0.06555 | 0.23154 | 0.21991 | 0.12158 | 0.060264 | 0.019031 | 0.021145 | 6.658 |  | Section 3
48AR | Total resource zone properties (inc voids) | End of reporting year data : Total non-household properties + total void non-household properties + total household properties + total void household properties | 000's | 3dp | Required | 76.6692 | 56.7901 | 16.8003 | 176.3531 | 2.4066 | 194.3562 | 153.1287 | 41.8011 | 9.0639 | 45.759 | 11.4084 | 22.6143 | 47.7 | 51.146 | 56.3971 | 164.51 | 37.1894 | 142.4954 | 444.9395 | 224.6643 | 40.1722 | 114.9741 | 47.9847 | 53.4731 | 23.241 | 16.2246 | 16.2957 | 2288.558 |  | Section 3
Population
49AR | Measured non-household - population | Input end of reporting year data | 000's | 3dp | Required | 2.7016 | 1.9836 | 0.59948 | 6.6273 | 0.13139 | 8.3005 | 4.9321 | 1.3438 | 0.36177 | 0.76725 | 0.34466 | 0.83109 | 1.8901 | 2.3943 | 1.8547 | 5.1063 | 1.5681 | 4.2648 | 13.7796 | 6.488 | 1.6524 | 3.2944 | 1.8852 | 2.0808 | 1.0676 | 0.59093 | 0.61476 | 77.4565 |  | Section 3
50AR | Unmeasured non-household - population | Input end of reporting year data | 000's | 3dp | Required | 0.038429 | 0.022289 | 0.01076 | 0.094535 | 0.0038429 | 0.13527 | 0.069941 | 0.022289 | 0.0030743 | 0.12796 | 0.0053801 | 0.013066 | 0.040735 | 0.049189 | 0.019983 | 0.053032 | 0.016909 | 0.029206 | 0.18676 | 0.083775 | 0.013834 | 0.028437 | 0.016909 | 0.02152 | 0.013834 | 0.012297 | 0.009223 | 1.1425 |  | Section 3
51AR | Measured household - population | Input end of reporting year data | 000's | 3dp | Required | 140.8119 | 106.0459 | 29.6655 | 296.5362 | 4.1088 | 316.787 | 296.2108 | 79.2191 | 14.244 | 43.1534 | 21.2955 | 40.7582 | 77.0015 | 76.3796 | 105.3076 | 287.6088 | 55.9053 | 301.8495 | 881.4689 | 446.246 | 78.9053 | 228.3664 | 85.3739 | 98.9231 | 40.873 | 28.578 | 31.2581 | 4212.8813 |  | Section 3
52AR | Unmeasured household population | Input end of reporting year data | 000's | 3dp | Required | 20.7281 | 12.9943 | 8.7036 | 81.1315 | 1.2495 | 76.7578 | 42.446 | 11.7233 | 2.7665 | 49.2936 | 3.0968 | 6.7316 | 13.6913 | 13.5842 | 14.6232 | 67.6768 | 20.3029 | 33.2159 | 132.366 | 60.6 | 9.8088 | 36.3166 | 20.5654 | 14.2507 | 8.2181 | 4.672 | 5.1133 | 772.6277 |  | Section 3
53AR | Total resource zone population | End of reporting year data: Unmeasured and measured household population + Unmeasured and measured non-household population | 000's | 3dp | Required | 164.2801 | 121.0461 | 38.9794 | 384.3896 | 5.4935 | 401.9806 | 343.6589 | 92.3085 | 17.3753 | 93.3422 | 24.7423 | 48.3339 | 92.6237 | 92.4072 | 121.8055 | 360.4449 | 77.7932 | 339.3594 | 1027.8012 | 513.4178 | 90.3802 | 268.0058 | 107.8414 | 115.2761 | 50.1725 | 33.8532 | 36.9953 | 5064.108 |  | Section 3
Metering
57AR | Total measured household metering penetration (incl. voids) | Outturn data: Measured household properties exc. voids / (measured household properties exc. voids + unmeasured household properties exc. voids) + measured and unmeasured household void properties) | % | 2dp | Required | 87.28% | 88.92% | 78.59% | 80.13% | 77% | 81.51% | 87.58% | 86.53% | 83.95% | 49.57% | 87.4% | 85.69% | 85.02% | 85.59% | 87.65% | 82.42% | 73.81% | 89.19% | 87.31% | 87.99% | 88.78% | 86.32% | 80.84% | 87.59% | 83.59% | 86.68% | 86.76% | 84.79% |  | Section 3 |  | 6.208% | 133.9388
57.1AR | Total households with a meter installed | Input outturn data (See technical annex for guidance) | % | 2dp | Optional | 92.7% | 94.8% | 84.1% | 85.8% | 85.4% | 86.5% | 94.4% | 93.9% | 92.5% | 51% | 93.5% | 91.5% | 92.9% | 92.7% | 94.1% | 88.9% | 85.4% | 96.1% | 93.1% | 94.4% | 95.1% | 91.7% | 89.9% | 92.9% | 92.7% | 93.6% | 93.5% | 91% |  | Section 3
57.2AR | Total numbers of household meters installed | Input outturn data | 000's | 3dp | Required | 50.705 | 13.274 | 141.695 | 1.863 | 156.085 | 136.741 | 37.129 | 7.829 | 22.247 | 10.126 | 19.401 | 41.351 | 43.668 | 50.121 | 138.651 | 29.515 | 130.102 | 392.607 | 201.937 | 35.589 | 100.417 | 40.311 | 46.444 | 19.873 | 14.25 | 14.274 | 14.2211 | 1963.052 |  | Section 3 |  | 149.236
SUPPLY-DEMAND BALANCE
16AR | Target headroom | Input adjusted reporting year figure or DYAA WRMP value | Ml/d | 2dp | Required | 2.2659 | 1.3098 | 0.40289 | 4.2627 | 0.071999 | 4.6644 | 2.9687 | 0.90735 | 0.16958 | 1.2018 | 0.21822 | 0.50598 | 1.1032 | 0.92661 | 1.0929 | 2.8696 | 0.83706 | 3.0762 | 9.0243 | 4.7165 | 0.95948 | 2.5221 | 1.4215 | 1.1583 | 0.54948 | 0.32015 | 0.40867 | 49.9354 | 0.40867 | Section 4.1
18AR | Observed supply-demand balance (in reporting year) | (Total WAFU - DI) - target headroom | Ml/d | 2dp | Required | 10.5759 | -1.5638 | -0.032799 | 31.0014 | 0.043112 | 5.2223 | 5.9429 | 1.9899 | 1.6905 | 5.2803 | -0.33471 | 3.7681 | 11.6942 | 5.2766 | 1.6478 | 10.0824 | 2.3187 | -1.7118 | 11.9419 | -43.3217 | -0.73184 | 2.5377 | -4.7689 | 4.765 | 2.8823 | 2.8637 | 1.7333 | 70.7927 | 56.5913
QA check 1 | Distribution input | 23AR + 24AR + 25AR + 26AR + 32AR + 33AR + 40AR |  |  |  | 7.1054e-15 | -7.1054e-15 | 0 | 0 | 2.2204e-16 | -1.4211e-14 | 0 | 0 | -4.4409e-16 | -3.5527e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.6843e-14 | 0 | 3.5527e-15 | 0 | -7.1054e-15 | 3.5527e-15 | 1.7764e-15 | 8.8818e-16 | 0 | -2.2737e-13
QA check 2 | Water available for use (own sources) | 7AR - (9AR + 10AR) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
QA check 3 | Total WAFU | 12AR + (2.1AR + 3.1AR + 2.2AR + 3.2AR) - (5.2AR + 6.1AR + 5.3AR + 6.2AR) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2737e-13
QA check 4 | Total outage | 10.1AR + 10.2AR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
QA check 5 | Total properties | 42AR + 43AR + 45AR + 45.7AR + 46AR + 47AR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.5475e-13
QA check 6 | Total population | 49AR + 50AR + 51AR + 52AR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.0949e-13
QA check 7 | Household metering | 42AR / (42AR + 43AR + 45.7AR + 47AR) |  |  |  | 2.2204e-16 | 0 | 0 | 0 | 0 | 0 | -1.1102e-16 | 0 | 0 | 0 | 1.1102e-16 | -1.1102e-16 | -1.1102e-16 | 0 | 0 | 0 | -2.2204e-16 | 1.1102e-16 | 1.1102e-16 | -1.1102e-16 | 0 | 1.1102e-16 | 0 | 0 | -1.1102e-16 | -1.1102e-16 | 1.1102e-16 | 1.1102e-16
QA check 8 | Average pcc | ((25AR + 26AR) * 1,000,000) / ((49AR + 50AR) * 1,000)) |  |  |  | 0 | 0 | 2.8422e-14 | 1.4211e-14 | -2.8422e-14 | -1.4211e-14 | -1.4211e-14 | 1.4211e-14 | 0 | 0 | -2.8422e-14 | 0 | 0 | 0 | 2.8422e-14 | 1.4211e-14 | 0 | -2.8422e-14 | -1.4211e-14 | 0 | -2.8422e-14 | 0 | 0 | 0 | 2.8422e-14 | 0 | 1.4211e-14 | 0
QA check 9 | Total leakage | 34AR + 35AR + 36AR + 37AR + 38AR + 39AR |  |  |  | -0.0009087 | -0.0018983 | -0.0030171 | -0.0045338 | -0.00049899 | -0.013288 | 0.0017494 | -0.0031224 | 0.00018095 | 8.9647e-11 | 0.0001274 | -0.0011839 | -0.00054359 | 0.0010097 | -0.00022939 | 0.007038 | -0.0021336 | 0.0088089 | 0.014489 | 0.004769 | 0.0002807 | -0.0031946 | -0.0031568 | -0.00020266 | -0.00044109 | -0.00033304 | 0.00023294 | 1.0232e-10
QA check 10 | Supply-demand balance | (13AR - 11AR) - 16AR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Values returns as zero where calculated value equals input value
For volumetric metrics, QA value will show as red text where calculated value +/- 0.1 Ml/d from entered values.
For population and property QA, value will show as red text where calculated value is +/- 0.01 (10) difference from entered values
[6 empty] | 0.79124 | 0.5327 | 0.12506 | 1.8015 | 0.02615 | 2.0151 | 1.3256 | 0.43491 | 0.10181 | 0.2231 | 0.090225 | 0.21497 | 0.50089 | 0.49672 | 0.51429 | 1.5705 | 0.38111 | 1.5084 | 4.1378 | 2.1651 | 0.43204 | 1.1224 | 0.54217 | 0.56552 | 0.24209 | 0.14066 | 0.16744 | 22.1695
[6 empty] | 0.093779 | 0.060428 | 0.016141 | 0.23337 | 0.0043118 | 0.3035 | 0.16645 | 0.060914 | 0.013691 | 0.014191 | 0.0099231 | 0.030493 | 0.075497 | 0.074395 | 0.069955 | 0.19888 | 0.060715 | 0.19257 | 0.50416 | 0.25536 | 0.045074 | 0.13804 | 0.069357 | 0.074078 | 0.030118 | 0.017033 | 0.019117 | 2.8315
[6 empty] | 0.69746 | 0.47227 | 0.10892 | 1.5681 | 0.021838 | 1.7116 | 1.1591 | 0.374 | 0.088116 | 0.20891 | 0.080302 | 0.18447 | 0.4254 | 0.42232 | 0.44434 | 1.3716 | 0.32039 | 1.3158 | 3.6337 | 1.9097 | 0.38696 | 0.98441 | 0.47282 | 0.49144 | 0.21197 | 0.12363 | 0.14833 | 19.3379 | 0

## DYAA adjusted data template
WRMP ANNUAL REVIEW DATA TEMPLATE - WATER BALANCE COMPONENTS
Water company: | Anglian Water
Number of resource zones: | 28
Year of data submission: | 2023/24
Reporting against WRMP: | WRMP19 (with leakage forecast updated using the Ofwat convergent methodology)
Scenario: | Dry year uplifted/adjusted
(Delete/insert columns appropriate to the number of resource zones)
Row numbering in line with WRMP structure | Component | Derivation and type of data | Units | DP | Data requirement | Bourne | Bury Haverhill | Central Essex | Central Lincolnshire | Chevely | East Lincolnshire | East Suffolk | Ely | Happisburgh | Hartlepool | Ixworth | Newmarket | North Fenland | North Norfolk Coast | North Norfolk Rural | Norwich and the Broads | Nottinghamshire | Ruthamford Central | Ruthamford North | Ruthamford South | Ruthamford West | South Essex | South Fenland | South Lincolnshire | South Norfolk Rural | Sudbury | Thetford | Water company total data | South Humber Bank | Notes on data provided
SUPPLY
Resources
1AR | Raw water abstracted | Input outturn data | Ml/d | 2dp |  | 37.8207 | 28.7938 | 9.5991 | 138.6828 | 1.5552 | 130.7723 | 72.0201 | 21.9419 | 2.4441 | 36.2075 | 6.289 | 12.0282 | 19.2696 | 21.5226 | 25.7104 | 74.7663 | 20.3849 | 0.0006612 | 297.8055 | 276.5314 | 0 | 66.1451 | 44.3916 | 12.4631 | 12.8623 | 7.3224 | 10.7014 | 1388.0322
2.1AR | Internal raw water imported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.2779 | 0 | 0 | 0 | 16.2779
3.1AR | Internal potable water imported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp |  | 0 | 4.639 | 0.1746 | 8.6289 | 0.11411 | 0 | 0 | 0 | 2.2243 | 0 | 1.8 | 0 | 0 | 0.43685 | 0.68052 | 0 | 0 | 77.235 | 42.3487 | 10.82 | 66.0541 | 0 | 5.34 | 0 | 0.13595 | 0.21753 | 0 | 220.8495 | 220.8495 | Transfers adjusted within maximum capacities to balance supply and demand in relevant WRZs
5.2AR | Internal raw water exported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.2779 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.2779
6.1AR | Internal potable water exported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp |  | 0 | 0.21753 | 0 | 0 | 0 | 11.5114 | 0 | 0 | 0.43685 | 0 | 2.715 | 2.03 | 5.34 | 0 | 0.13595 | 2.9014 | 0 | 0 | 73.9096 | 77.3296 | 42.254 | 0.1746 | 0 | 0.081967 | 0.003466 | 0 | 1.8 | 220.8414 | 220.8414 | Transfers adjusted within maximum capacities to balance supply and demand in relevant WRZs
2.2AR | External raw water imported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.2AR | External potable water imported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.16574 | 0.2822 | 0.21619 | 0.070896 | 0.47624 | 0 | 2.1639 | 0 | 0 | 0.25064 | 0 | 0.058762 | 3.6845
5.3AR | External raw water exported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8677 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8677
6.2AR | External potable water exported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp |  | 0.055652 | 0 | 0.0084285 | 0.1033 | 0 | 0.01908 | 0.15977 | 0.011912 | 0.010858 | 0.32168 | 0.023576 | 0.020353 | 0.055898 | 0 | 0.044595 | 0.37143 | 0.063866 | 1.2932 | 18 | 84.23 | 0.16972 | 1.2328 | 0.010047 | 0.13376 | 0 | 0.042312 | 0.069345 | 106.4516
5.1AR | Non potable water supplied | Input outturn data | Ml/d | 2dp |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7AR | Deployable output (please include and reflect the changes to DO, the sum of 8.1, 8.2 and 8.3, in the WRMP19 tables) | Input dry year figure | Ml/d | 2dp | Required | 57.12 | 28.56 | 10.08 | 128.48 | 1.73 | 137.55 | 80.28 | 24.36 | 4.14 | 36.84 | 6.2 | 16.19 | 38.3 | 27.05 | 27.59 | 85.63 | 23.1 | 0 | 316.51 | 300.5914 | 0 | 70.05 | 34.29 | 17.26 | 15.75 | 10.5 | 12.75 | 1510.9014 | 57
12AR | Water Available For Use (own sources) | (Deployable Output + changes to DO) - (Treatment works losses and operational use + outage experienced). | Ml/d | 2dp | Required | 50.102 | 28.1119 | 9.9704 | 126.68 | 1.73 | 130.5996 | 78.3886 | 24.179 | 4.051 | 36.84 | 6.2 | 16.1175 | 38.3 | 27.05 | 27.5043 | 81.0041 | 22.2493 | -0.0006612 | 289.1343 | 251.7 | 0 | 62.6959 | 29.8137 | 16.7406 | 15.75 | 10.428 | 12.6503 | 1397.9898 | 57
13AR | Total Water Available For Use | WAFU own sources + (total water imported) - (total water exported). Total WAFU is based on external transfers reported as maximum contractual volumes as stated in WRMP19 and internal transfers reported as outturn volumes. | Ml/d | 2dp | Required | 50.0464 | 32.5334 | 10.1365 | 135.2056 | 1.8441 | 119.0692 | 78.2288 | 24.167 | 5.8276 | 34.6506 | 5.2614 | 14.0671 | 32.9041 | 27.4868 | 28.0042 | 77.897 | 22.4676 | 76.1573 | 223.3665 | 101.4366 | 23.6303 | 63.4525 | 35.1436 | 32.8027 | 16.1331 | 10.6032 | 10.8397 | 1293.3631 | 57
Process Losses
9AR | Raw water losses, treatment works losses and operational use | Input outturn data | Ml/d | 2dp | Required | 0.10795 | 0.44808 | 0.10965 | 0 | 0 | 6.3204 | 1.8914 | 0.18104 | 0.088982 | 0 | 0 | 0.0725 | 0 | 0 | 0.08574 | 4.6259 | 0.85073 | 0.0006612 | 27.3757 | 36.0514 | 0 | 7.3541 | 4.4763 | 0.51945 | 0 | 0.072008 | 0.099698 | 90.7316
10AR | Total outage experienced | Input outturn data | Ml/d | 2dp | Required | 6.91 | 0 | 0 | 1.8 | 0 | 0.63 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22.18
10.1AR | Unplanned outage | Input outturn data (10.1AR and 10.2AR should add together to make 10AR) | Ml/d | 2dp |  | 2.05 | 0 | 0 | 1.26 | 0 | 0.63 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.94 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.88
10.2AR | Planned outage | Input outturn data (10.1AR and 10.2AR should add together to make 10AR) | Ml/d | 2dp |  | 4.86 | 0 | 0 | 0.54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.3
DEMAND
11AR | Distribution input (in reporting year) | Outturn data for: Total household and non-household consumption + water taken unbilled + distribution system operational losses + total leakage | Ml/d | 2dp | Required | 44.7248 | 31.2227 | 9.732 | 101.6971 | 1.7546 | 110.9459 | 70.5049 | 21.585 | 4.0368 | 28.6922 | 5.0408 | 11.8946 | 25.8795 | 21.6521 | 25.6781 | 66.1427 | 19.647 | 73.0809 | 214.3393 | 110.2324 | 22.6687 | 59.5257 | 33.721 | 27.3281 | 12.9223 | 7.5415 | 9.425 | 1171.6155 | 0
12.1AR | Non potable water demand/consumption | Input outturn data | Ml/d | 2dp |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 172.8474 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 44.35
Consumption
23AR | Measured non household - consumption | Input outturn data | Ml/d | 2dp | Required | 15.4445 | 8.1735 | 0.99975 | 36.0705 | 0.51801 | 37.4337 | 14.0761 | 3.6577 | 0.84096 | 9.6462 | 0.82395 | 2.6236 | 8.9954 | 4.9404 | 5.1566 | 13.3077 | 4.5925 | 18.2616 | 54.3067 | 22.7644 | 6.669 | 11.3852 | 12.6086 | 7.4307 | 4.5164 | 1.1631 | 3.7632 | 310.1701 | 0
24AR | Unmeasured non household - consumption | Input outturn data | Ml/d | 2dp | Required | 0.069172 | 0.034462 | 0.012509 | 0.163 | 0.0047151 | 0.21802 | 0.11725 | 0.045866 | 0.0077094 | 0.12178 | 0.0083226 | 0.020931 | 0.075274 | 0.089573 | 0.036159 | 0.12344 | 0.031078 | 0.058891 | 0.34855 | 0.1676 | 0.02539 | 0.053801 | 0.028436 | 0.044623 | 0.018829 | 0.01998 | 0.016467 | 1.9618 | 0
25AR | Measured household - consumption | Input outturn data | Ml/d | 2dp | Required | 17.0966 | 13.8559 | 3.4441 | 35.9646 | 0.51257 | 36.785 | 35.5026 | 9.6197 | 1.8382 | 5.4772 | 2.7073 | 5.2681 | 9.317 | 9.5268 | 12.1265 | 34.5838 | 7.6526 | 39.557 | 107.9711 | 56.663 | 10.1504 | 28.8557 | 10.7204 | 11.5255 | 4.5217 | 3.7009 | 3.3656 | 518.3097 | 0
26AR | Unmeasured household - consumption | Input outturn data | Ml/d | 2dp | Required | 4.0468 | 2.338 | 2.1532 | 12.8626 | 0.20144 | 11.1059 | 7.8946 | 1.8771 | 0.61015 | 8.3191 | 0.59918 | 1.1037 | 2.6203 | 3.0933 | 2.7178 | 9.4585 | 3.6944 | 5.9633 | 19.8519 | 11.6719 | 1.9731 | 6.1203 | 4.2839 | 2.7144 | 1.6309 | 0.99657 | 0.91317 | 130.8154 | 0
29AR | Measured household - pcc | Outturn data: (Measured household consumption * 1,000,000) / (measured household population * 1,000) | l/h/d | 0dp | Required | 121.4146 | 130.6593 | 116.0961 | 121.2823 | 124.7503 | 116.119 | 119.856 | 121.4313 | 129.0533 | 126.9234 | 127.1319 | 129.2525 | 120.9974 | 124.7303 | 115.1526 | 120.2461 | 136.8855 | 131.0487 | 122.49 | 126.977 | 128.64 | 126.3569 | 125.5695 | 116.5098 | 110.6272 | 129.5014 | 107.6702 | 123.0298 | 0
30AR | Unmeasured household - pcc | Outturn data: (Unmeasured household consumption * 1,000,000) / (Unmeasured household population * 1,000) | l/h/d | 0dp | Required | 195.2325 | 179.9279 | 247.3917 | 158.5398 | 161.2173 | 144.6879 | 185.9923 | 160.1206 | 220.5533 | 168.7661 | 193.4849 | 163.9524 | 191.3823 | 227.7161 | 185.8527 | 139.7596 | 181.9642 | 179.5302 | 149.9771 | 192.6052 | 201.1526 | 168.5256 | 208.3066 | 190.4719 | 198.4561 | 213.3049 | 178.5889 | 169.3123 | 0
31AR | Average household - pcc | Outturn data: (Measured and unmeasured household consumption * 1,000,000) / (measured and unmeasured household population * 1,000) | l/h/d | 0dp | Required | 130.8866 | 136.0374 | 145.8791 | 129.286 | 133.2539 | 121.6911 | 128.1453 | 126.4187 | 143.9342 | 149.2343 | 135.5558 | 134.1712 | 131.6229 | 140.2808 | 123.7731 | 123.9632 | 148.8951 | 135.8548 | 126.0787 | 134.8237 | 136.6574 | 132.1428 | 141.6308 | 125.823 | 125.3302 | 141.2768 | 117.6403 | 130.2024 | 0
32AR | Water taken unbilled | Input outturn data | Ml/d | 2dp | Required | 0.71323 | 0.48289 | 0.11141 | 1.604 | 0.022359 | 1.7518 | 1.1855 | 0.38266 | 0.090145 | 0.21335 | 0.0821 | 0.18876 | 0.43538 | 0.43222 | 0.45458 | 1.4029 | 0.32799 | 1.3459 | 3.7161 | 1.9529 | 0.39557 | 1.0068 | 0.48362 | 0.50271 | 0.2168 | 0.12643 | 0.15166 | 19.7796 | 0 | Note subtracted Void uspl to balance QA check
33AR | Distribution system operational use | Input outturn data | Ml/d | 2dp | Required | 0.26237 | 0.16403 | 0.040273 | 0.5861 | 0.007561 | 0.61288 | 0.38794 | 0.14273 | 0.03194 | 1.4749 | 0.026031 | 0.063307 | 0.15464 | 0.1302 | 0.15357 | 0.48467 | 0.11489 | 0.47566 | 1.4533 | 0.70036 | 0.1352 | 0.3706 | 0.18859 | 0.17583 | 0.074098 | 0.040589 | 0.054867 | 8.5071 | 0
Leakage
34AR | Measured non household - uspl | Input outturn data | Ml/d | 2dp |  | 0.035091 | 0.024429 | 0.0065952 | 0.085877 | 0.0014718 | 0.10648 | 0.062101 | 0.018534 | 0.0054969 | 0.0099753 | 0.0042048 | 0.010282 | 0.024824 | 0.031285 | 0.024332 | 0.074435 | 0.019898 | 0.058297 | 0.17554 | 0.086713 | 0.021644 | 0.044048 | 0.023919 | 0.028466 | 0.013378 | 0.0073526 | 0.0079571 | 1.0126 | 0
35AR | Unmeasured non-household - uspl | Input outturn data | Ml/d | 2dp |  | 0.0019712 | 0.0010737 | 0.00046751 | 0.0047611 | 0.00017002 | 0.0066253 | 0.0034812 | 0.0012141 | 0.00018448 | 0.0074038 | 0.00025921 | 0.00063837 | 0.0021135 | 0.0025359 | 0.0010274 | 0.0030648 | 0.00087525 | 0.0015759 | 0.0097325 | 0.0045042 | 0.00071566 | 0.0014909 | 0.00084273 | 0.0011764 | 0.00063489 | 0.00060427 | 0.00047145 | 0.059616 | 0
36AR | Measured household - uspl | Input outturn data | Ml/d | 2dp |  | 0.79559 | 0.57921 | 0.14068 | 1.682 | 0.019269 | 1.8192 | 1.5673 | 0.45034 | 0.10001 | 0.15765 | 0.11473 | 0.22242 | 0.48148 | 0.51422 | 0.59396 | 1.7567 | 0.31781 | 1.583 | 4.6368 | 2.4363 | 0.4222 | 1.2145 | 0.45052 | 0.57317 | 0.21907 | 0.16206 | 0.16694 | 23.1771 | 0
37AR | Unmeasured household - uspl | Input outturn data | Ml/d | 2dp |  | 0.33345 | 0.20287 | 0.11355 | 1.2297 | 0.015758 | 1.1529 | 0.64107 | 0.19938 | 0.059631 | 0.63068 | 0.04916 | 0.10343 | 0.2371 | 0.24943 | 0.23843 | 1.1928 | 0.34228 | 0.5231 | 1.9648 | 0.95745 | 0.15697 | 0.56326 | 0.31403 | 0.23123 | 0.13141 | 0.07358 | 0.074998 | 11.9824 | 0
38AR | Void properties - uspl | Input outturn data | Ml/d | 2dp |  | 0.093779 | 0.060428 | 0.016141 | 0.23337 | 0.0043118 | 0.3035 | 0.16645 | 0.060914 | 0.013691 | 0.014191 | 0.0099231 | 0.030493 | 0.075497 | 0.074395 | 0.069955 | 0.19888 | 0.060715 | 0.19257 | 0.50416 | 0.25536 | 0.045074 | 0.13804 | 0.069357 | 0.074078 | 0.030118 | 0.017033 | 0.019117 | 2.8315 | 0
39AR | Distribution Losses | Input outturn data | Ml/d | 2dp | Required | 5.8331 | 5.3077 | 2.6964 | 11.2151 | 0.44742 | 19.6632 | 8.8986 | 5.1319 | 0.43846 | 2.6197 | 0.61548 | 2.2602 | 3.4611 | 2.5666 | 4.1055 | 3.5489 | 2.494 | 5.0513 | 19.3861 | 12.5672 | 2.6732 | 9.7753 | 4.552 | 4.0264 | 1.5494 | 1.2336 | 0.89033 | 143.0084 | 0
40AR | Total leakage | Outturn data: Total USPL + distribution losses | Ml/d | 2dp | Required | 7.0921 | 6.1739 | 2.9708 | 14.4464 | 0.4879 | 23.0386 | 11.3408 | 5.8592 | 0.61765 | 3.4396 | 0.79389 | 2.6263 | 4.2816 | 3.4395 | 5.033 | 6.7817 | 3.2335 | 7.4186 | 26.6917 | 16.3124 | 3.3201 | 11.7334 | 5.4075 | 4.9343 | 1.9435 | 1.4939 | 1.16 | 182.0717 | 0
CUSTOMERS
Properties
42AR | Measured non-household - properties | Input end of reporting year data | 000's | 3dp |  | 3.6959 | 2.7136 | 0.8201 | 9.0663 | 0.17974 | 11.3552 | 6.7472 | 1.8383 | 0.4949 | 1.445 | 0.4715 | 1.1369 | 2.5857 | 3.2754 | 2.5372 | 6.9855 | 2.1451 | 5.8343 | 18.8506 | 8.8757 | 2.2605 | 4.5068 | 2.579 | 2.8465 | 1.4605 | 0.8084 | 0.841 | 106.357 | 0
43AR | Unmeasured non-household - properties | Input end of reporting year data | 000's | 3dp |  | 0.044167 | 0.025617 | 0.012367 | 0.10865 | 0.0044167 | 0.15547 | 0.080383 | 0.025617 | 0.0035333 | 0.241 | 0.0061833 | 0.015017 | 0.046817 | 0.056533 | 0.022967 | 0.06095 | 0.019433 | 0.033567 | 0.21465 | 0.096283 | 0.0159 | 0.032683 | 0.019433 | 0.024733 | 0.0159 | 0.014133 | 0.0106 | 1.407 | 0
44AR | Void non households - properties | Input end of reporting year data | 000's | 3dp |  | 0.80357 | 0.58485 | 0.18025 | 1.9715 | 0.040795 | 2.4838 | 1.4668 | 0.40246 | 0.1058 | 0.437 | 0.10293 | 0.24828 | 0.57423 | 0.7253 | 0.54609 | 1.5018 | 0.46171 | 1.2412 | 4.0905 | 1.9224 | 0.48308 | 0.96387 | 0.55213 | 0.61188 | 0.31637 | 0.17915 | 0.18327 | 23.181 | 0
45AR | Measured household - properties (excl. voids) | Input end of reporting year data | 000's | 3dp |  | 62.9482 | 47.5429 | 12.4069 | 132.3731 | 1.6799 | 147.0054 | 126.8498 | 34.209 | 7.1021 | 21.63 | 9.464 | 18.1792 | 37.8278 | 40.3031 | 46.712 | 128.5448 | 25.51 | 120.7445 | 368.2446 | 188.1019 | 33.2162 | 94.4957 | 36.2461 | 43.7884 | 17.9283 | 13.1952 | 13.2397 | 1829.489 | 0
45.7AR | Measured household void properties | Input end of reporting year data | 000's | 3dp |  | 1.2046 | 0.86081 | 0.19925 | 2.8859 | 0.067719 | 4.0253 | 2.3793 | 0.86471 | 0.15627 | 0.617 | 0.12762 | 0.43887 | 0.96108 | 0.89336 | 0.97931 | 2.4105 | 0.82304 | 2.8286 | 7.1026 | 3.6125 | 0.5144 | 2.0055 | 0.91811 | 0.94806 | 0.36724 | 0.22399 | 0.25134 | 38.667 | 0
46AR | Unmeasured household - properties (excl. voids) | Input end of reporting year data | 000's | 3dp |  | 7.7476 | 4.9947 | 3.1148 | 29.2425 | 0.42451 | 28.3763 | 15.3674 | 4.3626 | 1.1843 | 20.529 | 1.2161 | 2.5231 | 5.4569 | 5.7485 | 5.4801 | 24.6861 | 8.0229 | 11.5553 | 45.5335 | 21.6707 | 3.6165 | 12.738 | 7.45 | 5.1319 | 3.0925 | 1.7847 | 1.7486 | 282.799 | 0
47AR | Unmeasured household void properties | Input end of reporting year data | 000's | 3dp |  | 0.2252 | 0.067664 | 0.066607 | 0.70519 | 0.0095153 | 0.9547 | 0.23788 | 0.098325 | 0.016916 | 0.86 | 0.020088 | 0.072951 | 0.2474 | 0.14379 | 0.11947 | 0.32035 | 0.20722 | 0.25797 | 0.9029 | 0.38484 | 0.06555 | 0.23154 | 0.21991 | 0.12158 | 0.060264 | 0.019031 | 0.021145 | 6.658 | 0
48AR | Total resource zone properties (inc voids) | End of reporting year data : Total non-household properties + total void non-household properties + total household properties + total void household properties | 000's | 3dp |  | 76.6692 | 56.7901 | 16.8003 | 176.3531 | 2.4066 | 194.3562 | 153.1287 | 41.8011 | 9.0639 | 45.759 | 11.4084 | 22.6143 | 47.7 | 51.146 | 56.3971 | 164.51 | 37.1894 | 142.4954 | 444.9395 | 224.6643 | 40.1722 | 114.9741 | 47.9847 | 53.4731 | 23.241 | 16.2246 | 16.2957 | 2288.558 | 0
Population
49AR | Measured non-household - population | Input end of reporting year data | 000's | 3dp |  | 2.7016 | 1.9836 | 0.59948 | 6.6273 | 0.13139 | 8.3005 | 4.9321 | 1.3438 | 0.36177 | 0.76725 | 0.34466 | 0.83109 | 1.8901 | 2.3943 | 1.8547 | 5.1063 | 1.5681 | 4.2648 | 13.7796 | 6.488 | 1.6524 | 3.2944 | 1.8852 | 2.0808 | 1.0676 | 0.59093 | 0.61476 | 77.4565 | 0
50AR | Unmeasured non-household - population | Input end of reporting year data | 000's | 3dp |  | 0.038429 | 0.022289 | 0.01076 | 0.094535 | 0.0038429 | 0.13527 | 0.069941 | 0.022289 | 0.0030743 | 0.12796 | 0.0053801 | 0.013066 | 0.040735 | 0.049189 | 0.019983 | 0.053032 | 0.016909 | 0.029206 | 0.18676 | 0.083775 | 0.013834 | 0.028437 | 0.016909 | 0.02152 | 0.013834 | 0.012297 | 0.009223 | 1.1425 | 0
51AR | Measured household - population | Input end of reporting year data | 000's | 3dp |  | 140.8119 | 106.0459 | 29.6655 | 296.5362 | 4.1088 | 316.787 | 296.2108 | 79.2191 | 14.244 | 43.1534 | 21.2955 | 40.7582 | 77.0015 | 76.3796 | 105.3076 | 287.6088 | 55.9053 | 301.8495 | 881.4689 | 446.246 | 78.9053 | 228.3664 | 85.3739 | 98.9231 | 40.873 | 28.578 | 31.2581 | 4212.8813 | 0
52AR | Unmeasured household population | Input end of reporting year data | 000's | 3dp |  | 20.7281 | 12.9943 | 8.7036 | 81.1315 | 1.2495 | 76.7578 | 42.446 | 11.7233 | 2.7665 | 49.2936 | 3.0968 | 6.7316 | 13.6913 | 13.5842 | 14.6232 | 67.6768 | 20.3029 | 33.2159 | 132.366 | 60.6 | 9.8088 | 36.3166 | 20.5654 | 14.2507 | 8.2181 | 4.672 | 5.1133 | 772.6277 | 0
53AR | Total resource zone population | End of reporting year data: Unmeasured and measured household population + Unmeasured and measured non-household population | 000's | 3dp |  | 164.2801 | 121.0461 | 38.9794 | 384.3896 | 5.4935 | 401.9806 | 343.6589 | 92.3085 | 17.3753 | 93.3422 | 24.7423 | 48.3339 | 92.6237 | 92.4072 | 121.8055 | 360.4449 | 77.7932 | 339.3594 | 1027.8012 | 513.4178 | 90.3802 | 268.0058 | 107.8414 | 115.2761 | 50.1725 | 33.8532 | 36.9953 | 5064.108 | 0
Metering
57AR | Total measured household metering penetration (incl. voids) | Outturn data: Measured household properties exc. voids / (measured household properties exc. voids + unmeasured household properties exc. voids) + measured and unmeasured household void properties) | % | 2dp |  | 87.28% | 88.92% | 78.59% | 80.13% | 77% | 81.51% | 87.58% | 86.53% | 83.95% | 49.57% | 87.4% | 85.69% | 85.02% | 85.59% | 87.65% | 82.42% | 73.81% | 89.19% | 87.31% | 87.99% | 88.78% | 86.32% | 80.84% | 87.59% | 83.59% | 86.68% | 86.76% | 84.79% | 0
57.1AR | Total households with a meter installed | Input outturn data (See technical annex for guidance) | % | 2dp |  | 92.7% | 94.8% | 84.1% | 85.8% | 85.4% | 86.5% | 94.4% | 93.9% | 92.5% | 51% | 93.5% | 91.5% | 92.9% | 92.7% | 94.1% | 88.9% | 85.4% | 96.1% | 93.1% | 94.4% | 95.1% | 91.7% | 89.9% | 92.9% | 92.7% | 93.6% | 93.5% | 91% | 0
57.2AR | Total numbers of household meters installed | Input outturn data | 000's | 3dp |  | 50.705 | 13.274 | 141.695 | 1.863 | 156.085 | 136.741 | 37.129 | 7.829 | 22.247 | 10.126 | 19.401 | 41.351 | 43.668 | 50.121 | 138.651 | 29.515 | 130.102 | 392.607 | 201.937 | 35.589 | 100.417 | 40.311 | 46.444 | 19.873 | 14.25 | 14.274 | 14.2211 | 1963.052 | 0
SUPPLY-DEMAND BALANCE
16AR | Target headroom | Input adjusted reporting year figure or DYAA WRMP value | Ml/d | 2dp | Required | 2.2659 | 1.3098 | 0.40289 | 4.2627 | 0.071999 | 4.6644 | 2.9687 | 0.90735 | 0.16958 | 1.2018 | 0.21822 | 0.50598 | 1.1032 | 0.92661 | 1.0929 | 2.8696 | 0.83706 | 3.0762 | 9.0243 | 4.7165 | 0.95948 | 2.5221 | 1.4215 | 1.1583 | 0.54948 | 0.32015 | 0.40867 | 49.9354 | 0
18AR | Supply-demand balance (in reporting year) | (Total WAFU - DI) - target headroom | Ml/d | 2dp | Required | 3.0557 | 0.00093272 | 0.0016025 | 29.2458 | 0.017554 | 3.4589 | 4.7553 | 1.6747 | 1.6213 | 4.7566 | 0.0023921 | 1.6666 | 5.9214 | 4.9082 | 1.2333 | 8.8847 | 1.9835 | 0.00014341 | 0.0029261 | -13.5123 | 0.0021577 | 1.4047 | 0.0010796 | 4.3163 | 2.6614 | 2.7416 | 1.006 | 71.8122 | 57
QA check 1 | Distribution input | 23AR + 24AR + 25AR + 26AR + 32AR + 33AR + 40AR |  |  |  | 0 | 0 | 0 | 3.979e-13 | -4.4409e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5527e-15 | 0 | 0 | 0 | 0 | 0 | 3.5527e-15 | 0 | 0 | -3.5527e-15 | 1.7764e-15 | 0 | 0 | 2.2737e-13 | 0
QA check 2 | Water available for use (own sources) | 7AR - (9AR + 10AR) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.2737e-13 | 0
QA check 10 | Supply-demand balance | (13AR - 11AR) - 16AR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Values returns as zero where calculated value equals input value
For volumetric metrics, QA value will show as red text where calculated value +/- 0.1 Ml/d from entered values.
Note on B57: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Wording suggested to be in line with WRMP24 tables? But also highlights the un/measured household properties rows excludes voids?

## Scheme Delivery
WRMP19 Scheme delivery | [5 empty] | Latest forecast
| WRMP19 schemes |  |  |  |  | 2020-21 |  |  |  | 2021-22 |  |  |  | 2022-23 |  |  |  | 2023-24 |  |  |  | 2024-25
Scheme outcome description as per final published WRMP19 | Reference as per final published WRMP19 | WRZ | Benefits to be delivered (Ml/d) | Delivery date | Category | Benefits to be delivered (Ml/d) | Delivery date | Status | Further information | Benefits to be delivered (Ml/d) | Delivery date | Status | Further information | Benefits to be delivered (Ml/d) | Delivery date | Status | Further information | Benefits to be delivered (Ml/d) | Delivery date | Status | Further information | Benefits to be delivered (Ml/d) | Delivery date | Status | Further information
Bury Haverhill Intra WRZ transfer (Haverhill PZ) | BHV Intra1 | Bury Haverhill | 8 | 2024-25 | Internal interconnectors |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  | 8 | TBC | Amended | The delivery date will be updated as part of the re-prioritisation of the Strategic Interconnector Programme
Newmarket WRZ to Bury Haverhill WRZ Transfer (20 Ml/d) | BHV5 | Bury Haverhill | 20 | 2022-23 | Internal interconnectors |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  | 25 | TBC | Amended | Benefit increased to account for River Lark. The delivery date will be updated as part of the re-prioritisation of the Strategic Interconnector Programme
South Humber Bank WRZ to Central Lincolnshire WRZ Transfer (31 Ml/d) - Treatment only | CLN13a | Central Lincolnshire | 31 | 2024-25 | Supply-side 2020-25 |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  | 31 | TBC | Replaced | Replaced as part of alternative North Lincs Strategy. The delivery date for the alternative schemes will be updated as part of the re-prioritisation of the Strategic Interconnector Programme
East Lincolnshire WRZ to Central Lincolnshire WRZ treatment for Metaldehyde for existing transfer | CLN15 | Central Lincolnshire | 25 | 2024-25 | Supply-side 2020-25 |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  | 25 | TBC | Amended | Benefit increased as part of N Lincs alternative strategy. The delivery date for the alternative schemes will be updated as part of the re-prioritisation of the Strategic Interconnector Programme
South Humber Bank WRZ plus East Lincolnshire WRZ to Central Lincolnshire WRZ - transfer only | CLN16 | Central Lincolnshire | 62 | 2024-25 | Internal interconnectors |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  | 55 | TBC | Amended | Benefit reduced as part of system optimisation and change to RTN27. The delivery date will be updated as part of the re-prioritisation of the Strategic Interconnector Programme
Newmarket WRZ to Cheveley WRZ Transfer | CVY1 | Cheveley | 1 | 2024-25 | Internal interconnectors |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  | 3 | TBC | Amended | Benefit increased to provide wider resilience benefits. The delivery date will be updated as part of the re-prioritisation of the Strategic Interconnector Programme
Bury Haverhill WRZ to East Suffolk WRZ transfer (20Ml/d) | ESU8 | East Suffolk | 20 | 2024-25 | Internal interconnectors |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  | 20 | TBC | Amended | The delivery date will be updated as part of the re-prioritisation of the Strategic Interconnector Programme
North Fenland WRZ to Ely WRZ Transfer (20Ml/d) | ELY9 | Ely | 20 | 2024-25 | Internal interconnectors |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  | 25 | TBC | Amended | Benefit increased to account for River Lark. The delivery date will be updated as part of the re-prioritisation of the Strategic Interconnector Programme
Norwich & the Boards WRZ to Happisburgh WRZ Transfer | HPB1 | Happisburgh | 1.5 | 2021-22 | Internal interconnectors | 1.5 | 2021-22 | Other (explain in further information) | Delivered |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | Other (explain in further information) | Delivered
Norwich and the Broads WRZ to Happisburgh Transfer (East Ruston/Witton) | HPB2 | Happisburgh | 5 | 2021-22 | Internal interconnectors |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  | 2.4 | 2023-24 | Other (explain in further information) |  | 5 | 2024-25 | On-track
Bury Haverhill WRZ to Ixworth WRZ Transfer via existing infrastructure | THT1b | Ixworth | 3 | 2024-25 | Internal interconnectors |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  | 3 | TBC | Amended | The delivery date will be updated as part of the re-prioritisation of the Strategic Interconnector Programme
Ely WRZ to Newmarket WRZ Transfer (20Ml/d) | NWM6 | Newmarket | 20 | 2024-25 | Internal interconnectors |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  | 25 | TBC | Amended | Benefit increased to account for River Lark. The delivery date will be updated as part of the re-prioritisation of the Strategic Interconnector Programme
South Fenland WRZ to North Fenland WRZ Transfer (20 Ml/d) | NFN4 | North Fenland | 20 | 2024-25 | Internal interconnectors |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  | 20 | TBC | Amended | The delivery date will be updated as part of the re-prioritisation of the Strategic Interconnector Programme
North Norfolk Rural Intra WRZ Transfer (Didlington PZ) | NNR Intra1 | North Norfolk Rural | 0.2 | 2022-23 | Internal interconnectors |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  | 0.2 | TBC | Amended | The delivery date will be updated as part of the re-prioritisation of the Strategic Interconnector Programme
Norwich & the Boards WRZ to Norfolk Rural North WRZ Transfer (5Ml/d) | NNR8 | North Norfolk Rural | 5 | 2022-23 | Internal interconnectors |  |  | --select-- |  |  |  | --select-- |  | 5 | 2022-23 | Other (explain in further information) | Delivered |  |  | --select-- |  |  |  | On-track | Delivered
Central Lincolnshire WRZ to Nottinghamshire WRZ transfer | NTM1 | Nottinghamshire | 3.5 | 2022-23 | Internal interconnectors |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  | 3.5 | TBC | Replaced | Interconnector replaced with treatment solution. The delivery date for the alternative schemes will be updated as part of the re-prioritisation of the Strategic Interconnector Programme
Ruthamford South WRZ to Ruthamford Central WRZ Transfer | RTC2 | Ruthamford Central | 7 | 2024-25 | Internal interconnectors |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  | 7 | TBC | Amended | The delivery date will be updated as part of the re-prioritisation of the Strategic Interconnector Programme
South Lincolnshire WRZ to Ruthamford North WRZ transfer (67 Ml/d) | RTN27 | Ruthamford North | 67 | 2024-25 | Internal interconnectors |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  | 62 | TBC | Amended | Benefit reduced as part of system optimisation and change to RTN27. The delivery date will be updated as part of the re-prioritisation of the Strategic Interconnector Programme
Ruthamford South Intra WRZ Transfer 1 (Woburn PZ) | RTS Intra1 | Ruthamford South | 5 | 2022-23 | Internal interconnectors |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  | 5 | TBC | Amended | The delivery date will be updated as part of the re-prioritisation of the Strategic Interconnector Programme
Ruthamford South Intra WRZ Transfer 2 (Meppershall PZ) | RTS Intra2 | Ruthamford South | 5 | 2022-23 | Internal interconnectors |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  | 5 | 2024-25 | On-track
East Suffolk WRZ to South Essex WRZ transfer (15Ml/d) | SEX4 | South Essex | 15 | 2024-25 | Internal interconnectors |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  | 15 | TBC | Amended | The delivery date will be updated as part of the re-prioritisation of the Strategic Interconnector Programme
Ruthamford North WRZ to South Fenland WRZ Transfer (40 Ml/d) | SFN4 | South Fenland | 40 | 2024-25 | Internal interconnectors |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  | 40 | TBC | Amended | The delivery date will be updated as part of the re-prioritisation of the Strategic Interconnector Programme
Pyewipe Water Reuse for non-potable use | SHB2 | South Humber Bank | 6 | 2024-25 | Supply-side 2020-25 |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  | 6 | TBC | Replaced | Replaced as part of alternative North Lincs Strategy. The delivery date for the alternative schemes will be updated as part of the re-prioritisation of the Strategic Interconnector Programme
Central Lincolnshire WRZ to South Lincolnshire WRZ Transfer (63 Ml/d) | SLN6 | South Lincolnshire | 63 | 2024-25 | Internal interconnectors |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  | 55 | TBC | Amended | Benefit reduced as part of system optimisation and change to RTN27. The delivery date will be updated as part of the re-prioritisation of the Strategic Interconnector Programme
Ixworth WRZ to Thetford WRZ Transfer via existing infrastructure | THT1a | Thetford | 1.8 | 2022-23 | Internal interconnectors |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  | 1.8 | TBC | Amended | The delivery date will be updated as part of the re-prioritisation of the Strategic Interconnector Programme
LEA (leakage) |  |  | 23.35 | 2024-25 | Leakage 2020-25 | 8.9 |  | On-track |  | 18.07 |  | On-track |  | 0.84 |  | On-track |  | 9.2 |  | --select-- |  | 23.35 | 2024-25 | Amended | Note new reporting methodology rebase of leakage values
WSM (smart metering) |  |  | 11.3 | 2024-25 | Metering | 1.96 |  | On-track |  | 3.6 |  | On-track |  | 6.28 |  | On-track |  | 9.21 |  | --select-- |  | 9.19 | 2024-25 | Amended | Note smart meter rollout has been modified post determination 1.1m AMI meters
WEF (water efficiency) |  |  | 20.2535 | 2024-25 | Demand-side 2020-25 | 1.57 |  | On-track |  | 3.73 |  | On-track |  | 5.97 |  | On-track |  | 8.48 |  | --select-- |  | 15.59 | 2024-25 | Amended | Note impact reassessed based upon reduced smart meter rollout. Note also leakage reporting methodology rebase of PCC values.
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--

## dropdowns (hidden)
Category (WRMP19) | Category (WRMP24) | Status
--select-- | --select-- | --select--
Supply-side 2020-25 | Supply-side 2025-30 | On-track
Demand-side 2020-25 | Demand-side 2025-30 | Deferred
Leakage 2020-25 | Leakage 2025-30 | Amended
Supply-side post 2024-25 | Supply-side post 2029-30 | Replaced
Internal interconnectors | Internal interconnectors | Other (explain in further information)
Metering | Metering
Other (explain in further information) | Other (explain in further information)