{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Anglian Water BS 2024"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":4,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Anglian Water BS 2024","index":0,"n_rows":80,"n_cols":24,"rows_kept":80,"cut":false,"hidden":false,"merged":[]}
["EDM STORM OVERFLOW REGULATORY RETURN - BATHING WATER SEASON"]
["NB: EDM reporting relevant to the Bathing Season covers 01 May - 30 September"]
["Unique ID","Water Company Name","Site Name\n(EA Consents Database)","Site Name\n(WaSC operational)\n[optional]","EA Permit Reference\n(EA Consents Database)","WaSC Supplementary Permit Ref.\n[optional]","Activity Reference on Permit","Storm Discharge Asset Type","Outlet Discharge NGR\n(EA Consents Database)","WFD Waterbody ID (Cycle 3)\n(discharge outlet)","WFD Waterbody Catchment Name (Cycle 3)\n(discharge outlet)","Receiving Water / Environment (common name)\n(EA Consents Database)","Bathing Water Name(s)","Bathing Water Type","Treatment Method on Permit\n(over & above Storm Tank settlement / screening)","Initial EDM Commission Date","Total Duration (hrs) all spills prior to processing through 12-24h count method","Counted spills using 12-24h count method","EDM Operation -\n% of reporting period EDM operational","EDM Operation -\nReporting % -\nPrimary Reason <90%","EDM Operation -\nAction taken / planned -\nStatus & timeframe","Previous Improvements -\nMost recent AMP period asset previously improved\n(under BW WINEP driver)","Target Standard affecting Spill Frequency\n(if SO previously improved)","Spill Frequency for Design Solution\n(significant spills)\n(if SO previously improved)"]
["AnW0150","Anglian Water","BRIGHTLINGSEA STATION ROAD CSO","BRIGHLINGSEA-STATION RD #XX OV","ASENF12166","ASENF3270/12166/V001","A1","SO on sewer network","TM0812016640","GB520503713800","Colne Essex","THE WEST DYKE","Brightlingsea","Coastal","N/A","Commissioned in 2018 - full BW season data expected",1.07,5,99.99,null,null,"N/A","N/A","N/A"]
["AnW0151","Anglian Water","BRIGHTLINGSEA STATION ROAD CSO","BRIGHTLINGSEA OVERFLOW (WESTERN ROAD) COMMUNITY CENTRE","ASENF12167","ASENF3270/12167/V001","A1","SO on sewer network","TM0812016640","GB520503713800","Colne Essex","THE WEST DYKE","Brightlingsea","Coastal","N/A","Commissioned in 2018 - full BW season data expected",0.03,1,99.99,null,null,"N/A","N/A","N/A"]
["AnW0152","Anglian Water","BRIGHTLINGSEA CSO (BELLFIELD 35)","BRIGHTLINGSEA-BELLFLD A #35 OV","ASENF12163","ASENF3270/12163/V001","A1","SO on sewer network","TM0812016640","GB520503713800","Colne Essex","THE WEST DYKE","Brightlingsea","Coastal","N/A","Commissioned in 2018 - full BW season data expected",0,0,99.99,null,null,"N/A","N/A","N/A"]
["AnW0153","Anglian Water","BRIGHTLINGSEA STATION ROAD CSO","BRIGHTLINGSEA-LOWER PARK RD OV","ASENF12162","ASENF3270/12162/V001","A1","SO on sewer network","TM0812016640","GB520503713800","Colne Essex","THE WEST DYKE","Brightlingsea","Coastal","N/A","Commissioned in 2018 - full BW season data expected",4.43,12,99.99,null,null,"N/A","N/A","N/A"]
["AnW0154","Anglian Water","BRIGHTLINGSEA WEST DYKE TERMINAL PS","BRIGHTLINGSEA-LWR PARK RD TPS","ASENF12161","ASENF3284/12161/V001","A1","Storm discharge at pumping station","TM0812016630","GB520503713800","Colne Essex","WEST DYKE (TO COLNE ESTUARY)","Brightlingsea","Coastal","N/A","Commissioned in 2018 - full BW season data expected",3.03,2,100,null,null,"N/A","N/A","N/A"]
["AnW0238","Anglian Water","CLARENDON / HOLLAND ROAD CSO","CLACTON-CLARENDON/HOLLAND OV","ASECS12234","ASECS3328/12234/V001","A1","SO on sewer network","TM1951015350","GB650503520001","Essex","N.SEA VIA GUNFLEET LONG SEA OU","Clacton","Coastal","N/A","Commissioned in 2018 - full BW season data expected",0,0,100,null,null,"N/A","N/A","N/A"]
["AnW0239","Anglian Water","CLACTON COLLINGWOOD RD/WASH LN CSO","CLACTON-COLLINGWOOD ROAD SO","ASECS12233","ASECS12233/V001","A1","SO on sewer network","TM1710013910","GB650503520001","Essex","THE NORTH SEA","Clacton (Groyne 41), Clacton Beach Martello Tower","Coastal","N/A","Commissioned in 2018 - full BW season data expected",0.23,1,96.28,null,null,"N/A","N/A","N/A"]
["AnW0240","Anglian Water","CLACTON GOLF GREEN ROAD JAYWICK CSO","CLACTON-GOLF GREEN ROAD CSO","ASETS12240","ASETS3332/12240/V001","A1","SO on sewer network","TM1530013590","GB650503520001","Essex","THE NORTH SEA","Jaywick","Coastal","N/A","Commissioned in 2018 - full BW season data expected",0.03,1,100,null,null,"N/A","N/A","N/A"]
["AnW0241","Anglian Water","CLACTON SEA FRONT / GUNFLEET CSO","CLACTON-GUNFLEET SEA OF","ASECS12230","ASECS3324/12230/V001","A1","SO on sewer network","TM1943015510","GB650503520001","Essex","THE NORTH SEA","Clacton","Coastal","N/A","Commissioned in 2018 - full BW season data expected",14.87,2,100,null,null,"N/A","N/A","N/A"]
["AnW0242","Anglian Water","CLACTON (HOLLAND HAVEN) WRC","CLACTON-HOLLAND HAVEN STW","AEECS12401","AEECS/12401/V006","A2","Inlet SO at WwTW","TM2226016500","GB650503520001","Essex","NORTH SEA","Holland","Coastal","N/A","Commissioned in 2018 - full BW season data expected",133.4,29,98.99,null,null,"N/A","N/A","N/A"]
["AnW0243","Anglian Water","CLACTON (HOLLAND HAVEN) WRC","CLACTON-HOLLAND HAVEN STW","AEECS12401","AEECS/12401/V006","A3","Inlet SO at WwTW","TM2226016500","GB650503520001","Essex","NORTH SEA","Holland","Coastal","N/A","Commissioned in 2018 - full BW season data expected",5.6,4,100,null,null,"N/A","N/A","N/A"]
["AnW0244","Anglian Water","CLACTON PARK ROAD/VICARAGE GRD CSO","CLACTON-PARK RD/VICGE GDNS OV","ASECS12232","ASECS3326/12232/V001","A1","SO on sewer network","TM1710013910","GB650503520001","Essex","THE NORTH SEA","Clacton (Groyne 41), Clacton Beach Martello Tower","Coastal","N/A","Commissioned in 2018 - full BW season data expected",0.43,3,99.95,null,null,"N/A","N/A","N/A"]
["AnW0245","Anglian Water","JAYWICK CLACTON 23 PARK SQUARE CSO","CLACTON-PARK SQ W JAYWIC SSO","ASENF12237","ASENF3333/12237/V001","A1","SO on sewer network","TM1465013690","GB650503520001","Essex","TRIBUTARY OF THE NORTH SEA","Jaywick","Coastal","N/A","Commissioned in 2018 - full BW season data expected",0.1,1,100,null,null,"N/A","N/A","N/A"]
["AnW0246","Anglian Water","CLACTON VICTORIA ROAD CSO","CLACTON-VICTORIA RD SO","AW2CS662","AW2CS662/V001","A1","SO on sewer network","TM1853015060","GB650503520001","Essex","THE NORTH SEA","Clacton","Coastal","N/A","Commissioned in 2018 - full BW season data expected",7.5,10,99.99,null,null,"N/A","N/A","N/A"]
["AnW0247","Anglian Water","CLACTON WEST ROAD TERMINAL PS","CLACTON-WEST RD TPS","ASECS12231","ASECS3325/12231/V001","A1","Storm discharge at pumping station","TM1672013370","GB650503520001","Essex","THE NORTH SEA","Clacton Beach Martello Tower","Coastal","N/A","Commissioned in 2018 - full BW season data expected",3.17,1,100,null,null,"N/A","N/A","N/A"]
["AnW0251","Anglian Water","KINGS RD PS","CLEETHORPES, KINGS ROAD PS","ANNTS13063","ANNTS884/13063","A1","Storm discharge at pumping station","TA3273006640","GB530402609201","HUMBER LOWER","tidal section Buck Beck","Cleethorpes, Humberston Fitties","Coastal","N/A","Commissioned in 2021 - full BW season data expected",0,0,100,null,null,"N/A","N/A","N/A"]
["AnW0315","Anglian Water","CROMER PROMENADE TERMINAL PS","CROMER PROMENADE","AEECS12071","AEECS868/12071/V001","A1","Storm discharge at pumping station","TG2155042440","GB650503520003","Norfolk East","THE NORTH SEA","Cromer","Coastal","N/A","Commissioned in 2018 - full BW season data expected",0,0,93.05,null,null,"N/A","N/A","N/A"]
["AnW0442","Anglian Water","HOLLAND ROAD/SECOND AVENUE","FRINTON-HOLLAND RD SSO","ASENF12192","ASENF3310/12192/V001","A1","SO on sewer network","TM2321019340","GB105037077810","Holland Brook","KIRBY BROOK","Frinton","Coastal","N/A","Commissioned in 2018 - full BW season data expected",14.47,3,100,null,null,"AMP2 (Apr 1995 to Mar 2000)","Marine Impact Modelling-derived","Less than 1 (e.g. 1 in 5yr)"]
["AnW0443","Anglian Water","QUEENS ROAD/ESPLANADE CSO","FRINTON-QUEENS ROAD SSO","ASECS12194","ASECS3311/12194/V001","A1","SO on sewer network","TM2407019710","GB650503520001","Essex","THE NORTH SEA","Frinton","Coastal","N/A","Commissioned in 2018 - full BW season data expected",0,0,100,null,null,"AMP2 (Apr 1995 to Mar 2000)","Marine Impact Modelling-derived","Less than 1 (e.g. 1 in 5yr)"]
["AnW0444","Anglian Water","FRINTON - ESPLANADE/SECOND AVE CSO","FRINTON-SECOND AVE SSO","ASECS12191","ASECS3309/12191/V001","A1","SO on sewer network","TM2354018870","GB105037077810","Holland Brook","THE NORTH SEA","Frinton","Coastal","N/A","Commissioned in 2018 - full BW season data expected",0,0,100,null,null,"AMP2 (Apr 1995 to Mar 2000)","Marine Impact Modelling-derived","Less than 1 (e.g. 1 in 5yr)"]
["AnW0446","Anglian Water","FRINTON UPPER 2ND AV/THE CLOSE CSO","FRINTON-UPPER SECOND AVE OV","ASENF12381","ASENF3684/12381/V001","A1","SO on sewer network","TM2303019860","GB105037077810","Holland Brook","KIRBY BROOK","Frinton","Coastal","N/A","Commissioned in 2018 - full BW season data expected",16.829999999999998,16,91.18,null,null,"N/A","N/A","N/A"]
["AnW0464","Anglian Water","GTYARMOUTH GORLESTON/BRUSH BEND CSO","GORLESTON BRUSH BEND OV","AEETS12178","AEETS/3292/12178/V002","A1","SO on sewer network","TG5301003720","GB510503410700","BURE & WAVENEY & YARE & LOTHING","RIVER YARE (TIDAL)","Gorleston Beach","Coastal","N/A","Commissioned in 2018 - full BW season data expected",3.03,4,100,null,null,"AMP2 (Apr 1995 to Mar 2000)","Marine Impact Modelling-derived",8]
["AnW0465","Anglian Water","BAKER STREET PUMPING STATION","GORLESTON-BAKER ST SP","AEETS12177","AEETS4137/19025","A1","Storm discharge at pumping station","TG5294004300","GB510503410700","BURE & WAVENEY & YARE & LOTHING","TIDAL RIVER YARE","Gorleston Beach","Coastal","N/A","Commissioned in 2022 - full BW season data expected",18,14,100,null,null,"N/A","N/A","N/A"]
["AnW0507","Anglian Water","GRIMSBY PYEWIPE WRC AND TPS","GRIMSBY-PYEWIPE SO TPS","AW3TS519","AW3TS/519/V003","A6","Storm discharge at pumping station","TA2632011080","GB530402609201","HUMBER LOWER","THE RIVER HUMBER","Cleethorpes","Coastal","N/A","Commissioned in 2021 - full BW season data expected",31.4,19,100,null,null,"N/A","N/A","N/A"]
["AnW0533","Anglian Water","GREAT YARMOUTH BOUNDARY ROAD PS","GT YARMOUTH-BOUNDARY RD SP","AEETS12173","AEETS3291/12173/V001","A1","Storm discharge at pumping station","TG5242006170","GB510503410700","BURE & WAVENEY & YARE & LOTHING","TIDAL RIVER YARE","Great Yarmouth South","Coastal","N/A","Commissioned in 2018 - full BW season data expected",0.1,2,94.96,null,null,"AMP2 (Apr 1995 to Mar 2000)","Marine Impact Modelling-derived","More than 20"]
["AnW0534","Anglian Water","GREAT YARMOUTH BRYANTS QUAY PS","GT YARMOUTH-BRYANTS QUAY SM","AEETS12175","AEETS3290/12175/V002","A1","Storm discharge at pumping station","TG5246006870","GB510503410700","BURE & WAVENEY & YARE & LOTHING","TIDAL RIVER YARE","Great Yarmouth Pier, Great Yarmouth South","Coastal","N/A","Commissioned in 2018 - full BW season data expected",20.27,22,100,null,null,"AMP2 (Apr 1995 to Mar 2000)","Marine Impact Modelling-derived","More than 20"]
["AnW0639","Anglian Water","BERNERS ROAD PUMPING STATION","HUMBERSTON-BERNERS RD  SP","ANNNF13449","ANNNF3501/13449","A1","Storm discharge at pumping station","TA3154006430","GB104029062110","Buck Beck from Source to N Sea","LITTLE BUCK BECK","Cleethorpes, Humberston Fitties","Coastal","N/A","Commissioned in 2021 - full BW season data expected",0.56999999999999995,1,99.98,null,null,"N/A","N/A","N/A"]
["AnW0644","Anglian Water","HUNSTANTON SMUGGLERS LANE PS","HUNSTANTON-SMUGGLERS LANE SP","ASENF12024","ASENF12024/V001","A1","Storm discharge at pumping station","TF6873042740","GB640523160000","River Hun ","THE WASH","Hunstanton (Old Hunstanton)","Coastal","N/A","Commissioned in 2018 - full BW season data expected",6.43,8,100,null,null,"N/A","N/A","N/A"]
["AnW0654","Anglian Water","INGOLDMELLS HAVEN PS (WCR)","Ingoldmells (STW) PS","ANNTS13470","ANNTS3539/13470/V001","A1","Storm discharge at pumping station","TF5971069000","GB640402492000","Lincolnshire","NORTH SEA","Ingoldmells South","Coastal","N/A","Commissioned in 2018 - full BW season data expected",4,2,100,null,null,"AMP2 (Apr 1995 to Mar 2000)","Marine Impact Modelling-derived","Not known / records unavailable"]
["AnW0656","Anglian Water","SOUTHGATE CA. INGOLDMELLS","INGOLDMELLS-SOUTH GATE CAMP","ANNNF2604","ANNNF2604A","A1","Storm discharge at pumping station","TF5700068400","GB105029061700","Ingoldmells Main Drain","Trib to Ingoldmells Main Drain","Ingoldmells South","Coastal","N/A","Commissioned in 2018 - full BW season data expected",0,0,100,null,null,"N/A","N/A","N/A"]
["AnW0687","Anglian Water","JAYWICK BROOKLANDS GARDENS PS","JAYWICK-BROOKLANDS GDNS SP","ASENF12238","ASENF3334/12238/V001","A1","Storm discharge at pumping station","TM1417013120","GB650503520001","Essex","TRIB THE NORTH SEA","Jaywick","Coastal","N/A","Commissioned in 2018 - full BW season data expected",0.13,3,100,null,null,"N/A","N/A","N/A"]
["AnW0829","Anglian Water","LOWESTOFT MARINA CSO","LOWESTOFT (MARINA) CSO","ASETS16991","ASETS4083/16991/V001","A1","SO on sewer network","TM5513093030","GB510503410700","BURE & WAVENEY & YARE & LOTHING","WAVENEY DOCK","Lowestoft (North of Claremont Pier)","Coastal","N/A","Commissioned in 2018 - full BW season data expected",1.7,8,96.03,null,null,"N/A","N/A","N/A"]
["AnW0830","Anglian Water","ROYAL NORFOLK & SUFFOLK YACHT CLUB","LOWESTOFT ROYAL NORFOLK & SUFFOLK YACHT CLUB PUMPING STATION","AW4TS12090","AW4TS12090/V001","A1","Storm discharge at pumping station","TM5479092690","GB510503410700","BURE & WAVENEY & YARE & LOTHING","NORTH SEA VIA OUTER HARBOUR","Lowestoft (North of Claremont Pier)","Coastal","N/A","Commissioned in 2018 - full BW season data expected",0,0,100,null,null,"N/A","N/A","N/A"]
["AnW0833","Anglian Water","LOWESTOFT BELVEDERE ROAD CSO","LOWESTOFT-BELVEDERE RD SO","ASETS16995","ASETS4083/16995/V001","A1","SO on sewer network","TM5444092670","GB105034045903","Waveney (Ellingham Mill - Burgh St. Peter)","INNER HARBOUR TO NORTH SEA","Lowestoft (North of Claremont Pier)","Coastal","N/A","Commissioned in 2018 - full BW season data expected",5.47,13,100,null,null,"N/A","N/A","N/A"]
["AnW0834","Anglian Water","BRIDGE","LOWESTOFT-BRIDGE SP","ASETS2159","ASETS2159A","A1","Storm discharge at pumping station","TM5470092700","GB105034045903","Waveney (Ellingham Mill - Burgh St. Peter)","Inner Harbour","Lowestoft (North of Claremont Pier)","Coastal","N/A",null,null,null,null,"No longer operational as an overflow - permit revoked or to be revoked","Overflow no longer spilling to environment - from Jan","N/A","N/A","N/A"]
["AnW0839","Anglian Water","LOWESTOFT ST JOHN'S ROAD CSO","LOWESTOFT-ST JOHN'S ROAD CSO","ASETS16950","ASETS4082/16950/V001","A1","SO on sewer network","TM5464092670","GB105034045903","Waveney (Ellingham Mill - Burgh St. Peter)","LAKE LOTHING","Lowestoft (North of Claremont Pier)","Coastal","N/A","Commissioned in 2018 - full BW season data expected",0,0,100,null,null,"N/A","N/A","N/A"]
["AnW0840","Anglian Water","STATION SQUARE#1 CSO","LOWESTOFT-STATION SQ#1 OV","ASETS16993","ASETS4083/16993/V001","A1","SO on sewer network","TM5483092800","GB510503410700","BURE & WAVENEY & YARE & LOTHING","TRAWL BASIN","Lowestoft (North of Claremont Pier)","Coastal","N/A",null,null,null,null,"No longer operational as an overflow - permit revoked or to be revoked","Overflow no longer spilling to environment - from Jan","N/A","N/A","N/A"]
["AnW0841","Anglian Water","STATION SQUARE NO2 CSO","LOWESTOFT-STATION SQ#2 OV","EPRJB3496WZ","EPR/JB3496WZ/V001","A1","SO on sewer network","TM5480092720","GB510503410700","BURE & WAVENEY & YARE & LOTHING","THE OUTER HARBOUR (TIDAL)","Lowestoft (North of Claremont Pier)","Coastal","N/A",null,null,null,null,"No longer operational as an overflow - permit revoked or to be revoked","Overflow no longer spilling to environment - from Jan","N/A","N/A","N/A"]
["AnW0853","Anglian Water","MALBLETHORPE GEORGE STREET CSO","MABLETHORPE-GEORGE ST SSO","ANNNF892","ANNNF/892/V001","A1","SO on sewer network","TF5061085110","GB105029061640","Trusthorpe Pump Drain (upper end)","TOWN DRAIN (CULVERTED)","Mablethorpe Town","Coastal","N/A","Commissioned in 2018 - full BW season data expected",11.27,2,99.49,null,null,"N/A","N/A","N/A"]
["AnW0860","Anglian Water","MANNINGTREE(LAWFORD) STW","MANNINGTREE STW","ASETS12026","ASETS12026D","A2","Storm tank at WwTW","TM1011032400","GB520503613602","STOUR (ESSEX)","Wignall Brook Stour Estuary","Manningtree Beach, Stour Estuary","Coastal","N/A","Commissioned in 2022 - full BW season data expected",0.63,1,100,null,null,"N/A","N/A","N/A"]
["AnW0906","Anglian Water","THE DELL CHALET PARK","MUNDESLEY-DELL CHALET PK OV","AEENF10515","AEENF791/10515/V001","A1","SO on sewer network","TG3157036490","GB105034055900","Mun","River Mun","Mundesley","Coastal","N/A","Commissioned in 2018 - full BW season data expected",1.07,2,80.8,"Comms failure / issue","N/A - Ongoing investigation","N/A","N/A","N/A"]
["AnW0908","Anglian Water","MUNDESLEY - THE PROM PS","MUNDESLEY-NEW PROMENADE TPS","AEECS12196","AEECS3350/12196/V001","A1","Storm discharge at pumping station","TG3166036560","GB105034055900","Mun","North Sea","Mundesley","Coastal","N/A","Commissioned in 2018 - full BW season data expected",6.7,2,100,null,null,"N/A","N/A","N/A"]
["AnW1124","Anglian Water","WEST RUNTON WATER LANE PUMPING ST.","RUNTON WEST WATER LN TPS","AEECS12198","AEECS12198/V001","A1","Storm discharge at pumping station","TG1859043190","GB650503520003","Norfolk East","THE NORTH SEA","West Runton","Coastal","N/A","Commissioned in 2018 - full BW season data expected",25.8,13,100,null,null,"N/A","N/A","N/A"]
["AnW1125","Anglian Water","EAST RUNTON BEACH ROAD TERMINAL PS","RUNTON-BEACH RD TPS","AEECS12197","AEECS12197/V002","A1","Storm discharge at pumping station","TG2009042800","GB650503520003","Norfolk East","THE NORTH SEA","East Runton","Coastal","N/A","Commissioned in 2018 - full BW season data expected",1.5,3,100,null,null,"N/A","N/A","N/A"]
["AnW1170","Anglian Water","SHERINGHM EBEACH SEW TK","SHERINGHAM BEACH RD","AEECS12070","AEECS867/12070/V001","A1","Storm discharge at pumping station","TG1601043470","GB650503520003","Norfolk East","North Sea","Sheringham","Coastal","N/A","Commissioned in 2018 - full BW season data expected",0,0,99.98,null,null,"N/A","N/A","N/A"]
["AnW1203","Anglian Water","SOUTHEND - BELTON GARDENS PS","SOUTHEND - WESTERN VALLEY SP","S/WR78","ASTTS3458/20","A2","Storm discharge at pumping station","TQ8627085220","GB530603911401","THAMES LOWER","THAMES ESTUARY","Southend Chalkwell, Southend Westcliff Bay","Coastal","N/A","Commissioned in 2023 - full BW season data expected",1.5,3,100,null,null,"N/A","N/A","N/A"]
["AnW1204","Anglian Water","SOUTHEND - BELTON GARDENS PS","SOUTHEND-CANEWDON ROAD CSO","S/WR81","ASTTS3458/25A","A2","SO on sewer network","TQ8694085160","GB530603911401","THAMES LOWER","THAMES ESTUARY","Southend Westcliff Bay","Coastal","N/A","Commissioned in 2023 - full BW season data expected",0,0,100,null,null,"N/A","N/A","N/A"]
["AnW1205","Anglian Water","SOUTHEND - BELTON GARDENS PS","SOUTHEND-RETREAT ROAD CSO","S/WR80","ASTTS3458/8A","A1","SO on sewer network","TQ8701084990","GB530603911401","THAMES LOWER","THAMES ESTUARY","Southend Westcliff Bay","Coastal","N/A","Commissioned in 2023 - full BW season data expected",0,0,99.99,null,null,"N/A","N/A","N/A"]
["AnW1206","Anglian Water","SOUTHEND - BELTON GARDENS PS","SOUTHEND ON SEA, LEIGH BELTON GARDENS PS ","S/WR73","S/WR73/V001","A1","Storm discharge at pumping station","TQ8347085420","GB530603911401","THAMES LOWER","THAMES ESTUARY","Leigh Bell Wharf","Coastal","N/A","Commissioned in 2019 - full BW season data expected",11.5,20,100,null,null,"N/A","N/A","N/A"]
["AnW1208","Anglian Water","CHALKWELL ESPLANADE OUTFALL","SOUTHEND ON SEA, RIDGEWAY/CHALK CSO (LOW LEVEL)ESPLANADE O/F","S/WR480","ASTTS3726/3A","A2","SO on sewer network","TQ8575085280","GB530603911401","THAMES LOWER","THAMES ESTUARY","Southend Chalkwell","Coastal","N/A","Commissioned in 2023 - full BW season data expected",0,0,100,null,null,"N/A","N/A","N/A"]
["AnW1211","Anglian Water","ELIZABETH ROAD OUTFALL","SOUTHEND ON SEA, VICTORIA RD CSO ELIZ.RD O/F","S/WR479","ASTTS3726/1A","A2","SO on sewer network","TQ9001084720","GB530603911401","THAMES LOWER","THAMES ESTUARY","Southend Jubilee","Coastal","N/A","Commissioned in 2023 - full BW season data expected",0,0,100,null,null,"N/A","N/A","N/A"]
["AnW1212","Anglian Water","ELIZABETH ROAD OUTFALL","SOUTHEND ON SEA, WOODGRANGE DR/PARK LANE CSO ELIZ.RD O/F","S/WR479","ASTTS3726/1","A1","SO on sewer network","TQ9001084720","GB530603911401","THAMES LOWER","THAMES ESTUARY","Southend Jubilee, Southend Three Shells","Coastal","N/A","Commissioned in 2023 - full BW season data expected",0,0,99.8,null,null,"N/A","N/A","N/A"]
["AnW1213","Anglian Water","SOUTHEND PRITTLE BROOK STORAGE TANK","SOUTHEND PRITTLE BROOK STORAGE TANK","S/WR76","S/WR76/V001","A1","SO on sewer network","TQ8536085460","GB530603911401","THAMES LOWER","THAMES ESTUARY","Southend Chalkwell","Coastal","N/A","Commissioned in 2018 - full BW season data expected",0,0,100,null,null,"N/A","N/A","N/A"]
["AnW1215","Anglian Water","SOUTHEND - BELTON GARDENS PS","SOUTHEND, RAMPART ST SPS","S/WR91","ASTTS3458/19","A1","Storm discharge at pumping station","TQ9420084650","GB530603911401","THAMES LOWER","THAMES ESTUARY","Shoebury East","Coastal","N/A","Commissioned in 2023 - full BW season data expected",0,0,100,null,null,"N/A","N/A","N/A"]
["AnW1217","Anglian Water","SOUTHEND - BELTON GARDENS PS","SOUTHEND-BRITTANIA ROAD BF CSO","S/WR78","ASTTS3458/6","A1","SO on sewer network","TQ8627085220","GB530603911401","THAMES LOWER","THAMES ESTUARY","Southend Chalkwell, Southend Westcliff Bay","Coastal","N/A","Commissioned in 2023 - full BW season data expected",5.25,9,100,null,null,"N/A","N/A","N/A"]
["AnW1218","Anglian Water","SOUTHEND - BELTON GARDENS PS","SOUTHEND-BURDETT ROAD CSO","S/WR86","S/WR86/V001","A1","SO on sewer network","TQ8919084880","GB530603911401","THAMES LOWER","THE THAMES ESTUARY","Southend Jubilee","Coastal","N/A","Commissioned in 2018 - full BW season data expected",7.0000000000000007E-2,1,99.81,null,null,"N/A","N/A","N/A"]
["AnW1220","Anglian Water","SOUTHEND - BELTON GARDENS PS","SOUTHEND-CHURCH ROAD CSO","EPR/AB3352TF","EPR/AB3352TF/V001","A2","SO on sewer network","TQ8880084990","GB530603911401","THAMES LOWER","THAMES ESTUARY","Southend Jubilee, Southend Three Shells","Coastal","N/A","Commissioned in 2023 - full BW season data expected",5,9,100,null,null,"N/A","N/A","N/A"]
["AnW1222","Anglian Water","SOUTHEND - BELTON GARDENS PS","SOUTHEND-HAMLET CT RD CSO","S/WR79","S/WR79/V001","A1","SO on sewer network","TQ8661085910","GB530603911401","THAMES LOWER","THAMES ESTUARY","Southend Westcliff Bay","Coastal","N/A","Commissioned in 2023 - full BW season data expected",0,0,100,null,null,"N/A","N/A","N/A"]
["AnW1224","Anglian Water","SOUTHEND - BELTON GARDENS PS","SOUTHEND-HARTINGTON RD","S/WR85","S/WR85/V001","A1","SO on sewer network","TQ8881085010","GB530603911401","THAMES LOWER","THAMES ESTUARY","Southend Jubilee, Southend Three Shells","Coastal","N/A","Commissioned in 2023 - full BW season data expected",0,0,99.99,null,null,"N/A","N/A","N/A"]
["AnW1225","Anglian Water","SOUTHEND - BELTON GARDENS PS","SOUTHEND-LEIGH HILL CSO","EPR/AB3756TL","EPR/AB3756TL/V001","A2","SO on sewer network","TQ8415085540","GB530603911401","THAMES LOWER","LEIGH CREEK","Leigh Bell Wharf","Coastal","N/A","Commissioned in 2023 - full BW season data expected",2.5,7,100,null,null,"N/A","N/A","N/A"]
["AnW1226","Anglian Water","SOUTHEND - BELTON GARDENS PS","SOUTHEND-LEIGH HL/CLIFF PD CSO","S/WR75","ASTTS3458/3","A1","SO on sewer network","TQ8415085540","GB530603911401","THAMES LOWER","LEIGH CREEK","Leigh Bell Wharf","Coastal","N/A","Commissioned in 2023 - full BW season data expected",2.75,7,100,null,null,"N/A","N/A","N/A"]
["AnW1227","Anglian Water","SOUTHEND - BELTON GARDENS PS","SOUTHEND-MANILLA RD BF","S/WR87","S/WR87/V001","A1","SO on sewer network","TQ8970084740","GB530603911401","THAMES LOWER","THAMES ESTUARY","Southend Jubilee","Coastal","N/A","Commissioned in 2018 - full BW season data expected",0,0,92.23,null,null,"N/A","N/A","N/A"]
["AnW1228","Anglian Water","SOUTHEND - BELTON GARDENS PS","SOUTHEND-NESS ROAD","S/WR90","ASTTS3458/18A","A1","Storm discharge at pumping station","TQ9259084090","GB530603911401","THAMES LOWER","THAMES ESTUARY","Shoeburyness","Coastal","N/A","Commissioned in 2023 - full BW season data expected",0,0,100,null,null,"N/A","N/A","N/A"]
["AnW1229","Anglian Water","SOUTHEND - BELTON GARDENS PS","SOUTHEND-PIER HL/HIGH ST CSO","S/WR83","S/WR83/V001","A1","SO on sewer network","TQ8848084950","GB530603911401","THAMES LOWER","THAMES ESTUARY","Southend Jubilee, Southend Three Shells","Coastal","N/A","Commissioned in 2023 - full BW season data expected",1.25,4,99.88,null,null,"N/A","N/A","N/A"]
["AnW1231","Anglian Water","SOUTHEND - BELTON GARDENS PS","SOUTHEND-QUEENSWAY CSO","S/WR84","S/WR84/V002","A1","SO on sewer network","TQ8880084990","GB530603911401","THAMES LOWER","THAMES ESTUARY","Southend Jubilee, Southend Three Shells","Coastal","N/A","Commissioned in 2023 - full BW season data expected",1,3,91.3,null,null,"N/A","N/A","N/A"]
["AnW1238","Anglian Water","SOUTHEND - BELTON GARDENS PS","SOUTHEND-SOUTHCHURCH ROAD CSO","EPR/AB3254TZ","EPR/AB3254TZ/V001","A3","SO on sewer network","TQ8880084990","GB530603911401","THAMES LOWER","THAMES ESTUARY","Southend Jubilee, Southend Three Shells","Coastal","N/A","Commissioned in 2023 - full BW season data expected",5,8,93.36,null,null,"N/A","N/A","N/A"]
["AnW1239","Anglian Water","SOUTHEND - BELTON GARDENS PS","SOUTHEND-VICTORIA W'F TANK CSO","S/WR74","S/WR74/V001","A1","SO on sewer network","TQ8414085540","GB530603911401","THAMES LOWER","LEIGH CREEK","Leigh Bell Wharf","Coastal","N/A","Commissioned in 2019 - full BW season data expected",1.25,3,99.93,null,null,"N/A","N/A","N/A"]
["AnW1240","Anglian Water","SOUTHEND - BELTON GARDENS PS","SOUTHEND-WOODGRANGE DRIVE CSO","S/WR88","ASTTS3458/29","A3","Storm discharge at pumping station","TQ9018084610","GB530603911401","THAMES LOWER","THAMES ESTUARY","Southend Jubilee","Coastal","N/A","Commissioned in 2023 - full BW season data expected",263.25,43,96.99,null,null,"N/A","N/A","N/A"]
["AnW1247","Anglian Water","SOUTHWOLD GARDNER ROAD PS","SOUTHWOLD-GARDENER RD SP","ASENF10176","ASENF91767/10176/V001","A1","Storm discharge at pumping station","TM5066075820","GB650503520002","Suffolk","Salt Creek","Southwold The Denes","Coastal","N/A","Commissioned in 2018 - full BW season data expected",1.1299999999999999,5,99.89,null,null,"N/A","N/A","N/A"]
["AnW1322","Anglian Water","SUDBURY BAILEY & COATES CSO","SUDBURY BAILEY&COATES CROSS ST","ASENF1728","ASENF1728/V002","A1","SO on sewer network","TL8730040870","GB105036040941","Stour (Wixoe - Lamarsh)","R STOUR","Friars Meadow, River Stour","River","N/A","Commissioned in 2018 - full BW season data expected",3.17,9,100,null,null,"N/A","N/A","N/A"]
["AnW1323","Anglian Water","SUDBURY WATER RECYCLING CENTRE","SUDBURY STW","ASENF1314","ASENF1314/V004","A2","Storm tank at WwTW","TL8635041170","GB105036040941","Stour (Wixoe - Lamarsh)","Tributary River Stour  NT","Friars Meadow, River Stour","River","N/A","Commissioned in 2018 - full BW season data expected",0,0,100,null,null,"N/A","N/A","N/A"]
["AnW1324","Anglian Water","SUDBURY - CORNARD ROAD PS","SUDBURY-CORNARD RD SP","ASENF12336","ASENF3546/12336/V001","A1","Storm discharge at pumping station","TL8801040920","GB105036040941","Stour (Wixoe - Lamarsh)","TRIBUTARY OF RIVER STOUR","Friars Meadow, River Stour","River","N/A","Commissioned in 2020 - full BW season data expected",2.75,3,99.99,null,null,"N/A","N/A","N/A"]
["AnW1325","Anglian Water","SUDBURY - GREAT EASTERN ROAD TPS","SUDBURY-GREAT EASTERN ROAD TPS","ASENF/3753/12422","ASENF/3753/12422/V001","A1","Storm discharge at pumping station","TL8752040910","GB105036040941","Stour (Wixoe - Lamarsh)","RIVER STOUR","Friars Meadow, River Stour","River","N/A","Commissioned in 2018 - full BW season data expected",36.369999999999997,14,100,null,null,"N/A","N/A","N/A"]
["AnW1326","Anglian Water","SUDBURY THE CROFT CSO","SUDBURY-THE CROFT","ASENF1729","ASENF1729/V002","A1","SO on sewer network","TL8699041630","GB105036040941","Stour (Wixoe - Lamarsh)","RIVER STOUR","Friars Meadow, River Stour","River","N/A","Commissioned in 2018 - full BW season data expected",3.23,10,99.61,null,null,"N/A","N/A","N/A"]
["AnW1424","Anglian Water","WALTON-ON-THE-NAZE TERMINAL PS","WALTON ON THE NAZE-TPS","ASECS12213","ASECS3376/12213/V001","A1","Storm discharge at pumping station","TM2604022270","GB650503520001","Essex","THE NORTH SEA","Walton","Coastal","N/A","Commissioned in 2018 - full BW season data expected",11.07,5,100,null,null,"N/A","N/A","N/A"]
["AnW1472","Anglian Water","WEST MERSEA WATER RECYCLING CENTRE","WEST MERSEA STW","ASETS1320","ASETS/1320/V005","A2","Storm tank at WwTW","TM0301012100","GB650503200000","Blackwater Outer","THE BLACKWATER ESTUARY","West Mersea","Coastal","N/A","Commissioned in 2018 - full BW season data expected",7.0000000000000007E-2,2,100,null,null,"N/A","N/A","N/A"]
["AnW1564","Anglian Water","HUNSTANTON SOUTH END ROAD TPS","HUNSTANTON SOUTH END ROAD TPS","AECCS10416","AECCS660/10416/V001","A1","Storm discharge at pumping station","TF6600040160","GB640523160000","Wash Outer","THE WASH","Hunstanton Main Beach","Coastal","N/A","Commissioned in 2018 - full BW season data expected",0.2,1,100,null,null,"N/A","N/A","N/A"]